Table of Contents

Introduction	4

MnDOT Vision	4

Transition Plan Need and Purpose	4

Transition Plan Management	5

Relationship to Other MnDOT and State Plans	5

Under Title II, MnDOT must meet these general requirements:	6

MnDOT’s Compliance History	7

Program Location and Staffing	10

Committee Structure	10

Overview	10

MnDOT’s ADA Accessibility Advisory Committee	11

Americans with Disabilities Act Advisory Committee (ADAAC) -Disbanded	11

ADA Implementation Committee – Disbanded	12

Grievance Procedure	12

Communications	12

Website Communications	13

Background	13

Current compliance actions	13

2014-2018 Goals	14

Public Involvement	14

Self-Evaluation	15

Fixed Work Sites	15

Rest Areas	15

Accessible Pedestrian Signals (APS)	16

Curb ramps and sidewalks	17

Curb Ramps	17

Sidewalks	18

Pedestrian Bridge Inventory	18

Greater Minnesota Transit	18

Policies	19

Maintenance	20

Correction Program	20

Training	21

Appendix A	22

How to file a Grievance	22

File Maintenance	23

Appendix B	24

ADA Program Contacts	24

Title II Coordinator	24

ADA Implementation Coordinator	24

ADA Design Engineer	24

Appendix C	25

Inventory by MnDOT District	25

District 1 Asset Inventory	25

Buildings	25

Pedestrian Ramps	25

Pedestrian Bridges	25

Sidewalks	26

Sidewalk Barriers	27

Accessible Pedestrian Signals	27

District 2 Asset Inventory	28

Buildings	28

Pedestrian Ramps	28

Pedestrian Bridges	28

Sidewalks	28

Sidewalk Barriers	29

Accessible Pedestrian Signals	29

District 3 Asset Inventory	30

Buildings	30

Pedestrian Ramps	30

Pedestrian Bridges	30

Sidewalks	30

Sidewalk Barriers	31

Accessible Pedestrian Signals	31

District 4 Asset Inventory	32

Buildings	32

Pedestrian Ramps	32

Pedestrian Bridges	32

Sidewalks	32

Sidewalk Barriers	33

Accessible Pedestrian Signals	33

District 6 Asset Inventory	34

Buildings	34

Pedestrian Ramps	34

Pedestrian Bridges	34

Sidewalks	34

Sidewalk Barriers	35

Accessible Pedestrian Signals	35

Pedestrian Ramps	36

Pedestrian Bridges	36

Sidewalks	36

Sidewalk Barriers	37

Accessible Pedestrian Signals	37

District 8 Asset Inventory	38

Buildings	38

Pedestrian Ramps	38

Pedestrian Bridges	38

Sidewalks	38

Sidewalk Barriers	39

Accessible Pedestrian Signals	39

Metro District Asset Inventory	40

Buildings	40

Pedestrian Ramps	40

Pedestrian Bridges	40

Sidewalks	44

Sidewalk Barriers	44

Accessible Pedestrian Signals	44

Appendix D	45

Rest Area Facility Condition Assessment	45

Appendix E	58

Policies and Procedures under Review by MnDOT	58

Appendix F	60

Inventory Attributes for Sidewalks, APS Signals, and Curb Ramps	60

Sidewalk Attributes	60

Signal Attributes	60

Curb Ramp Attributes	61

Appendix G	62

Glossary of Terms	62

# Introduction

## MnDOT Vision

This document is intended to serve as a guide to further the vision, mission and core values for the Minnesota Department of Transportation (MnDOT) by outlining key actions for making the transportation system in Minnesota accessible. The Vision, Mission and Core Values for MnDOT are as follows:

Vision

Minnesota’s multimodal transportation system maximizes the health of people, the environment and our economy.

Mission

Plan, build, operate and maintain a safe, accessible, efficient and reliable multimodal transportation system that connects people to destinations and markets throughout the state, regionally and around the world.

Core Values

- Safety

- Excellence

- Service

- Integrity

- Accountability

- Diversity and Inclusion

## Transition Plan Need and Purpose

The Americans with Disabilities Act (ADA), enacted on July 26, 1990, is a civil rights law prohibiting discrimination against individuals on the basis of disability.   The ADA consists of five titles outlining protections in the following areas:

- Employment

- State and local government services

- Public accommodations

- Telecommunications

- Miscellaneous Provisions

Title II of ADA pertains to the programs, activities and services public entities provide.   As a provider of public transportation services and programs, MnDOT must comply with this section of the Act as it specifically applies to state public service agencies and state transportation agencies.  Title II of ADA provides that, “…no qualified individual with a disability shall, by reason of such disability, be excluded from participation in or be denied the benefits of the services, programs, or activities of a public entity, or be subjected to discrimination by any such entity.”  (42 USC. Sec. 12132; 28 CFR. Sec. 35.130)

As required by Title II of ADA, 28 CFR. Part 35 Sec. 35.105 and Sec. 35.150, MnDOT has conducted a self-evaluation of its facilities and developed this Transition Plan detailing how the organization will ensure that all of its facilities, services, programs and activities are accessible to all individuals.

## Transition Plan Management

MnDOT’s transition plan is a living document that will receive routine updates. Updates are scheduled to occur on a four year cycle.  To streamline plan updates and keep the document current and relevant, appendices will be updated annually if new information is available and does not alter the intent of the transition plan.  When an appendix update is found to alter the intent of MnDOT’s Transition Plan the appendix and affected section(s) will be opened for public review and comment.  The update schedule may be altered at the discretion of MnDOT based on changes in guidance from the United States Access Board, Federal policy, and MnDOT policy.  MnDOT’s Transition Plan is available for continual public inspection through MnDOT’s website.

## Relationship to Other MnDOT and State Plans

The transition plan informs several planning documents owned by the Minnesota Department of Transportation, including but not limited to the 20-year Statewide Multimodal Transportation Plan, and the 20-year state highway investment plan MnSHIP.  The development of the plans and their relationship to accessibility is an iterative process led by the goals of the transition plan.  As MnDOT’s long range plans have been developed they take into account the role of accessibility in meeting multimodal goals, creating livable communities, and identifying investment needs.

In addition to MnDOT’s planning and investment documents the transition plan supports the outcomes of Minnesota’s Olmsted Plan which focuses on ensuring that individuals with disabilities are living, learning, working, and enjoying life in the most integrated setting of their choice.  The Olmstead Plan was published in 2013 and is part of a legal settlement with the state.  As one of the eight agencies named to develop and implement the Olmsted Plan.  MnDOT is focused on how the needs of the Olmstead population affect the prioritization and delivery of our transportation system particularly in the area of Greater Minnesota transit.

# Title II

Title II of ADA is companion legislation to two previous federal statutes and regulations: the Architectural Barriers Acts of 1968 and Section 504 of the Rehabilitation Act of 1973.

The Architectural Barriers Act of 1968 is a Federal law that requires facilities designed, built, altered or leased with Federal funds to be accessible. The Architectural Barriers Act marks one of the first efforts to ensure access to the built environment.

Section 504 of the Rehabilitation Act of 1973 is a Federal law that protects qualified individuals from discrimination based on their disability. The nondiscrimination requirements of the law apply to employers and organizations that receive financial assistance from any Federal department or agency.  Title II of ADA extended this coverage to all state and local government entities, regardless of whether they receive federal funding or not.

When addressing accessibility needs and requirements, it is important to note that ADA and Title II do not supersede or preempt state or local laws that may offer equivalent or greater protections, such as the Minnesota Human Rights Act.

## Under Title II, MnDOT must meet these general requirements:

- Must operate their programs so that, when viewed in their entirety, the programs are accessible to and useable by individuals with disabilities (28 C.F.R. Sec. 35.150).

- May not refuse to allow a person with a disability to participate in a service, program or activity simply because the person has a disability (28 C.F.R. Sec. 35.130 (a).

- Must make reasonable modifications in policies, practices and procedures that deny equal access to individuals with disabilities unless a fundamental alteration in the program would result (28 C.F.R. Sec. 35.130(b) (7).

- May not provide services or benefits to individuals with disabilities through programs that are separate or different unless the separate or different measures are necessary to ensure that benefits and services are equally effective (28 C.F.R. Sec. 35.130(b)(iv) & (d).

- Must take appropriate steps to ensure that communications with applicants, participants and members of the public with disabilities are as effective as communications with others (29 C.F.R. Sec. 35.160(a).

- Must designate at least one responsible employee to coordinate ADA compliance [28 CFR § 35.107(a)]. This person is often referred to as the "ADA Coordinator." The public entity must provide the ADA coordinator's name, office address, and telephone number to all interested individuals [28 CFR § 35.107(a)].

- Must provide notice of ADA requirements. All public entities, regardless of size, must provide information about the rights and protections of Title II to applicants, participants, beneficiaries, employees, and other interested persons [28 CFR § 35,106].  The notice must include the identification of the employee serving as the ADA coordinator and must provide this information on an ongoing basis [28 CFR § 104.8(a)].

- Must establish a grievance procedure.  Public entities must adopt and publish grievance procedures providing for prompt and equitable resolution of complaints [28 CFR § 35.107(b)]. This requirement provides for a timely resolution of all problems or conflicts related to ADA compliance before they escalate to litigation and/or the federal complaint process.

# MnDOT’s Compliance History

Following the passage of ADA on July 6, 1990, MnDOT took initial steps to identify and address Title II requirements.  In December of 1991 MnDOT received direction from the local Federal Highway Administration (FHWA) division to complete a curb ramp assessment and transition plan to comply with the new law.  Based on direction from the FHWA and the requirements of the final rule passed on July 26, 1991 MnDOT developed the parameters to identify curb ramp needs and an investment plan which would be fully implemented by January 31, 1995.  MnDOT records show that each district had completed a curb ramp inventory by December of 1992 and identified funding and a construction timetable that was to be completed by January 26, 1995.

During the same timeframe, the Minnesota Department of Administration conducted an assessment of all state owned and leased properties to identify barriers to be corrected by the individual agencies.  According to available MnDOT records, all employee occupied buildings were retrofitted to meet the ADA requirements outlined in 1990 and all subsequent new construction has followed Minnesota Building Codes which meet or exceed ADA requirements.  Construction plans and a timetable were developed in 1994 for barrier removal and accessibility improvement for all Class I and II rest areas with work to be completed at the end of 1995.  MnDOT had begun barrier removal on rest areas when it was determined that funding administered by the Department of Administration could not be used on rest area improvements.   A list of current barriers at MnDOT rest areas can be found in Appendix D.

From 1995 to 2001 MnDOT’s ADA efforts were largely decentralized, focusing primarily on reasonable accommodation for employees and transit, with compliance and oversight falling on individual offices and programs.  In general, MnDOT had completed the retrofit requirements identified in ADA and was meeting compliance with new construction and reconstruction projects.  During this time MnDOT did not maintain a centralized transition plan.

In 2001 ADA became a point of focus with the Access Board’s issuance of the draft rules for public rights of way and the expiration of the moratorium on detectable warning surfaces.  MnDOT provided comment to the draft rules in October of 2001, but only became aware of the detectable warning requirement in July of 2002 through an FHWA memo.  A revised standard plan with truncated domes was issued in 2003 and has been required in new construction, reconstruction and alterations since 2003.  In 2005 the Access Board issued a revision of the draft rules, titled Public Rights of Way Accessibility Guidance (PROWAG), to be utilized as best practices.  The lifting of the detectable warning surfaces moratorium and the publication of PROWAG was the first new guidance affecting public rights of way since the initial passage of ADA in 1990.

In September 2006, MnDOT’s Affirmative Action Office was asked to assess agency Title II compliance and determine needs in this area.  As a result of the assessment, MnDOT took the following actions:

- Designated an ADA Coordinator.

- Drafted a Notice of Non-Discrimination to provide information about the rights and protections of ADA to employees and applicants, as well as participants and users of MnDOT services, programs and activities.

- Established a grievance/complaint process to address or correct user concerns related to inaccessible pedestrian and transportation facilities under MnDOT’s jurisdiction.

In 2007, an internal MnDOT ADA Advisory Council was formed.  The primary function of this council was to assess and determine accessibility program needs and provide guidance to MnDOT administrators.  The group includes key staff from Technical Support, Design, Investment Management (Planning), Construction, Traffic Operations, Maintenance Operations, Transit, Aeronautics and State Aid.

Also in 2007, MnDOT updated its policy and procedures to more effectively respond to requests for Accessible Pedestrian Signals (APS).   The policy and procedures require the installation of APS at every signalized intersection and at every pedestrian crossing in new and reconstruction projects.

MnDOT launched its ADA web pages for public use in the spring of 2008. The pages include MnDOT’s Non-discrimination Notice, links to accessibility guidance and information and an online grievance process for users to voice their concerns regarding barriers preventing access to MnDOT facilities, programs and services.

In 2008 MnDOT formed a standing external stakeholder advisory group, made up of citizens with disabilities and advocates for key disability groups in Minnesota.  This committee provides important feedback and invaluable real-life experience regarding how persons with disabilities use MnDOT’s facilities, programs and services.  They also serve as a voice for members of Minnesota’s disability community.

Technical Memorandum 08-13-TM-05 Pedestrian (Curb) Ramp Guidelines was adopted and issued by the Deputy Commissioner in 2008 to clarify pedestrian curb ramp installation requirements to MnDOT staff and city and county engineers.

In 2008, MnDOT contracted with an independent consultant to conduct an objective evaluation of the organization’s current policies, procedures and practices regarding ADA and Title II.  The evaluation analyzed the impact of MnDOT policies, procedures and practices on accessibility within our state, and how accessibility impacted people with disabilities.  The report identified policies, procedures and practices potentially did not comply with Title II requirements.  Please see Appendix E for the list of policies, procedure and practices and the action taken to address each.

MnDOT’s Office of Affirmative Action, Office of Technical Support and Office of Transit began conducting ADA Title II training in 2008.  The training provides an introduction to ADA Title II requirements and is offered to local partners and MnDOT engineers/employees in maintenance, design, construction and planning.

In 2009, as a part of the development of MnDOT’s Transition Plan, MnDOT Issued Technical Memorandum 10-02-TR-01 Adoption of Public Rights of way Accessibility Guidance to MnDOT staff, cities and counties. The memo makes Public Rights-of-Way Accessibility Guidelines (PROWAG) the primary guidance for accessible facility design on MnDOT projects.  MnDOT is currently beginning the integration of PROWAG into the Road Design Manual and other technical guidance.

Since the adoption of the transition plan and PROWAG guidance MnDOT has conducted numerous trainings for MnDOT staff and its contractors to raise awareness and provide specific technical knowledge on providing accessibility in the public right of way. The primary training was conducted in 2011 and 2012 for MnDOT employees, cities, counties and consultants to provide an overview of the ADA, MnDOT’s compliance direction and design training.  Over 600 individuals participated in the training which has provided a more universal understating of ADA needs and Title II obligation.  In subsequent years MnDOT has run classes for its construction inspectors improve the quality of accessibility features which MnDOT routinely provides on all projects that meet or exceed that alterations threshold.

# Program Location and Staffing

Managing and implementing the MnDOT ADA Transition Plan requires a multidisciplinary approach encompassing policy development, outreach, technical support and oversight.  These responsibilities, required by 28 CFR 35.107, are be managed by two peer positions: the Title II Coordinator/ADA Implementation Coordinator, and ADA Design Engineer in MnDOT’s Operations Division

The Title II Coordinator/ADA Implementation Coordinator is responsible for addressing complaints as they are received and tracking the overall progress of the implementation of the MnDOT Transition Plan. The Title II coordinator is also responsible for the investigation of all formal grievances made against MnDOT.  To ensure the obligations of ADA and the Transition Plan are met the Coordinator develops policy and procedures to integrate Title II requirements into MnDOT practices The Implementation Coordinator also functions as chair of the Internal ADA committee, the co-chair of ADA Stakeholders group, and the agency lead for implementing Minnesota’s Olmstead Plan.

The ADA Design Engineer works with the ADA Implementation Coordinator to develop policy and provide technical support for design and construction at a project level.  The position also oversees three full time staff that provides support and direction for project scoping and development, design, and construction oversight when necessary.  Specifically, the unit works with districts to scope their projects for accessibility and conducts design review prior to final signature.  In addition to providing support for projects, this position will also be available to assist districts in implementing design options that address accessibility complaints.

Please refer to Appendix B for contact information.

# Committee Structure

## Overview

Due to the far reaching and ongoing implications of the ADA, collaboration is an important tool for MnDOT to identify issues and solutions that reflects the needs of the agency and users.  To ensure that stakeholders are represented MnDOT has established three committees, one external and two internal, to assist and advise on ADA policy development.  The committees function independent of each other to, but their input is coordinated by ADA Implementation Coordinator who a co-chair on all of the committees.  Detail on the roles and membership of the individual committees follows.

## MnDOT’s ADA Accessibility Advisory Committee

The MnDOT ADA Accessibility Advisory Committee (MAAAC) was created in 2008 to begin a constructive dialogue on accessibility issues and advise MnDOT on compliance with Title II of the ADA.  Since MAAAC’s inception, the advisory role has expanded from a focus on achieving Title II compliance to providing input on prioritizing funds for ADA projects, design feedback and communication tools.  The committee’s current representation was identified and established by the Title II Coordinator.  MAAAC’s membership is composed of individuals with differing disabilities, MnDOT representatives from the Bicycle and Pedestrian section, the Commissioner’s Office, and the Office of Policy, Analysis, Research and Innovation, and representatives from the Minnesota State Council on Disability and the Metropolitan Council Transportation Advisory Committee.

The MAAAC meets monthly in working session type meetings to provide feedback on policy development, including the Transition Plan, and learn about MnDOT operations and advise on accessibility issues.  Meetings are co-chaired by the ADA Implementation Coordinator a member elected from the external representation.  MnDOT is not a voting member of the committee.  MAAAC is currently re-evaluating its structure to identify and recruit a broader cross-section to represent more types of disabilities and provide geographic balance.  Expected outcomes of the re-evaluation include an application process for membership and an annual work plan.

## Americans with Disabilities Act Advisory Committee (ADAAC) -Disbanded

In 2007 MnDOT convened an internal advisory committee with representation from a cross section of functional areas to assist in the development of policy and practice to integrate ADA into MnDOT project delivery and operations.  ADAAC met on a bi-monthly basis, with additional meetings called as needed.  The committee focused on issues with programmatic impact and identifies key resources for resolution. The ADA Implementation Coordinator was the ADAAC chair.  Committee membership included the following offices and sections:

- Affirmative Action

- Aeronautics

- Maintenance

- Transit

- Traffic, Safety and Technology

- State Aid

- Information Resource Management

- Bridge

- Bicycle and Pedestrian Section

- Construction

- Pre-Construction

- Maintenance

- Technical Support

In 2010 it was determined that ADA integration was largely under way and that representation of the above groups would be met through other standing committees and ADAAC was no longer needed

## ADA Implementation Committee – Disbanded

The ADA Implementation Committee was identified as a need during the development of the transition plan as an interim approach to develop and expand the agency’s knowledge base and information sharing for ADA design and policy.  The committee comprised of one design or traffic engineer from each MnDOT district and staff from the Office of Traffic Safety and Technology, Geometrics, Program Delivery and the Bicycle and Pedestrian Section and was co-chaired by The ADA Implementation Coordinator and the ADA Design Engineer.  The members functioned as points of contact and were responsible for tracking ADA requests in their district, providing technical support for projects and providing feedback to ADA policy and practice.  The functions that were performed by this group have been integrated into existing committees and project development as well as through ongoing training.  The committee met from in January 2010 until January 2011.

# Grievance Procedure

Under the Americans with Disabilities Act users of MnDOT facilities and services have the right to file a grievance if they believe MnDOT has not provided reasonable accommodation.

The Grievance Procedure required by 28 CFR 35.107 can be found in Appendix A of this report or on MnDOT accessibility website provides details on how to file a complaint. Under the Grievance Procedure, a formal complaint must be filed within 180 calendar days of the alleged occurrence.  MnDOT will act or respond only to complaints made through the grievance process identified in Appendix A.

# Communications

Under Section 35.160(a) of ADA, “…A public entity shall take appropriate steps to ensure that communications with applicants, participants, and members of the public with disabilities are as effective as communications with others.”   This means that MnDOT is required to provide equally effective communication to individuals with disabilities.   Equally effective communication can be provided by offering alternative formats, auxiliary aid(s) and/or services upon request.  For example, interpreters are hired as requested for individuals who are deaf or hard of hearing and text materials that are accessible by screen readers are made available to users.

## Website Communications

### Background

State Law requires that all of the State of Minnesota’s information systems comply with the 2009 MN Law to incorporate Section 508 of the Rehabilitation Act and the Web Content Accessibility Guidelines (WCAG) 2.O, level AA.

Minnesota IT (MN.IT) is responsible for the development and dissemination of standard state processes, tools, and guidelines in place. This will enhance end user accessibility to state information systems, and make sure that all Minnesota citizens have access to the information they need.

MnDOT will fully comply with or exceed the standards set by MN.IT regarding compliance with this law. MnDOT is participating in a committee to set the state standard, and will participate in future committees advising on needs for training and oversight. We anticipate that MN.IT will set the standard at Website Content Accessibility Guidelines 2.0 (WCAG 2.0), compliance level AA.

### Current compliance actions

Several years ago MnDOT redesigned its internal and external Web templates to improve their overall accessibility. For example, templates are now controlled by style sheets and styles are set for headers and subhead navigation items. All Web editors are required to use these templates for new and revised pages.  We are also reviewing older pages and transferring these pages to new, accessible templates.

Our Rules for the Web include several items relating to accessibility. For example, all images much include “alt tags” and blinking or scrolling script is not allowed. All Web editors are required to follow these rules; however, we know that some older pages are not in compliance.

We also have an internal Web site that includes additional resources for Web writers and developers, including links to the WCAG 2.0 standards and our Rules for the Web.

Communications is developing training for word processing and other staff about preparing accessible Word and PDF documents. We are also working with contractors to ensure that documents prepared as part of a contract with MnDOT are compliant.

We have included a series of tips for ADA compliance in our employee newsletter and will continue to use this tool to help employees understand the importance of ADA and how to prepare documents, emails, and webpages.

We have developed an external page www.dot.state.mn.us/ada that includes a variety of information about MnDOT and the ADA. This includes our transition plan, a way to file complaints with MnDOT, links to other transportation-related resources and tips about how to use our pages. A link to this page is included in the footer of every MnDOT Web page.

MnDOT is moving to cloud-based licensing for the Adobe products used to produce documents and webpages. This will ensure that MnDOT employees are using the most recent versions of this software. The recent versions include more built-in tools for creating accessibly documents and testing for accessibly.

MnDOT uses Constant Contact as a standard tool for subscription email updates. Our email templates are designed to be fully accessible and Constant Contact offers a text only option.

MnDOT is taking steps to ensure that all videos posted on our YouTube site are captioned.

### 2014-2018 Goals

- Develop contract language and training for our consultant contracts to ensure that accessible documents are a required part of the deliverables.

- Review the Rules for the Web and the templates for compliance current WCAG  standards and make revisions as necessary. This step includes educating Web writers and developers about changes to the current standards.

- Develop and implement a plan for spot checking and ensuring compliance with WCAG 3.0 for all new or redeveloped pages.

- Continue to work provide training for those who develop content that is posted on the web, with the highest priority being given to those who develop content that is seeking comment form the public.

- Develop a plan to ensure that videos posted YouTube or our Website include descriptive captioning when needed.

## Public Involvement

MnDOT recognizes that broad public participation is essential to the development of Minnesota’s transportation system.   As required by the ADA and MnDOT’s public participation guidance Hear Every Voice, any public meeting, hearing, or comment period held by MnDOT is accessible.  MnDOT provides qualified interpreters upon request and will provide documents in an accessible electronic format or other alternative formats, such as large print or Braille.  All public notices shall contain contact information for accommodation requests.

Public meetings, trainings, programs and other events must be in an accessible location and indicated on the meeting notice. Project managers and other MnDOT staff are directed to use the Department of Justice Guide to Conducting Accessible Meetings  to assist in planning public meetings.

# Self-Evaluation

MnDOT, as required by Title II of ADA, must conduct a self-evaluation of physical assets and current policies and practices.  MnDOT has identified seven areas that will need to have and maintain inventories.  As inventories are updated, they will be the transition plan will be updated accordingly.

## Fixed Work Sites

MnDOT owns and leases numerous buildings throughout the state. MnDOT has identified 46 buildings that are routinely accessed by the public.  The 46 buildings were re-evaluated in 2013 for potential accessibility improvements. The buildings have been divided into two categories; Priority One and Priority Two.  Priority One buildings are those buildings that have employee use and a high potential for public use.  Priority Two buildings are those buildings that employees use and have moderate potential for public use.  The evaluation of the worksites found that there are no major barriers to public access however there are numerous recommendations for minor accessibility improvements as ongoing maintenance work and renovations are conducted.

The status of the individual worksites can be found in the district breakdowns in Appendix C

## Rest Areas

All rest areas and their associated elements are required to adhere to the 2010 ADA Standards.  Minnesota State Building Code, Chapter 1341 also includes specific requirements related to accessibility.  Some State accessibility requirements in Chapter 1341 are more restrictive than the 2010 ADA Standards.

In addition to the 2010 ADA Standards, the Code of Federal Regulations (CFR) includes regulations related to accessibility that apply to Interstate rest areas and historic rest areas and waysides:

- Interstate Rest Areas:  49 CFR 27.75 requires States to make Interstate rest area facilities accessible whenever the State uses federal financial assistance to improve the rest area or whenever the State uses federal financial assistance to construct, reconstruct or otherwise alter the roadway adjacent to or in the near vicinity of the rest area.

- Historic Rest Areas & Waysides:  Several State rest areas and waysides are historic properties listed in or eligible for listing in the National Register of Historic Places or are designated as historic under an appropriate State or local law.  28 CFR 35.151(d) requires alterations comply, to the maximum extent feasible, with Section 4.1.7 of ADAAG.

In 1990, the Minnesota Department of Administration (DOA) contracted with architectural consultants to survey all buildings and facilities owned and managed by the State.  The survey included MnDOT rest areas and waysides.  Unfortunately, DOA completed the survey before the Federal government finalized ADAAG in 1991.  MnDOT staff resurveyed all Class I rest areas by 1994 using ADAAG and recorded actual conditions and identified corrective measures required to comply.  (See Appendix D)

In March 1994, the DOA approved a priority listing of MnDOT facilities. Additionally, during FY 1993-04 the DOA distributed $1.7M in State funds to MnDOT for ADA improvements to buildings and facilities.  Since Travel Information Centers, Class I and II rest areas in the southern portion of the state receive the highest public use, MnDOT considers these facilities the highest priority for rest area accessibility improvements. MnDOT took action to correct then-current deficiencies at the highest priority facilities, except those actions deemed technically infeasible or where MnDOT had identified and scheduled the facility for comprehensive replacement in the near future.

Since 1991, MnDOT has designed and built all new rest area facilities, including buildings, site features and parking areas in compliance with then current ADAAG and Minnesota State Building Codes.  Also, since that time, MnDOT has completed rest area rehabilitation and reinvestment projects that included corrective action to bring facilities into compliance with ADAAG and Minnesota State Building Code requirements. MnDOT has not corrected deficiencies at all lower priority facilities.

In 2007, MnDOT retained a consultant to conduct a comprehensive assessment of the physical condition of (49) Class I rest areas. The consultant found accessibility deficiencies at (46) of the rest areas evaluated. MnDOT estimates it would cost $1.9M-2.5M to correct the accessibility deficiencies found at the 46 Class I rest areas.

## Accessible Pedestrian Signals (APS)

In 2008, MnDOT completed a statewide inventory of all 1,171 signalized intersections with push buttons that are owned and operated by MnDOT.  As part of the inventory each intersection received a rating to determine the priority for conversion to an APS signal.  The ranking of the intersections was done utilizing the methodology laid out in the National Cooperative Highway Research Project 3-62 APS Prioritization Tool.  In general the signalized intersections with higher scores are the ones with the greatest need for conversion to APS, but the rankings are always considered within context so that the greatest needs are served first.  Factors outside the ranking that affect an intersection’s priority for APS include the number of pedestrians at the intersection, the presence of assisted living, group homes, nursing homes, hospitals, transit, and other public services, and requests for APS. Each district traffic engineer will be responsible for determining which intersections are priorities in their district, taking the intersection score and other factors into consideration.

MnDOT’s policy is to install APS at any eligible intersection where an existing traffic signal has aged to the point of needing replacement. APS is also required for all new signals installed at eligible locations. Based on normal replacement intervals for aging signals, MnDOT expects to achieve 100 percent statewide APS compliance by the year 2030. Since the 2009 publication of the transition plan MnDOT has increased the total number of intersections with APS installations from 120 to 330 or 28% of the total system.

## Curb ramps and sidewalks

At the time of the 2010 transition plan MnDOT had not completed the self-evaluation for sidewalks and curb ramp.  Over the course of three summers each MnDOT district has located and cataloged all sidewalks and curb ramps on MnDOT right of way.  The inventory includes both an accounting of the facilities and their condition.  The system at the time of this writing consists of 617 miles of sidewalk and 21,185 curb ramps.  An analysis of the each system and their condition follows.

### Curb Ramps

In determining the compliancy of curb ramps MnDOT inventoried the locations and five accessibility elements for each curb ramp:

- Presence of a landing

- Landing slope – no more than 2% in any direction

- Ramp running slope – 5% - 8%

- Cross slope – no more than 2%

- Presence of detectable warnings

To be compliant under PROWAG a curb must meet all five requirements, so even if one element is non-compliant the ramp technically does not meet accessibility requirements even though it may be substantially compliant.  In reporting on MnDOT’s compliance level we include all ramps that meet all five requirements and those that meet all requirements with the exception of having truncated domes.  The reason for including both types of ramps is that truncated domes were not introduced as a requirement until 2001 and they are not a retrofit requirement meaning that a compliant ramp built prior to the requirement is still compliant until the alterations threshold is met.  Of the 21,185 curb ramps on MNDOT’s right of way of those 5874 or 30.4% are compliant.

### Sidewalks

During the summer of 2013 districts completed an inventory of their sidewalks. The total system consists of over 600 miles of sidewalk on MnDOT right of way.  The inventory includes an assessment of width, cross slope, barriers, and general condition.  The most common deficiency in our network is the violation of cross slope at driveway.  The total number of miles of sidewalk in MnDOT’s system that are fully compliant is 263.5 miles.

## Pedestrian Bridge Inventory

MnDOT owns 170 pedestrian bridges and underpasses throughout the state.  Any pedestrian bridge or underpass crossing an interstate or state highway is the responsibility of MnDOT, unless an agreement has been made with a local government agency.  The location and condition of all pedestrian bridges within MnDOT’s right of way can be found in the district inventory in Appendix C.   To be accessible, pedestrian bridges and underpasses must have a ramp leading up to the overpass, the ramp must meet the PROWAG standards for ramps, railings must meet the requirements found in the MnDOT Bikeway Facility Design Manual, the bridges must have a cross slope of no more than 2 % and a running slope of no more than 5%.  Those that do not meet accessibility requirements according to PROWAG will be replaced as necessary.  Bridges and underpasses that are compliant with the standards in place when they were built will require further discussion to determine the feasibility of compliance with PROWAG and the future of the structure in general.

## Greater Minnesota Transit

As the administrating agency for Federal Transit Administration grant programs, MnDOT is required to ensure that grant recipients comply with the Americans with Disabilities Act.  Specific transit-related aspects of ADA fall into two distinct categories:

- ensuring that transit services and facilities are designed to allow access by individuals with disabilities and

- ensuring that transit vehicles purchased with federal funds meet the accessibility standards of ADA.

With respect to the first function, the Office of Transit has developed tools for MnDOT staff to use to monitor ADA compliance as part of grant oversight. This includes checking that the telephone reservation system is accessible to all; schedulers capture necessary passenger information to ensure that the person’s trip needs can be fully accommodated;  ADA trip requests in Duluth, East Grand Forks, La Crescent, Mankato, Moorhead, Rochester and St. Cloud are not denied at a higher rate than other trip requests; system advertising and information is produced in a variety of formats; transit facilities are laid out with appropriate clearances and accessibility; etc.

Some older bus garages and administrative facilities are not fully ADA accessible, but the noncompliant elements do not provide a barrier to the services provided to the general public.  As facilities are replaced or receive major remodeling they will be required to be constructed to current ADA and Minnesota Building code standards.  Reasonable accommodations will be provided at all locations as needs are identified.

With respect to vehicle purchases, the Office of Transit maintains a full array of vehicle specifications – all of which meet the accessibility standards of ADA.  All transit vehicles acquired with grants through MnDOT are fully ADA-compliant.  Because this policy has been in place for many years, the current fleet acquired through MnDOT is ADA-accessible.

MnDOT’s inventory of right of way features will include an assessment of the accessibility of transit stops on MnDOT right of way that have received funding from MnDOT.  To be accessible, bus stop boarding and alighting areas must provide a clear length of 8 feet minimum, measured perpendicular to the curb or street or highway edge, and a clear width of 5 feet minimum, measured parallel to the street or highway.  Bus stop boarding and alighting areas must connect to streets, sidewalks, or pedestrian paths by a pedestrian access route.  The grade of the bus stop boarding and alighting area must be the same as the street or highway, to the maximum extent practicable, and the cross slope of the bus stop boarding and alighting area must not be greater than 2 percent.

In addition to meeting the operations obligations of ADA MnDOT is reaching out to communities in the development of local service plans to ensure that as service is developed and expanded the needs of the Olmstead population are included.

## Policies

In 2009, MnDOT contracted with an outside consultant to conduct an audit of its policies and procedures in order to identify areas where modifications may be needed to ensure full compliance with ADA Title II and Section 504. The study involved a review of over 200 policies and procedures that MnDOT uses to provide facilities, services, and programs to the public.  Forty-one policies, primarily focused on project development and design, were identified as potentially needing improvement to integrate accessibility more consistently into MNDOT projects and operations.  No policies were identified as a barrier to providing accessibility.  MnDOT will be developing a systematic approach to ensure long-term compliance with ADA Title II and Section 504 for all policies and procedures.  A listing of policies and procedures that MnDOT reviewed and their status can be found in Appendix E.

## Maintenance

MnDOT is responsible for the seasonal and structural maintenance of its facilities.  As part of the policy review identified in the Transition Plan, MnDOT is examining its current policies and procedures to improve maintenance for pedestrian facilities.  MnDOT’s Maintenance Office will be leading the policy development and is scheduled to have a policy identified by summer of 2011.

The policy will identify operation guidance for maintaining sidewalks.   Guiding the discussion is Federal Code 23 U.S.C. § 116 which obligates a State DOT to maintain projects constructed with Federal-aid funding or enter into a maintenance agreement with the appropriate local official where such projects are located.   The discussion will also address snow removal and ice treatment on sidewalks in accordance with 28 CFR § 35.133, which requires public agencies to maintain walkways in an accessible condition for all pedestrians, including persons with disabilities, with only isolated or temporary interruptions in accessibility. Part of this maintenance obligation includes reasonable snow removal efforts.

# Correction Program

The Minnesota Department of Transportation is committed to addressing the barriers identified in the self-evaluation. Curb ramp improvements are required on all projects that meet the alteration thresholds. Facilities that are accessible, but do not meet PROWAG standards will continue to be improved through MnDOT’s routine construction program.   Facilities that are inaccessible and will not be improved in the course of a typical roadway project will be prioritized by districts as part of a separate barrier removal program.  The funding and schedule of accessibility improvements that are being made as part MnDOT’s routine construction program are determined through MnDOT’s Statewide Transportation Improvement Plan (STIP).

Since 2010 MnDOT has improved numerous facilities around the state with a particular emphasis on curb ramps and during the last three construction seasons MnDOT has found that rote application of ADA policy and design does not immediately ensure accessible facilities.  Emerging issues in our correction program include the role of right of way in alterations thresholds, the appropriate expansion of scope to ensure the right fix for achieving accessibility, and the quality of construction.

Much of MnDOT’s construction program is focused on preserving our existing system and the project that we do typically have a very limited scope focused on working on pavement and working within our existing right of way. Often the improvement of accessible features requires that MnDOT obtain right of way or a temporary easement to construct the facility.  Under Minnesota statues the process to obtain right of way averages around eighteen months often longer than the project development time for the a pavement project.  The ADA unit has been working with the districts at a project level to make certain that they are scoping projects with the entirety of ADA needs including right of way so that the proper facility can be built. Ensuring quality construction of accessible facilities is also an area of improvement for MnDOT.  Under ADA the specifications provided for a facility do not include construction tolerances so it is important that facilities are built to design and are inspected to ensure that they meet our design requirements.  MnDOT has developed contractor requirements and trains inspectors to address this issue, but we are still not at the performance level we desire.

Locally sponsored improvements that use State Aid funding are subject to the same Title II obligations and thresholds as those funded through MnDOT.  State Aid reviews projects for a variety of design elements including accessibility.  The level of direction provided by State Aid is determined in part by the funding source, if the funding is provided through the Federal Aid program comments on accessible features are more directive while those projects using County State Aid or Municipal State Aid are recommendations in which the City and County is presumed to be the responsible party for ensuring accessibility.  When providing accessible features cities and counties are encouraged to use the accessible design direction put forward by MnDOT it is at the discretion of the city or county to determine the design approach to be used in the project provided it meets the minimum requirements of the ADA.  MnDOT does not inventory or track accessible features of the local system.

# Training

Part of MnDOT’s adoption and implementation of Public Rights of Way Accessibility Guidelines and the Transition Plan, included agency-wide training on both design and policy.  MnDOT has trained over 600 individuals which included MnDOT staff, cities and counties, and external partners on ADA and Title II in 2012 and 2013.  MnDOT is looking at revising and resuming in 2015.

The training is based on policy, mobility needs and design.  Modules identified for development and deployment in 2010 include:

- ADA and Title II overview and requirements

- Policy & Procedure

  - Public Involvement

  - Complaint Procedures

- Technical Training

  - PROWAG (Public Right OF Way Accessibility Guidelines)

  - Curb Ramps

  - APS (Accessible Pedestrian Signals)

  - Intersection Geometrics

  - Pedestrian Design & Planning

  - Maintenance, e.g., Inventory, Snow & Ice, Faulting, Maintenance Agreements

  - Bicycle & Pedestrian Planning

In addition to the ADA Overview training MnDOT’s ADA Unit provides annual training to inspectors and presents at MnDOT’s Signal Certification classes.

# Appendix A

# How to file a Grievance

The procedure to file a grievance is as follows:

- A formal written grievance should be filed on ADA Grievance Form. An oral grievance can be filed by contacting ADA Title II Coordinator.  The oral grievance will be reduced to writing by ADA Coordinator utilizing ADA Grievance Form.  Additionally, individuals filing a grievance are not required to file a grievance with MnDOT, but may instead exercise their right to file a grievance with the Department of Justice.

- The name, address, and telephone number of the person filing the grievance.

- The name, address, and telephone number of the person alleging ADA violation, if other than the person filing the grievance.

- A description and location of the alleged violation and the remedy sought.

- Information regarding whether a complaint has been filed with the Department of Justice or other federal or state civil rights agency or court.

- If a complaint has been filed, the name of the agency or court where the complaint was filed, and the date the complaint was filed.

- The grievance will be either responded to or acknowledged within 10 working days of receipt. If the grievance filed does not concern a MnDOT facility, it will be forwarded to the appropriate agency and the grievant will be notified.

- Within 60 calendar days of receipt, the ADA Title II Coordinator will conduct the investigation necessary to determine the validity of the alleged violation. If appropriate, ADA Title II Coordinator will arrange to meet with the grievant to discuss the matter and attempt to reach a resolution of the grievance. Any resolution of the grievance will be documented in MnDOT’s ADA Grievance File.

- If a resolution of the grievance is not reached, a written determination as to the validity of the complaint and description of the resolution, if appropriate, shall be issued by ADA Title II Coordinator and a copy forwarded to the grievant no later than 90 days from the date of MnDOT’s receipt of the grievance.

- The grievant may appeal the written determination. The request for reconsideration shall be in writing and filed with the Minnesota Department of Transportation Ombudsman within 30 days after the ADA Title II Coordinator’s determination has been mailed to the grievant. MnDOT’s Ombudsman shall review the request for reconsideration and make a final determination within 90 days from the filing of the request for reconsideration.

- If the grievant is dissatisfied with MnDOT’s handling of the grievance at any stage of the process or does not wish to file a grievance through the MnDOT’s ADA Grievance Procedure, the grievant may file a complaint directly with the United States Department of Justice or other appropriate state or federal agency.

The resolution of any specific grievance will require consideration of varying circumstances, such as the specific nature of the disability; the nature of the access to services, programs, or facilities at issue and the essential eligibility requirements for participation; the health and safety of others; and the degree to which an accommodation would constitute a fundamental alteration to the program, service, or facility, or cause an undue hardship to MnDOT. Accordingly, the resolution by MnDOT of any one grievance does not constitute a precedent upon which MnDOT is bound or upon which other complaining parties may rely.

File Maintenance
MnDOT’s ADA Coordinator shall maintain ADA grievance files for a period of three years.

# Appendix B

# ADA Program Contacts

## Title II Coordinator

Lynnette M. Geschwind

395 John Ireland Blvd.

MS 200

St. Paul, MN 55155

Ph:  	  651-366-4717

Fax:	  651-366-4155

E-mail:  lynnette.geschwind@state.mn.us

## ADA Implementation Coordinator

Kristie M. Billiar

395 John Ireland Blvd.

MS 670

St. Paul, MN 55155

Ph:        651-366-3174

Fax:      651-366-4155

E-mail:  kristie.billiar@state.mn.us

## ADA Design Engineer

Todd Grugel

395 John Ireland Blvd.

MS 670

St. Paul, MN 55155

Ph:  	  651-366-3531

Fax:	  651-366-4155

E-mail:  todd.grugel@state.mn.us

# Appendix C

# Inventory by MnDOT District

# District 1 Asset Inventory

Buildings
T7910090221 - Duluth District Headquarters 
T7915090143 - Grand Rapids Truck Station 
T7915090123 - Virginia Maintenance Headquarters

## Pedestrian Ramps

A compliant ramp must have detectable warnings , a minimum 4 foot by 4 foot landing with a cross slope less than 2% in each direction, a running slope of 8.3% or less, a cross slope of 2% or less, and be at least 48 inches wide.

| Number of Ramps | 1755 |
| --- | --- |
| Number of Non-Compliant Ramps | 1445 |
| Number of Compliant Ramps | 310 |
| Number of Compliant Ramps without Detectable Warnings | 420 |
| Number of Ramps with Compliant Slope and Cross Slope | 892 |
| Number of Ramps with Compliant Slope | 1329 |

## Pedestrian Bridges

| Asset Number | Featured Intersected | Facility Carried by Structure | Year Built | Compliant Issues |
| --- | --- | --- | --- | --- |
| 16006 | PED-BIKE | TH 61 | 2009 | Compliant |
| 38014 | SOIL | PED | 2004 | Compliant |
| 5953 | MN 23 | PEDESTRIAN | 1941 | Excessive Running Grade on Bridge Deck |
| 69122 | MILLER CREEK | US 53 | 2003 | Excessive Cross Slope on Bridge Deck and Approach Ramp |
| Asset Number | Featured Intersected | Facility Carried by Structure | Year Built | Compliant Issues |
| 69804 | EXCURSION TRACKS | PEDESTRIAN | 1989 | Excessive Running Grade on Bridge Deck |
| 69805 | EXCURSION TRACKS | PEDESTRIAN | 1989 | Excessive Running Grade on Bridge Deck and Approach Ramp |
| 69811 | PED WALK WAY | PEDESTRIAN | 1967 | Excessive Running Grade on Bridge Deck |
| 69838 | I 35 | PEDESTRIAN AT 17TH AVE E | 1988 | Excessive Running Grade and Cross Slope on Bridge Deck |
| 69843 | I 35 | PEDESTRIAN AT 25TH AVE | 1990 | Excessive Running Grade on Bridge Deck |
| 69853 | KEENE CREEK | PEDESTRIAN | 1973 | Excessive Running Grade on Bridge Deck and Excessive Cross Slope on Approach Ramp |
| 69855 | DITCH | PEDESTRIAN | 1973 | Excessive Running Grade on Bridge Deck and Approach Ramp |
| 69858 | EB I35 RAMP & MICH RAMP | PEDESTRIAN | 1989 | Excessive Running Grade on Bridge Deck and Approach Ramp |
| 69885 | I 35 & TWO RAMPS | PEDESTRIAN AT MESABA | 1968 | Stairs |
| 69885A | FILL | BIKEWAY AT MESABA | 1987 | Compliant |

## Sidewalks

| Total Miles of Sidewalks | 55.27 |
| --- | --- |
| Sidewalks < 48" (Miles) | 0.38 |
| Cross Slopes > 2% (Miles) | 21.96 |
| Condition 1 Sidewalks (Miles) (Best Rating) | 0.32 |
| Condition 2 Sidewalks (Miles) | 37.77 |
| Condition 3 Sidewalks (Miles) | 14.76 |
| Condition 4 Sidewalks (Miles) (Worst Rating) | 2.44 |
| Driveways > 2% (Number) | 926 |
| ### Sidewalk Barriers |  |
| Bridge Joint | 0 |
| Damaged Panel | 29 |
| Driveway | 0 |
| Hand Hold | 1 |
| Hydrant | 0 |
| Light Post | 29 |
| Mailbox | 0 |
| Manhole | 1 |
| Minor Gap | 2 |
| Narrows to less than 48" | 8 |
| Other | 5 |
| Power Poles | 0 |
| Railroad Crossing | 0 |
| Sand, Gravel Mud | 0 |
| Signs | 0 |
| Slope Issues | 0 |
| Stairs | 0 |
| Street Furniture | 0 |
| Traffic Poles | 2 |
| Trees | 6 |
| Utility Cabinet | 0 |
| Vegetation | 36 |

## Accessible Pedestrian Signals

| APS Push Buttons | 103 |
| --- | --- |
| Non-Compliant APS Push Buttons | 22 |
| APS Complaint Push Buttons | 81 |
| Number of APS Intersections | 15 |
| Total Number of Signalized Intersections | 83 |

# District 2 Asset Inventory

## Buildings

T7920090330 - Bemidji District Headquarters
T7925090530 - Crookston Maintenance Headquarters
T7925090533 - Thief River Falls Truck Station

Pedestrian Ramps
A compliant ramp must have detectable warnings , a minimum 4 foot by 4 foot landing with a cross slope less than 2% in each direction, a running slope of 8.3% or less, a cross slope of 2% or less, and be at least 48 inches wide.

| Number of Ramps | 1291 |
| --- | --- |
| Number of Non-Compliant Ramps | 1129 |
| Number of Compliant Ramps | 162 |
| Number of Compliant Ramps without Truncated Domes | 296 |
| Number of Ramps with Compliant Slope and Cross Slope | 776 |
| Number of Ramps with Compliant Slope | 949 |

## Pedestrian Bridges

There are no MnDOT owned pedestrian bridges in District 2.

## Sidewalks

| Total Miles of Sidewalks |  |  | 58.42 |
| --- | --- | --- | --- |
| Sidewalks < 48" (Miles) |  |  | 0.49 |
| Cross Slopes > 2% (Miles) |  |  | 28.77 |
| Condition 1 Sidewalks (Miles) |  |  | 17.29 |
| Condition 2 Sidewalks (Miles) |  |  | 35.87 |
| Condition 3 Sidewalks (Miles) |  |  | 7.06 |
| Condition 4 Sidewalks (Miles) |  |  | 2.61 |
| Driveways > 2% (Number) |  |  | 1009 |
| ### Sidewalk Barriers |  |
| Bridge Joint |  |  | 0 |
| Damaged Panel |  |  | 54 |
| Driveway |  |  | 0 |
| Hand Hold |  |  | 0 |
| Hydrant |  |  | 2 |
| Light Post |  |  | 43 |
| Mailbox |  |  | 1 |
| Manhole |  |  | 1 |
| Minor Gap |  |  | 17 |
| Narrows to less than 48" |  |  | 4 |
| Other |  |  | 4 |
| Power Poles |  |  | 0 |
| Railroad Crossing |  |  | 3 |
| Sand, Gravel Mud |  |  | 0 |
| Signs |  |  | 4 |
| Slope Issues |  |  | 1 |
| Stairs |  |  | 1 |
| Street Furniture |  |  | 0 |
| Traffic Poles |  |  | 5 |
| Trees |  |  | 3 |
| Utility Cabinet |  |  | 2 |
| Vegetation |  |  | 5 |

## Accessible Pedestrian Signals

| APS Push Buttons | 34 |
| --- | --- |
| Non-Compliant APS Push Buttons | 20 |
| APS Complaint Push Buttons | 14 |
| Number of APS Intersections | 26 |
| Total Number of Signalized Intersections | 61 |

# District 3 Asset Inventory

Buildings
T7930090443 - Baxter District Headquarters 
MnROAD (Monticello)
T7935090735 - St. Cloud Maintenance Headquarters

Pedestrian Ramps
A compliant ramp must have detectable warnings , a minimum 4 foot by 4 foot landing with a cross slope less than 2% in each direction, a running slope of 8.3% or less, a cross slope of 2% or less, and be at least 48 inches wide.

| Number of Ramps | 2249 |
| --- | --- |
| Number of Non-Compliant Ramps | 1748 |
| Number of Compliant Ramps | 501 |
| Number of Compliant Ramps without Truncated Domes | 582 |
| Number of Ramps with Compliant Slope and Cross Slope | 1053 |
| Number of Ramps with Compliant Slope | 1576 |

## Pedestrian Bridges

| Asset Number | Featured Intersected | Facility Carried by Structure | Year Built | Compliant Issues |
| --- | --- | --- | --- | --- |
| 6847 | MN 23 | PEDESTRIAN | 1958 | Stairs |
| 73029 | MN 15 | PEDESTRIAN | 1987 | Compliant |
| 73871 | I 94 | PEDESTRIAN | 1977 | Compliant |

## Sidewalks

| Total Miles of Sidewalks | 67.71 |
| --- | --- |
| Sidewalks < 48" (Miles) | 1.21 |
| Cross Slopes > 2% (Miles) | 24.48 |
| Condition 1 Sidewalks (Miles) | 14.48 |
| Condition 2 Sidewalks (Miles) | 38.75 |
| Condition 3 Sidewalks (Miles) | 12.74 |
| Condition 4 Sidewalks (Miles) | 1.34 |
| Driveways > 2% (Number) | 937 |
| ### Sidewalk Barriers |  |
| Bridge Joint | 0 |
| Damaged Panel | 52 |
| Driveway | 0 |
| Hand Hold | 0 |
| Hydrant | 2 |
| Light Post | 55 |
| Mailbox | 6 |
| Manhole | 0 |
| Minor Gap | 10 |
| Narrows to less than 48" | 11 |
| Other | 3 |
| Power Poles | 8 |
| Railroad Crossing | 1 |
| Sand, Gravel Mud | 0 |
| Signs | 9 |
| Slope Issues | 0 |
| Stairs | 4 |
| Street Furniture | 6 |
| Traffic Poles | 7 |
| Trees | 10 |
| Utility Cabinet | 1 |
| Vegetation | 4 |

## Accessible Pedestrian Signals

| APS Push Buttons | 318 |
| --- | --- |
| Non-Compliant APS Push Buttons | 136 |
| APS Complaint Push Buttons | 182 |
| Number of APS Intersections | 67 |
| Total Number of Signalized Intersections | 174 |

# District 4 Asset Inventory

Buildings
T7940090616 - Detroit Lakes District Headquarters 
T7940090615 - Fergus Falls Truck Station 
T7940090658 - Moorhead Truck Station 
T7945090820 - Morris Maintenance Headquarters

Pedestrian Ramps
A compliant ramp must have detectable warnings , a minimum 4 foot by 4 foot landing with a cross slope less than 2% in each direction, a running slope of 8.3% or less, a cross slope of 2% or less, and be at least 48 inches wide.

| Number of Ramps | 1381 |
| --- | --- |
| Number of Non-Compliant Ramps | 1151 |
| Number of Compliant Ramps | 230 |
| Number of Compliant Ramps without Truncated Domes | 324 |
| Number of Ramps with Compliant Slope and Cross Slope | 676 |
| Number of Ramps with Compliant Slope | 899 |

## Pedestrian Bridges

There are no MnDOT owned pedestrian bridges in District 4.

## Sidewalks

| Total Miles of Sidewalks | 45.71 |
| --- | --- |
| Sidewalks < 48" (Miles) | 0.1 |
| Cross Slopes > 2% (Miles) | 26.59 |
| Condition 1 Sidewalks (Miles) | 24.42 |
| Condition 2 Sidewalks (Miles) | 16.4 |
| Condition 3 Sidewalks (Miles) | 3.56 |
| Condition 4 Sidewalks (Miles) | 4.68 |
| Driveways > 2% (Number) | 861 |
| ### Sidewalk Barriers |  |
| Bridge Joint | 0 |
| Damaged Panel | 129 |
| Driveway | 41 |
| Hand Hold | 0 |
| Hydrant | 5 |
| Light Post | 53 |
| Mailbox | 9 |
| Manhole | 3 |
| Minor Gap | 7 |
| Narrows to less than 48" | 22 |
| Other | 6 |
| Power Poles | 0 |
| Railroad Crossing | 0 |
| Sand, Gravel Mud | 0 |
| Signs | 11 |
| Slope Issues | 0 |
| Stairs | 3 |
| Street Furniture | 3 |
| Traffic Poles | 9 |
| Trees | 4 |
| Utility Cabinet | 0 |
| Vegetation | 0 |

## Accessible Pedestrian Signals

| APS Push Buttons | 7 |
| --- | --- |
| Non-Compliant APS Push Buttons | 4 |
| APS Complaint Push Buttons | 4 |
| Number of APS Intersections | 18 |
| Total Number of Signalized Intersections | 64 |

# District 6 Asset Inventory

Buildings
Albert Lea Truck Station
T7965091327 - Owatonna Maintenance Headquarters
Wilson Truck Station (Winona)

Pedestrian Ramps
A compliant ramp must have detectable warnings , a minimum 4 foot by 4 foot landing with a cross slope less than 2% in each direction, a running slope of 8.3% or less, a cross slope of 2% or less, and be at least 48 inches wide.

| Number of Ramps | 2122 |
| --- | --- |
| Number of Non-Compliant Ramps | 1584 |
| Number of Compliant Ramps | 539 |
| Number of Compliant Ramps without Truncated Domes | 882 |
| Number of Ramps with Compliant Slope and Cross Slope | 1404 |
| Number of Ramps with Compliant Slope | 1551 |

## Pedestrian Bridges

| Asset Number | Featured Intersected | Facility Carried by Structure | Year Built | Compliant Issues |
| --- | --- | --- | --- | --- |
| 50802 | I 90 | PEDESTRIAN | 1997 | Compliant |
| 55019 | US 63 | PEDESTRIAN | 1963 | Stairs |
| 55044 | TH 52, FRONT RD | PEDESTRIAN AT 16th ST NW | 2004 | Compliant |
| 85003 | US 14 | PEDESTRIAN (ST MARYS) | 1963 | Stairs |
| 9218 | CEDAR RIVER | PEDESTRIAN | 1958 | Compliant |

## Sidewalks

| Total Miles of Sidewalks |  |  | 66.54 |
| --- | --- | --- | --- |
| Sidewalks < 48" (Miles) |  |  | 0.58 |
| Cross Slopes > 2% (Miles) |  |  | 24.02 |
| Condition 1 Sidewalks (Miles) |  |  | 5 |
| Condition 2 Sidewalks (Miles) |  |  | 32.88 |
| Condition 3 Sidewalks (Miles) |  |  | 21.2 |
| Condition 4 Sidewalks (Miles) |  |  | 6.8 |
| Driveways > 2% (Number) |  |  | 1010 |
| ### Sidewalk Barriers |  |
| Bridge Joint |  |  | 0 |
| Damaged Panel |  |  | 30 |
| Driveway |  |  | 0 |
| Hand Hold |  |  | 0 |
| Hydrant |  |  | 0 |
| Light Post |  |  | 5 |
| Mailbox |  |  | 0 |
| Manhole |  |  | 0 |
| Minor Gap |  |  | 4 |
| Narrows to less than 48" |  |  | 4 |
| Other |  |  | 2 |
| Power Poles |  |  | 0 |
| Railroad Crossing |  |  | 7 |
| Sand, Gravel Mud |  |  | 0 |
| Signs |  |  | 0 |
| Slope Issues |  |  | 0 |
| Stairs |  |  | 2 |
| Street Furniture |  |  | 0 |
| Traffic Poles |  |  | 1 |
| Trees |  |  | 9 |
| Utility Cabinet |  |  | 0 |
| Vegetation |  |  | 0 |

## Accessible Pedestrian Signals

| APS Push Buttons | 63 |
| --- | --- |
| Non-Compliant APS Push Buttons | 19 |
| APS Complaint Push Buttons | 44 |
| Number of APS Intersections | 31 |
| Total Number of Signalized Intersections | 102 |

District 7 Asset Inventory

Buildings
Mankato District Headquarters
T7980091523 - Marshall District Headquarters 
T7975091614 - Windom Maintenance Headquarters 
T7975032119 - Worthington Scale

Pedestrian Ramps
A compliant ramp must have detectable warnings , a minimum 4 foot by 4 foot landing with a cross slope less than 2% in each direction, a running slope of 8.3% or less, a cross slope of 2% or less, and be at least 48 inches wide.

| Number of Ramps | 2568 |
| --- | --- |
| Number of Non-Compliant Ramps | 2160 |
| Number of Compliant Ramps | 408 |
| Number of Compliant Ramps without Truncated Domes | 541 |
| Number of Ramps with Compliant Slope and Cross Slope | 1167 |
| Number of Ramps with Compliant Slope | 1628 |

Pedestrian Bridges
There are no MnDOT owned pedestrian bridges in District 7.

## Sidewalks

| Total Miles of Sidewalks | 76.49 |
| --- | --- |
| Sidewalks < 48" (Miles) | 4.76 |
| Cross Slopes > 2% (Miles) | 29.84 |
| Condition 1 Sidewalks (Miles) | 17.45 |
| Condition 2 Sidewalks (Miles) | 45.61 |
| Condition 3 Sidewalks (Miles) | 9.63 |
| Condition 4 Sidewalks (Miles) | 3.8 |
| Driveways > 2% (Number) | 1045 |
| ### Sidewalk Barriers |  |
| Bridge Joint | 0 |
| Damaged Panel | 33 |
| Driveway | 0 |
| Hand Hold | 0 |
| Hydrant | 1 |
| Light Post | 6 |
| Mailbox | 0 |
| Manhole | 3 |
| Minor Gap | 17 |
| Narrows to less than 48" | 1 |
| Other | 7 |
| Power Poles | 0 |
| Railroad Crossing | 0 |
| Sand, Gravel Mud | 4 |
| Signs | 1 |
| Slope Issues | 0 |
| Stairs | 0 |
| Street Furniture | 1 |
| Traffic Poles | 3 |
| Trees | 2 |
| Utility Cabinet | 2 |
| Vegetation | 1 |

## Accessible Pedestrian Signals

| APS Push Buttons | 105 |
| --- | --- |
| Non-Compliant APS Push Buttons | 20 |
| APS Complaint Push Buttons | 85 |
| Number of APS Intersections | 18 |
| Total Number of Signalized Intersections | 59 |

# District 8 Asset Inventory

## Buildings

T7980091030 - Hutchinson Truck Station 
T7980091036 - Litchfield Truck Station 
T7980091023 - Willmar District Headquarters

Pedestrian Ramps
A compliant ramp must have detectable warnings , a minimum 4 foot by 4 foot landing with a cross slope less than 2% in each direction, a running slope of 8.3% or less, a cross slope of 2% or less, and be at least 48 inches wide.

| Number of Ramps | 2019 |
| --- | --- |
| Number of Non-Compliant Ramps | 1801 |
| Number of Compliant Ramps | 218 |
| Number of Compliant Ramps without Truncated Domes | 390 |
| Number of Ramps with Compliant Slope and Cross Slope | 926 |
| Number of Ramps with Compliant Slope | 1328 |

## Pedestrian Bridges

| Asset Number | Featured Intersected | Facility Carried by Structure | Year Built | Compliant Issues |
| --- | --- | --- | --- | --- |
| 43006 | US 212 | PEDESTRIAN | 1971 | Stairs |

## Sidewalks

| Total Miles of Sidewalks | 58.67 |
| --- | --- |
| Sidewalks < 48" (Miles) | 0.38 |
| Cross Slopes > 2% (Miles) | 24.74 |
| Condition 1 Sidewalks (Miles) | 34.05 |
| Condition 2 Sidewalks (Miles) | 18.17 |
| Condition 3 Sidewalks (Miles) | 5.09 |
| Condition 4 Sidewalks (Miles) | 1.11 |
| Driveways > 2% (Number) | 970 |
| ### Sidewalk Barriers |  |
| Bridge Joint |  |  | 0 |
| Damaged Panel |  |  | 10 |
| Driveway |  |  | 0 |
| Hand Hold |  |  | 0 |
| Hydrant |  |  | 4 |
| Light Post |  |  | 20 |
| Mailbox |  |  | 0 |
| Manhole |  |  | 1 |
| Minor Gap |  |  | 0 |
| Narrows to less than 48" |  |  | 3 |
| Other |  |  | 1 |
| Power Poles |  |  | 0 |
| Railroad Crossing |  |  | 0 |
| Sand, Gravel Mud |  |  | 1 |
| Signs |  |  | 6 |
| Slope Issues |  |  | 0 |
| Stairs |  |  | 4 |
| Street Furniture |  |  | 0 |
| Traffic Poles |  |  | 3 |
| Trees |  |  | 5 |
| Utility Cabinet |  |  | 0 |
| Vegetation |  |  | 2 |

## Accessible Pedestrian Signals

| APS Push Buttons | 23 |
| --- | --- |
| Non-Compliant APS Push Buttons | 0 |
| APS Complaint Push Buttons | 23 |
| Number of APS Intersections | 12 |
| Total Number of Signalized Intersections | 52 |

# Metro District Asset Inventory

## Buildings

T7906092055 - Aeronautics 
T7902092039 - Arden Hills Training Center 
T7990092139 - Daytonport Scale 
T7990090931 - Golden Valley District Headquarters 
T7990091138 - Oakdale District Headquarters 
Office of Materials and Road Research
T7900092043 - Plymouth Driver’s License 
T7990091194 - Waters Edge

Pedestrian Ramps
A compliant ramp must have detectable warnings , a minimum 4 foot by 4 foot landing with a cross slope less than 2% in each direction, a running slope of 8.3% or less, a cross slope of 2% or less, and be at least 48 inches wide.

| Number of Ramps | 7800 |
| --- | --- |
| Number of Non-Compliant Ramps | 6040 |
| Number of Compliant Ramps | 1832 |
| Number of Compliant Ramps without Truncated Domes | 2439 |
| Number of Ramps with Compliant Slope and Cross Slope | 4596 |
| Number of Ramps with Compliant Slope | 6223 |

## Pedestrian Bridges

| Asset Number | Featured Intersected | Facility Carried by Structure | Year Built | Compliant Issues |
| --- | --- | --- | --- | --- |
| 02017 | MN 47 | PED @ 49th Ave | 1967 | Stairs |
| 02021 | MN 65 | PEDESTRIAN | 1970 | Compliant |
| 02022 | MN 65 & Frontage Rd | PED @ 80th Ave NE | 1973 | Stairs |
| 02044 | US 10 | Pedestrian | 1997 | Compliant |
| 10048 | US 212 | PED/BIKE | 2007 | Compliant |
| 10531 | TH 5 | PED | 1995 | Compliant |
| 19025 | US 52 | PED @ Lewis St | 1973 | Excessive Running Grade on Bridge Deck and Approach Ramp |
| Asset Number | Featured Intersected | Facility Carried by Structure | Year Built | Compliant Issues |
| 27003 | I 94, Lyndale & Henn Av | PED at Whitney | 1988 | Excessive Running Grade on Approach Ramp |
| 27004 | Mississippi River | Ped at St Anthony | 1883 | Compliant |
| 27012 | TH 100 | Ped at 26th St | 1978 | Excessive Running Grade on Approach Ramp |
| 27028 | TH 77 | PED AT 88TH ST | 1978 | Compliant |
| 27038A | TH 100 | Ped Brooklyn Blvd | 1976 | Compliant |
| 27038B | TH 100 | Ped Brooklyn Blvd | 1976 | Compliant |
| 27061 | TH 121 | PED at 61st St | 1962 | Stairs |
| 27105 | TH 100 & Vernon Ave | PED at 41st St | 1968 | Stairs |
| 27135 | US 12 & Ridgeview Dr | PED at Ridgeview | 1970 | Stairs |
| 27202 | TH 55 & NB off ramp | PEDESTRIAN | 1998 | Compliant |
| 27220 | TH 610 | Pedestrian | 1998 | Excessive Running Grade on Approach Ramps |
| 27272 | TH 12 & BNSF RR | Luce Line Trail | 2003 | Compliant |
| 27278 | TH 12 & BNSF RR | Trail A | 2005 | Compliant |
| 27284 | TH 100 | PED at 39th Ave | 2000 | Excessive Running Grade on Approach Ramp |
| 27407 | LEGION LAKE | TRAIL | 2008 | Compliant |
| 27520 | TH 62 & W 64th St | PEDESTRAIN | 1963 | Stairs |
| 27530 | TH 62 | PED at 40th Ave S | 1966 | Stairs |
| 27535 | TH 62 | PED at 14th Ave | 1967 | Stairs |
| 27615 | TH 100 & SB off ramp | Ped at 59th Ave N | 1980 | Compliant |
| 27649 | TH 100 | Pedestrian Bridge | 1983 | Compliant |
| 27685 | TH 252 | PED AT 85th AVE | 2003 | Complaint |
| 27710 | I 394 | PED @ Pennsylvania | 1989 | Excessive Running Grade on Approach Ramp |
| 27711 | I 394 | PED @ Florida Ave | 1989 | Excessive Running Grade on Approach Ramp |
| 27755 | I 394 & 394R Frontage Rd | PEDESTRIAN | 1989 | Compliant |
| Asset Number | Featured Intersected | Facility Carried by Structure | Year Built | Compliant Issues |
| 27757 | I 394, I394R & Frontage | PED @ Cedar Lake Rd | 1988 | Excessive Running Grade on Approach Ramp |
| 27864 | I 94 & I 694 | PED @ Shingle Creek | 1980 | Compliant |
| 27866 | UP RAIL | PED Linden Avenue | 1972 | Compliant |
| 27868 | I 35W NB, TH 65 & STS | PED @ 24th St E | 1971 | Excessive Running Grade on Bridge Deck and Approach Ramp and Stairs |
| 27908 | ELM CREEK | PEDESTRIAN | 1973 | Compliant |
| 27955 | I 94 On/Off Ramps-Huron | PEDESTRIAN | 1965 | Stairs |
| 27958 | I 94 | PED @ Seymour | 1967 | Compliant |
| 27985 | I 35W & NB off ramp | PED @ Summer St | 1973 | Excessive Running Grade on Approach Ramp |
| 27987 | I 35W & off-on ramps | PED @ 5th St SE | 1971 | Excessive Running Grade on Approach Ramps |
| 27B42 | US 169 | PED-BIKE | 2008 | Compliant |
| 27R15 | MN 610/CSAH 81 railroad | Pedestrian bridge | 2005 | Compliant |
| 27R17 | Wet Lands | Pedestrian TH 610 | 2005 | Compliant |
| 27R30 | US 212 | PED/BIKE | 2006 | Compliant |
| 27V57 | I 494 | PED AT MAYWOOD LN | 2005 | Compliant |
| 4175 | County 101 Minnesota R | Pedestrian | 1927 | Compliant |
| 5114 | TH 7 | Recreation Trail | 1934 | Compliant |
| 62023 | Lafayette Rd (US 52) | PED at Winifred St | 1969 | Excessive Running Grade on Bridge Deck and Approach Ramp |
| 62096 | MN 36 | PEDESTRIAN | 2007 | Compliant |
| 62804 | I 35E & Thompson St | Ped at Walnut St | 1987 | Excessive Running Grade on Approach Ramp |
| 62809 | I 94 & RAMP 16A | GRIGGS ST PED | 2009 | Compliant |
| 62822 | I 694 | RECREATION TRAIL | 1966 | Compliant |
| 62849 | I 94 | PED at ALDINE | 1966 | Excessive Running Grade on Bridge Deck and Approach Ramps |
| Asset Number | Featured Intersected | Facility Carried by Structure | Year Built | Compliant Issues |
| 62868 | I 94, Hudson & Pacific | PED at Maple | 1973 | Excessive Running Grade and Cross Slope on Approach Ramp |
| 62869 | I 94 EB on ramp | PED at Hazelwood | 1974 | Stairs |
| 62872 | I 35E | PED at Bayard Ave | 1984 | Excessive Running Grade on Approach Ramps |
| 62X02 | Ped Trail | TH 35E | 2001 | Compliant |
| 6402 | TH 36 | BN Regional Trail | 1954 | Compliant |
| 6512 | I 35E | GATEWAY TRAIL | 1960 | Compliant |
| 70536 | US 169 | PED E OF CSAH 17 | 2002 | Compliant |
| 70539 | US 169 | PED W OF CR 79 | 2002 | Compliant |
| 82012 | GORGE | PED | 1968 | Compliant |
| 82028 | US 61, Hasting Ave, 7th | PED | 2003 | Compliant |
| 82032 | US 61 7th Ave BN &CP RR | PED | 2003 | Compliant |
| 9078 | I 494 & N & S Front Rds | PED at 2nd Ave S | 1960 | Stairs |
| 9600F | Minnesota River | Ped Trail | 1980 | Compliant |
| 9618 | I 35W | PED at 40th St | 1965 | Compliant |
| 9714 | US 10 | Pedestrian | 1963 | Compliant |
| 9736 | I 94 | PED at Chatsworth | 1964 | Compliant |
| 9737 | I 94 | PED at Mackubin St | 1963 | Compliant |
| 9773 | I 94 | PED at Grotto | 1963 | Compliant |
| 9888 | I 35W | PED at 73rd Ave | 1960 | Stairs |
| 9892 | I 94 | PED at 22nd Ave | 1962 | Excessive Running Grade on Approach Ramp |
| 9895 | TH 100, Frontage Roads | PED at S View Lane | 1971 | Excessive Running Grade on Bridge Deck |
| 9896 | TH 100, Frontage Roads | PED at Windsor Ave | 1971 | Excessive Running Grade on Bridge Deck and Approach Ramp |

## Sidewalks

| Total Miles of Sidewalks |  |  | 188.24 |
| --- | --- | --- | --- |
| Sidewalks < 48" (Miles) |  |  | 3.79 |
| Cross Slopes > 2% (Miles) |  |  | 64.61 |
| Condition 1 Sidewalks (Miles) |  |  | 42.07 |
| Condition 2 Sidewalks (Miles) |  |  | 115.37 |
| Condition 3 Sidewalks (Miles) |  |  | 25.96 |
| Condition 4 Sidewalks (Miles) |  |  | 4.84 |
| Driveways > 2% (Number) |  |  | 1143 |
| ### Sidewalk Barriers |  |
| Bridge Joint |  |  | 551 |
| Damaged Panel |  |  | 3289 |
| Driveway |  |  | 12 |
| Hand Hold |  |  | 24 |
| Hydrant |  |  | 8 |
| Light Post |  |  | 93 |
| Mailbox |  |  | 1 |
| Manhole |  |  | 36 |
| Minor Gap |  |  | 22 |
| Narrows to less than 48" |  |  | 40 |
| Other |  |  | 48 |
| Power Poles |  |  | 19 |
| Railroad Crossing |  |  | 13 |
| Sand, Gravel Mud |  |  | 39 |
| Signs |  |  | 20 |
| Slope Issues |  |  | 22 |
| Stairs |  |  | 13 |
| Street Furniture |  |  | 17 |
| Traffic Poles |  |  | 5 |
| Trees |  |  | 31 |
| Utility Cabinet |  |  | 5 |
| Vegetation |  |  | 319 |

## Accessible Pedestrian Signals

| APS Push Buttons | 1238 |
| --- | --- |
| Non-Compliant APS Push Buttons | 719 |
| APS Complaint Push Buttons | 519 |
| Number of APS Intersections | 227 |
| Total Number of Signalized Intersections | 675 |

# Appendix D

# Rest Area Facility Condition Assessment

| Facility Location | Cost | System | Correction | Distress | Qty | Unit |
| --- | --- | --- | --- | --- | --- | --- |
| Adrian EB |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| East Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| West Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $4,199 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum door, incl. vision | Damaged | 2 | Ea |
| \Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Damaged | 1 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $1,017 | Fittings | Install grab bars in accessible stall. | Missing | 6 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Inadequate | 2 | Ea |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $824 | Plumbing Fixtures | Provide protective insulation for exposed piping. | Missing | 6 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Adrian EB Total | $64,673 |  |  |  |  |  |
| Adrian WB |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $4,057 | Slab on Grade | Remove and replace concrete sidewalk, 4" wide | Damaged | 100 | L.F. |
| Main Building | $4,199 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum door, incl. vision | Damaged | 2 | Ea |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Damaged | 1 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height | Inadequate | 2 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage | Inadequate | 4 | Ea |
| Main Building | $1,017 | Fittings | Install grab bars in accessible stall | Missing | 6 | L.F. |
| Main Building | $824 | Plumbing Fixtures | Provide protective insulation for exposed piping | Missing | 6 | Ea |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Adrian WB Total | $65,379 |  |  |  |  |  |
| Anchor Lake |  |  |  |  |  |  |
| Site Features | $5,721 | Site Development | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| Main Building | $1,435 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height | Missing | 2 | Ea |
| Main Building | $2,280 | Fittings | Provide protective insulation for exposed piping | Missing | 8 | Ea |
| Main Building | $4,270 | Fittings | Provide accessible service counter | Inadequate | 14 | L.F. |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $6,779 | Communications & Security | Replace fire alarm control panel | Inadequate | 1 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Anchor Lake Total | $75,341 |  |  |  |  |  |
| Baptism River |  |  |  |  |  |  |
| Main Building | $406 | Fittings | Replace accessible restroom signage | Inadequate | 2 | Ea |
| Main Building | $2,880 | Fittings | Provide protective insulation for exposed piping | Missing | 8 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $6,779 | Communications & Security | Replace fire alarm control panel | Inadequate | 1 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Baptism River Total | $63,572 |  |  |  |  |  |
| Beaver Creek |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $2,291 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| East Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Picnic Shelter East | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Picnic Shelter West | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| West Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $5,231 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum storefront doors | Beyond Useful Life | 2 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Main Building | $1,623 | Site Earthwork | Remove and replace concrete sidewalk, 4' wide | Damaged | 40 | L.F. |
| Main Building | $24,345 | Site Earthwork | Remove and replace concrete sidewalk, 4' wide | Damaged | 600 | L.F. |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Beaver Creek Total | $80,641 |  |  |  |  |  |
| Big Spunk |  |  |  |  |  |  |
| Site Features | $3,136 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 2 | Ea |
| Site Features | $31,527 | Pedestrian Paving | Construct & provide ADA conc. ramp and steps | Missing | 40 | L.F. |
| Site Features | $138 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 1 | Ea |
| Main Building | $1,425 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Auto Parking | $607 | Parking Lots | Realign and Re-stripe Parking Space for ADA Access | Inadequate | 100 | L.F. |
| Big Spunk Total | $93,944 |  |  |  |  |  |
| Blue Earth EB |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $138 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 1 | Ea |
| East Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| West Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Blue Earth EB Total | $11,561 |  |  |  |  |  |
| Blue Earth WB |  |  |  |  |  |  |
| North Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| South Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $1,171 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Blue Earth WB Total | $8,087 |  |  |  |  |  |
| Burgen Lake |  |  |  |  |  |  |
| East Picnic Shelter | $1,623 | Slab on Grade | Remove and replace concrete sidewalk 4' wide | Damaged | 40 | L.F. |
| West Picnic Shelter | $1,623 | Slab on Grade | Remove and replace concrete sidewalk 4' wide | Damaged | 40 | L.F. |
| Main Building | $5,231 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum storefront doors | Beyond Useful Life | 2 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Burgen Lake Total | $47,302 |  |  |  |  |  |
| Cass Lake |  |  |  |  |  |  |
| Site Features | $3,136 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 2 | Ea |
| Main Building | $1,190 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Cass Lake Total | $4,326 |  |  |  |  |  |
| Central Minnesota TIC |  |  |  |  |  |  |
| Site Features | $1,623 | Slab on Grade | Remove and replace concrete sidewalk 4' wide | Damaged | 40 | L.F. |
| Site Features | $2,291 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| Main Building | $1,566 | Fittings | Replace directional signage | Inadequate | 25 | Ea |
| Main Building | $2,880 | Fittings | Provide protective insulation for exposed piping | Missing | 8 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $4,270 | Fixed Furnishings | Provide accessible service counter | Inadequate | 14 | L.F. |
| Central Minnesota TIC Total | $14,432 |  |  |  |  |  |
| Clear Lake |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $2,291 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| West Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $886 | Plumbing Fixtures | Provide protective insulation for exposed piping | Inadequate | 8 | Ea |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Clear Lake Total | $68,935 |  |  |  |  |  |
| Dayton Port |  |  |  |  |  |  |
| Main Building Lobby | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building Men’s Room | $8,497 | Toilet Partitions | Replace toilet partitions | Damaged | 3 | Ea |
| Main Building Women’s Room | $16,994 | Toilet Partitions | Replace toilet partitions | Damaged | 6 | Ea |
| Dayton Port Total | $27,293 |  |  |  |  |  |
| Des Moines River |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $2,291 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| North Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| NW Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| South Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $4,199 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum door, incl. vision | Beyond Useful Life | 2 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $2,880 | Plumbing Fixtures | Provide protective insulation for exposed piping | Inadequate | 8 | Ea |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Des Moines River Total | $56,306 |  |  |  |  |  |
| Dresbach TIC |  |  |  |  |  |  |
| Site Features | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| Main Building | $1,624 | Fittings | Toilet partitions laminate clad-overhead braced | Inadequate | 1 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $13,004 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 5 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Auto Parking | $641 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 3 | Ea |
| Auto Parking | $3,655 | Parking Lots | Realign and Re-stripe Parking Space for ADA Access | Inadequate | 910 | L.F. |
| Dresbach TIC Total | $56,366 |  |  |  |  |  |
| Elm Creek |  |  |  |  |  |  |
| Site Features | $10,486 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 5 | Ea |
| Patio Terrace | $6,524 | Brick and Tile Plazas | Remove and replace asphalt sidewalk, 4' wide | Damaged | 10 | L.F. |
| Patio Terrace | $2,724 | Brick and Tile Plazas | Replace expansion joints in concrete pavement | Damaged | 50 | L.F. |
| Main Building | $34,880 | Slab on Grade | Mud jack floor slab. | Failing | 500 | S.F. |
| Main Building | $2,673 | Exterior Doors | Repair aluminum frame and door | Inadequate | 2 | Ea |
| Elm Creek Total | $57,287 |  |  |  |  |  |
| Enfield |  |  |  |  |  |  |
| Site Features | $12,584 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 6 | Ea |
| Site Features | $138 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 1 | Ea |
| Main Building | $15,279 | Exterior Doors | Automatic door opener on existing door | Missing | 2 | Ea |
| Main Building | $1,498 | Fittings | Install mirror at accessible height. | Inadequate | 4 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Enfield Total | $31,301 |  |  |  |  |  |
| Enterprise |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $2,291 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Enterprise Total | $36,038 |  |  |  |  |  |
| Fishers Landing |  |  |  |  |  |  |
| Site Features | $1,568 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 1 | Ea |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Missing | 1 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $1,186 | Fittings | Install grab bars in accessible stall. | Missing | 7 | L.F. |
| Main Building | $406 | Fittings | Replace accessible restroom signage. | Inadequate | 2 | Ea |
| Main Building | $24,395 | Floor Finishes | Replace quarry tile floor | Damaged | 800 | S.F. |
| Main Building | $720 | Plumbing Fixtures | Provide protective insulation for exposed piping | Inadequate | 2 | Ea |
| Main Building | $4,270 | Fixed Furnishings | Provide accessible service counter | Inadequate | 14 | L.F. |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Fishers Landing Total | $92,638 |  |  |  |  |  |
| Forest Lake |  |  |  |  |  |  |
| Site Features | $5,704 | Site Development | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Main Building | $15,379 | Exterior Doors | Automatic door opener on existing door | Missing | 2 | Ea |
| Main Building | $3,105 | Identifying/ Visual Aid Specialties | Renew System | Beyond Useful Life | 1 | Ea |
| Main Building Lobby | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Forest Lake Total | $25,890 |  |  |  |  |  |
| Frazee |  |  |  |  |  |  |
| Main Building | $1,650 | Exterior Doors | Repair aluminum storefront door | Damaged | 3 | Ea |
| Frazee Total | $1,650 |  |  |  |  |  |
| Fuller Lake |  |  |  |  |  |  |
| Site Features | $138 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 1 | Ea |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Missing | 1 | Ea |
| Main Building | $15,709 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum door, incl. vision | Beyond Useful Life | 2 | Ea |
| Main Building | $899 | Fittings | Install mirror at accessible height | Missing | 2 | Ea |
| Main Building | $406 | Fittings | Replace accessible restroom signage | Inadequate | 2 | Ea |
| Main Building | $2,439 | Floor Finishes | Replace quarry tile floor | Damaged | 80 | S.F. |
| Main Building | $720 | Plumbing Fixtures | Provide protective insulation for exposed piping | Missing | 2 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Fuller Lake Total | $58,778 |  |  |  |  |  |
| General Andrews |  |  |  |  |  |  |
| Site Features | $6,292 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 3 | Ea |
| Site Features | $275 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 2 | Ea |
| Auto Parking | $2,413 | Parking Lots | Re-Align & Re-stripe Parking Space for ADA Access | Inadequate | 800 | L.F. |
| Auto Parking | $2,204 | Parking Lots | Replace Metal Reserved Parking Sign and Post | Missing | 3 | Ea |
| General Andrews Total | $11,184 |  |  |  |  |  |
| Goose Creek |  |  |  |  |  |  |
| Site Features | $4,704 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 3 | Ea |
| Site Features | $6,086 | Pedestrian Paving | Remove and replace concrete sidewalk, 4' wide | Inadequate | 150 | L.F. |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Inadequate | 1 | Ea |
| Main Building | $2,155 | Identifying/ Visual Aid Specialties | Renew System | Beyond Useful Life | 1 | Ea |
| Main Building Lobby | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Auto Parking | $1,060 | Parking Lots | Realign & Re-stripe Parking Space for ADA Access | Inadequate | 264 | L.F. |
| Goose Creek Total | $23,660 |  |  |  |  |  |
| Gooseberry Falls |  |  |  |  |  |  |
| Site Features | $3,217 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| Main Building | $730 | Slab on Grade | Remove and replace concrete sidewalk, 4' wide | Damaged | 12 | L.F. |
| Auto Parking | $3,956 | Parking Lots | Re-Align & Re-stripe Parking Space for ADA Access | Inadequate | 1120 | L.F. |
| Gooseberry Falls Total | $7,906 |  |  |  |  |  |
| Hansel Lake |  |  |  |  |  |  |
| Site Features | $2,164 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Inadequate | 200 | S.F. |
| Main Building | $5,231 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum storefront doors | Damaged | 2 | Ea |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Missing | 1 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building. | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Hansel Lake Total | $55,892 |  |  |  |  |  |
| Hayward |  |  |  |  |  |  |
| Site Features | $413 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 3 | Ea |
| East Picnic Shelter | $507 | Site Earthwork | Remove & Replace Concrete Sidewalk, 4' wide | Damaged | 10 | L.F. |
| West Picnic Shelter | $507 | Site Earthwork | Remove & Replace Concrete Sidewalk, 4' wide | Damaged | 10 | L.F. |
| Main Building | $5,665 | Fittings | Replace toilet partitions | Inadequate | 2 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Hayward Total | $59,011 |  |  |  |  |  |
| Heath Creek |  |  |  |  |  |  |
| North Picnic Shelter | $10,052 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 15 | C.S.F. |
| Main Building | $609 | Fittings | Replace accessible restroom signage. | Inadequate | 3 | Ea |
| Heath Creek Total | $10,661 |  |  |  |  |  |
| High Forest |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| High Forest Total | $38,114 |  |  |  |  |  |
| Kettle River |  |  |  |  |  |  |
| Site Features | $8,389 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 4 | Ea |
| Auto Parking | $2,204 | Parking Lots | Replace Metal Reserved Parking Sign and Post | Missing | 3 | Ea |
| Auto Parking | $2,413 | Parking Lots | Realign & Re-stripe Parking Space for ADA Access | Missing | 800 | L.F. |
| Kettle River Total | $13,006 |  |  |  |  |  |
| Lake Iverson |  |  |  |  |  |  |
| Site Features | $6,872 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 3 | Ea |
| Main Building | $5,231 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum storefront doors | Damaged | 2 | Ea |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Missing | 1 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $25,492 | Fittings | Replace toilet partitions | Damaged | 9 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage | Inadequate | 4 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Lake Iverson Total | $84,059 |  |  |  |  |  |
| Lake Latoka |  |  |  |  |  |  |
| Picnic Shelter East | $2,029 | Site Earthwork | Remove and replace concrete sidewalk, 4' wide | Damaged | 50 | L.F. |
| Picnic Shelter West | $2,029 | Site Earthwork | Remove and replace concrete sidewalk, 4' wide | Damaged | 50 | L.F. |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Lake Latoka Total | $5,860 |  |  |  |  |  |
| Lake Pepin |  |  |  |  |  |  |
| Site Features | $6,086 | Pedestrian Paving | Remove and replace concrete sidewalk, 4' wide | Inadequate | 150 | L.F. |
| North Picnic Shelter | $1,420 | Slab on Grade | Remove and replace concrete sidewalk, 4' wide | Inadequate | 35 | L.F. |
| South Picnic Shelter | $923 | Slab on Grade | Remove and replace concrete sidewalk, 4' wide | Inadequate | 35 | L.F. |
| Auto Parking | $1,060 | Parking Lots | Realign and Re-stripe Parking Space for ADA Access | Missing | 264 | L.F. |
| Lake Pepin Total | $9,489 |  |  |  |  |  |
| Middle Spunk |  |  |  |  |  |  |
| Main Building | $1,435 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Site Features | $4,704 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 3 | Ea |
| Site Features | $2,434 | Pedestrian Paving | Remove and replace concrete sidewalk, 4' wide | Inadequate | 60 | L.F. |
| Auto Parking | $607 | Parking Lots | Realign and Re-stripe Parking Space for ADA Access | Inadequate | 100 | L.F. |
| Middle Spunk Total | $66,281 |  |  |  |  |  |
| MN Valley |  |  |  |  |  |  |
| Main Building | $15,279 | Interior Doors | Automatic door opener on existing door | Inadequate | 2 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $1,017 | Fittings | Install grab bars in accessible stall. | Missing | 6 | L.F |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $2,880 | Plumbing Fixtures | Provide protective insulation for exposed piping. | Missing | 8 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Site Features | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| MN Valley Total | $58,162 |  |  |  |  |  |
| Moorhead |  |  |  |  |  |  |
| Site Features | $1,845 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 1 | Ea |
| Moorhead Total | $1,845 |  |  |  |  |  |
| New Market |  |  |  |  |  |  |
| Main Building | $609 | Fittings | Replace accessible restroom signage. | Inadequate | 3 | Ea |
| Site Features | $3,275 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 3 | Ea |
| Site Features | $138 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 1 | Ea |
| West Picnic Shelter | $10,052 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 15 | C.S.F. |
| New Market Total | $14,074 |  |  |  |  |  |
| Oak Lake |  |  |  |  |  |  |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Missing | 1 | Ea |
| Main Building | $406 | Fittings | Replace accessible restroom signage | Inadequate | 2 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $1,186 | Fittings | Install grab bars in accessible stall. | Missing | 7 | L.F |
| Main Building | $2,439 | Floor Finishes | Replace quarry tile floor | Damaged | 80 | S.F. |
| Main Building | $720 | Plumbing Fixtures | Provide protective insulation for exposed piping | Missing | 2 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Site Features | $3,136 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 2 | Ea |
| East Picnic Shelter | $811 | Slab on Grade | Remove and replace concrete sidewalk, 4' wide | Damaged | 10 | L.F. |
| Oak Lake Total | $47,914 |  |  |  |  |  |
| Oakland Woods |  |  |  |  |  |  |
| Main Building | $863 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Site Features | $4,367 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 4 | Ea |
| Oakland Woods Total | $58,737 |  |  |  |  |  |
| Rum River |  |  |  |  |  |  |
| Main Building | $2,339 | Identifying/ Visual Aid Specialties | Renew System | Beyond Useful Life | 1 | Ea |
| Main Building | $1,042 | Cabinets & Counters | Renew System | Beyond Useful Life | 1 | Ea |
| Main Building | $1,435 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Inadequate | 1 | Ea |
| Main Building Men’s Room | $5,665 | Toilet Partitions | Replace toilet partitions | Damaged | 2 | Ea |
| Main Building Women’s Room | $11,330 | Toilet Partitions | Replace toilet partitions | Damaged | 4 | Ea |
| Main Building Women’s Room | $6,479 | Plumbing Fixtures | Replace lavatory vitreous china | Inadequate | 8 | Ea |
| Site Features | $6,292 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 3 | Ea |
| Site Features | $4,057 | Pedestrian Paving | Remove and replace concrete sidewalk, 4' wide | Missing | 100 | L.F. |
| Rum River Total | $46,278 |  |  |  |  |  |
| St. Croix TIC |  |  |  |  |  |  |
| Main Building | $1,435 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Site Features | $10,486 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 3 | Ea |
| St. Croix TIC Total | $11,921 |  |  |  |  |  |
| Straight River NB |  |  |  |  |  |  |
| Main Building | $406 | Fittings | Replace accessible restroom signage | Inadequate | 2 | Ea |
| Main Building | $6,779 | Communications & Security | Replace fire alarm control panel | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Main Building | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| East Picnic Shelter | $6,006 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 10 | C.S.F |
| West Picnic Shelter | $8,828 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 10 | C.S.F |
| West Picnic Shelter | $3,483 | Slab on Grade | Remove and replace concrete sidewalk, 4' wide | Damaged | 10 | L.F |
| Straight River NB Total | $60,911 |  |  |  |  |  |
| Straight River SB |  |  |  |  |  |  |
| Main Building | $406 | Fittings | Replace accessible restroom signage | Inadequate | 2 | Ea |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Site Features | $138 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 1 | Ea |
| East Picnic Shelter | $3,003 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| West Picnic Shelter | $6,006 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 10 | C.S.F |
| Straight River SB Total | $12,154 |  |  |  |  |  |
| Thompson Hill |  |  |  |  |  |  |
| Main Building | $13,556 | Fittings | Install grab bars in accessible stall | Missing | 80 | L.F. |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Site Features | $2,097 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Missing | 1 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Thompson Hill Total | $51,098 |  |  |  |  |  |
| Watonwan |  |  |  |  |  |  |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Site Features | $1,092 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Missing | 1 | Ea |
| Site Features | $3,289 | Water Supply | Install Domestic Water Faucet Piping and Drain | Missing | 1 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Watonwan Total | $57,861 |  |  |  |  |  |
| Worthington TIC |  |  |  |  |  |  |
| Main Building | $431 | Exterior Doors | Repair aluminum door | Damaged | 1 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall | Missing | 12 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $3,660 | Fittings | Provide accessible service counter | Inadequate | 12 | L.F. |
| Main Building | $812 | Fittings | Replace accessible restroom signage | Inadequate | 4 | Ea |
| Main Building | $25,492 | Fittings | Replace toilet partitions | Damaged | 9 | Ea |
| Main Building | $1,073 | Plumbing Fixtures | Provide protective insulation for exposed piping | Missing | 8 | Ea |
| Main Building | $3,604 | Communications & Security | Replace public telephone | Inadequate | 2 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Site Features | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Worthington TIC Total | $94,354 |  |  |  |  |  |
| Grand Total | $1,942,175 |  |  |  |  |  |
| Note: The following Rest Areas have no ADA Deficiencies: Brainerd Lakes Welcome Center, Albert Lea TIC, and Marion Rest Area |  |  |  |  |  |  |

# Appendix E

# Policies and Procedures under Review by MnDOT

| 2008 Signal & Lighting Certification Manual | Revised 2010 |
| --- | --- |
| 60% REVIEW CHECKLISTS | N/A |
| 95% REVIEW CHECKLISTS | N/A |
| Accessibility Grievance Procedure | Revised |
| ADA Checklist | Revised |
| ADA IMPLEMENTATION PLAN FOR METRO DESIGN | Revised |
| D-7 PRESERVATION PROJECT GUIDELINES | N/A |
| Design Layout Checklist | N/A |
| GDSU Process of Layout Review | N/A |
| Guidebook for Minnesota Public Transit Providers | Retired |
| Guideline for the Application of Tubular Markers and Weighted Channelizers | No impact to accessibility |
| Guidelines for Changeable Message Sign (CMS) Use | No impact to accessibility |
| Hear Every Voice (HEV): MnDOT Public and Stakeholder Participation Guidance | Compliant |
| Hear Every Voice II: Public Involvement Guidance 2008 | Compliant |
| HPDP Accessibility Requirements | Revision in 2015 |
| HPDP Geometric Layouts | N/A |
| Layout Approval Process | Not found |
| Maintenance Manual | Revision pending |
| Minnesota Manual on Uniform Traffic Control Devices (Mn MUTCD) CH 4E | Revised |
| MnDOT Road Design Manual (RDM) | Chapter 11-3 Revised 2010 |
| MnDOT Traffic Signal Timing and Coordination Manual |  |
| No Passing Zone Workbook | No impact to accessibility |
| Off-site accessibility checklist | Not found |
| OLM's Right of Way Manual section 5-491.810 | N/A |
| Scoping and Cost Estimating | Compliant |
| Scoping Worksheets | Compliant |
| Standard Plan - Acceleration and Deceleration Lane (Urban) Rigid Design (5-297.210) | No impact to accessibility |
| Standard Plate 7105C | No impact to accessibility |
| Standard Plate 7107H | No impact to accessibility |
| Standard Plate 7108F | No impact to accessibility |
| Standard Plate 7109C | No impact to accessibility |
| Standard Plate 7113A | No impact to accessibility |
| Standard Plate 8400E Pipe Railing | Needs revision |
| Standard Plate 8401 At grade pipe railing | Needs revision |
| Standard Plate Pedestrian installation | Not Found |
| Standard Sign Summary | Compliant |
| Standard Signs Manual | Compliant |
| Tech. Memo. Minnesota Work Zone Safety and Mobility Policy | Revised 2010 |
| Tech. Memo. Pedestrian Countdown Signals (PCSs) Usage. | No impact to accessibility |
| TRAFFIC ENGINEERING MANUAL | Revised |
| Work Zone Field Handbook | Revised |

# Appendix F

# Inventory Attributes for Sidewalks, APS Signals, and Curb Ramps

Below is listing of the data that was collected for determining the accessibility of sidewalks, signals, and curb ramps in MnDOT’s right of way.

## Sidewalk Attributes

Pedestrian Activity

Sidewalk Width

Sidewalk Material

Boulevard Width

Boulevard Material

Cross Slope

Condition Rating

## Signal Attributes

Intersection ID

APS Present

Walk Signal Present

Countdown Present

Pedestrian Phase Activation

Push Button Location

Push Button on correct side

Push Button Landing Area

Push Button Landing Slope

Push Button Landing Location

Push Button Height

Push Buttons 10’ Apart

Photo

## Curb Ramp Attributes

Intersection ID

Pedestrian Activity

Ramp Type

Location

Truncated Domes

Pedestrian Landing Area

Pedestrian Landing Slope

Ramp Width

Running Slope

Cross Slope

Condition Rating

Gutter In Slope

Gutter Flow Slope

Photo

# Appendix G

# Glossary of Terms

ABA: See Architectural Barriers Act.

ADA: See Americans with Disabilities Act.

ADA Transition Plan: MnDOT’s transportation system plan that identifies accessibility needs, the process to fully integrate accessibility improvements into the Statewide Transportation Improvement Program (STIP), and ensures all transportation facilities, services, programs, and activities are accessible to all individuals.

ADAAG: See Americans with Disabilities Act Accessibility Guidelines.

Accessible: A facility that provides access to people with disabilities using the design requirements of the ADA.

Accessible Pedestrian Signal: A device that communicates information about the WALK phase in audible and vibrotactile formats, also known as APS.

Alteration: A change to a facility in the public right-of-way that affects or could affect access, circulation, or use. An alteration must not decrease or have the effect of decreasing the accessibility of a facility or an accessible connection to an adjacent building or site.

Americans with Disabilities Act: The Americans with Disabilities Act; Civil rights legislation passed in 1990 and effective July 1992. The ADA sets design guidelines for accessibility to public facilities, including sidewalks and trails, by individuals with disabilities. Also known as ADA.

Americans with Disabilities Act Accessibility Guidelines: ADAAG contains scoping and technical requirements for accessibility to buildings and public facilities by individuals with disabilities under the Americans with Disabilities Act (ADA) of 1990.

APS: See Accessible Pedestrian Signal.

Architectural Barriers Act:  Also known as ABA.

Class I Rest Areas: Rest area buildings are open 24 hours per day and offer modern facilities, drinking fountains, display case maps, travel displays, vending machines and public phones.  They feature picnic facilities; lighted walkways; and lighted car, recreational vehicle and commercial truck parking lots.

Class II Rest Area: Class II rest areas feature vault toilet facilities with separate facilities for men and women, a water well, picnic facilities, paved parking lots and other site amenities. They are seasonally operated.

Detectable Warning: A surface feature of truncated domes, built in or applied to the walking surface to indicate an upcoming change from pedestrian to vehicular way.

DOJ: See United States Department of Justice

Federal Highway Administration (FHWA): A branch of the US Department of Transportation that administers the federal-aid Highway Program, providing financial assistance to states to construct and improve highways, urban and rural roads, and bridges.

FHWA: See Federal Highway Administration

PROWAG: An acronym for the Guidelines for Accessible Public Rights-of-Way issued in 2005 by the U. S. Access Board. This guidance addresses roadway design practices, slope, and terrain related to pedestrian access to walkways and streets, including crosswalks, curb ramps, street furnishings, pedestrian signals, parking, and other components of public rights-of-way.

Right of Way: A general term denoting land, property, or interest therein, usually

in a strip, acquired for or devoted to transportation purposes. “Right of way” also may

mean the privilege of the immediate use of the highway. (MN 169.01 Subd. 45)

Section 504: Section 504 of the Rehabilitation Act of 1983, as amended, 28 USC 792 (“Section 504”) prohibits discrimination on the basis of disability in any program or activity receiving Federal financial assistance.  Section 504 confers primary responsibility for enforcement of its provision on those Federal agencies extending financial assistance to the program or activity.

Travel Information Centers: Travel Information Centers (TICs) and Regional Welcome Centers are Class I rest areas that offer expanded customer services and feature a staffed travel information counter. The TICs offer a broad range of statewide travel information while the Welcome Centers provide more regional travel information.

Statewide Transportation Improvement Program: The Statewide Transportation Improvement Program (STIP) is Minnesota’s four year transportation improvement program. The STIP identifies the schedule and funding of transportation projects by state fiscal year (July 1 through June 30). It includes all state and local transportation projects with federal highway and/or federal transit funding along with 100% state funded transportation projects. Rail, port, and aeronautic projects are included for information purposes. The STIP is developed/updated on an annual basis.

STIP: See Statewide Transportation Improvement Program

Uniform Accessibility Standards (UFAS):  Accessibility standards that all federal agencies are required to meet; includes scoping and technical specifications.

United States Access Board: An independent federal agency that develops and maintains design criteria for buildings and other improvements, transit vehicles, telecommunications equipment, and electronic and information technology. It also enforces accessibility standards that cover federally funded facilities.

United States Department of Justice: The United States Department of Justice (often referred to as the Justice Department or DOJ), is the United States federal executive department responsible for the enforcement of the law and administration of justice.