# The Minnesota Department of Transportation

# ADA Transition Plan

### Introduction

The Americans with Disabilities Act (ADA), enacted on July 26, 1990, is a civil rights law prohibiting discrimination against individuals on the basis of disability.   The ADA consists of five titles outlining protections in the following areas:

- Employment

- State and local government services

- Public accommodations

- Telecommunications

- Miscellaneous Provisions

Title II of the ADA is a section that pertains to the programs, activities and services public entities provide.   Because Mn/DOT provides public transportation services and programs, the organization is committed to comply with this section of the Act as it specifically applies to state public service agencies and state transportation agencies.  Title II of the ADA provides that, “…no qualified individual with a disability shall, by reason of such disability, be excluded from participation in or be denied the benefits of the services, programs, or activities of a public entity, or be subjected to discrimination by any such entity.”  (42 U.S.C. Sec. 12132; 28 C.F.R. Sec. 35.130)

As required by Title II of the ADA, Mn/DOT is conducting a self-evaluation of its facilities and developed this Transition Plan detailing how the organization will ensure that all of its facilities, services, programs and activities are accessible to all individuals.

### ADA and its Relationship to Other Laws

### Title II of the ADA is companion legislation to two previous federal statutes and regulations; the Architectural Barriers Acts of 1968 and Section 504 of the Rehabilitation Act of 1973.

The Architectural Barriers Act requires access to facilities designed, built, altered or leased with Federal funds.  Passed by Congress in 1968, it marks one of the first efforts to ensure access to the built environment.

Section 504 of the Rehabilitation Act of 1973 is a federal law that protects qualified individuals from discrimination based on their disability.  The nondiscrimination requirements of the law apply to employers and organizations that receive financial assistance from any Federal department or agency.  Title II of the ADA extended this coverage to all state and local government entities, regardless of whether they receive federal funding or not.

When addressing accessibility needs and requirements it is important to note that the ADA and Title II do not supersede or preempt state or local laws that may offer equivalent or greater protections, such as the Minnesota Human Rights Act.

### Mn/DOT History

Following the passage of the ADA in 1990, Mn/DOT began a decentralized process to address the Title II requirement that pedestrian walkways and crosswalks be accessible and useable by persons with disabilities.  From 1992 to 1995, all of Mn/DOT Districts, worked independently to install curb ramps that were needed within the state’s right-of-way.  These curb ramps were installed to help eliminate the barrier that curbs caused for pedestrians who needed to use wheelchairs or other assistive mobility devices.  All of these curb ramp projects be completed by 1995.

During the same time-frame districts identified other needed improvements to achieve ADA Title II compliance.  These improvements were focused primarily on accessibility to Mn/DOT buildings and rest area facilities.  Additional accessibility improvements were scheduled to be addressed when new facilities and roadways were built or current facilities and infrastructure were slated for rehabilitation and reconstruction.

In September 2006, Mn/DOT’s Affirmative Action Office was asked to assess agency Title II compliance and determine needs in this area.  The following actions were taken to make this assessment:

- An ADA Coordinator was designated.

- A notice of ADA requirements was drafted to provide information about the rights and protections of the ADA to employees and applicants and also participants and users in agency services, programs and activities.

- A grievance/complaint process was established to address correct user concerns related to inaccessible pedestrian and transportation facilities that fell under Mn/DOT’s juristiction.

In 2007 an internal agency ADA Advisory Council was formed.  The primary function of this council was to assess and determine accessibility program needs and provide guidance to the agency administrators.  This group included key staff in Technical Support, Design, Investment Management (Planning), Construction, Traffic Operations, Maintenance Operations, Transit, Aeronautics, State Aid from Mn/DOT District and Central Offices.

Also in 2007, Mn/DOT updated its policy and procedures to more effectively respond to requests for Accessible Pedestrian Signals (APS.)   The policy and procedures required the installation of APS at every signalized intersection and pedestrian signal installation in both new and reconstruction projects.

The Mn/DOT agency ADA web pages were launched for public use in the spring of 2008. The pages include Mn/DOT’s Non-discrimination Notice, links to accessibility guidance and information and an online grievance process for users to voice their concerns regarding barriers they were encountering accessing Mn/DOT facilities, programs and services.

In 2008 Mn/DOT formed a standing external stakeholder advisory group, made up of citizens with disabilities and advocates for various key disability groups in Minnesota.  This committee provides important feedback and invaluable real-life experience regarding how they encounter Mn/DOT’s facilities, programs and services.  They also serve as a voice for members of Minnesota’s disabled community.

A Technical Memorandum was adopted in 2008 and issued by the Deputy Commissioner clarifying pedestrian curb ramp installation requirements.

In 2008 Mn/DOT contracted with an independent consultant to conduct an objective evaluation of the organization’s current policies, procedures and practices regarding ADA and Title II.  The evaluation analyzed the impact of Mn/DOT policies, procedures and practices on accessibility within our state, and how the accessibility impacted people with disabilities.  The report identified which policies, procedures and practices do not comply with Title II requirements and suggested potential modifications to bring them into compliance.

Mn/DOT’s Offices of Affirmative Action and Technical Support as well as the Pedestrian Section, began conducting ADA Title II training in 2008.  This training is offered to local partners and agency engineers/employees in maintenance, design, construction, and planning.

And finally, in 2009, as a part of the development of Mn/DOT’s Transition Plan, the agency elected to adopt PROWAG as its primary guidance for public facility design.  Mn/DOT is currently beginning the integration of PROWAG into its technical guidance process.

### Program Location and Support

Staffing

The management and implementation of Mn/DOT’s ADA transition plan will utilize a multidiscipline approach that encompasses policy development, outreach, technical support, and oversight with responsibilities in three peer positions:

The Title II coordinator will be located in Affirmative Action Office and will responsible for addressing complaints as they are received, tracking the overall progress of implementing the Transition Plan. The Title II coordinator shall also be responsible for the investigation of all formal grievances made against the department.

The ADA Implementation Coordinator is responsible for developing policy and procedure to integrate Title II requirements into Mn/DOT practices to ensure the obligations of ADA and the transition plan can be met.  The Implementation Coordinator will also function as chair of the Internal ADA committee and co-chair of the ADA Stakeholders group.  The ADA Implementation Coordinator is currently under the direction of the Employee and Corporate Service Division and will remain part of that division until June 30, 2009 when a permanent location is identified.

Mn/DOT is also developing a centralized position to provide design and construction technical support at a project level.  In addition to providing support for projects this position will also be available to assist districts in implementing designs that address accessibility complaints.

Americans with Disabilities Act Advisory Committee (ADAAC)

In 2007 Mn/DOT convened an internal advisory committee with representation from a cross section of functional areas to assist in the development of policy and practice to integrate ADA into Mn/DOT project delivery and operations.  The functions that make up ADAAC’s membership follows:

- Affirmative Action

- Aeronautics

- Maintenance

- Transit

- Traffic, Safety and Technology

- State Aid

- Information Resource Management

- Bridge

- Bicycle and Pedestrian Section

- Construction

- Pre Construction

- Operations Maintenance Group

Stakeholder Advisory Group

The External ADA Advisory Committee was created in 2008 to advise Mn/DOT on compliance with Title II of the Americans with Disabilities Act.  The committee’s representation is composed of individuals with differing disabilities, Mn/DOT representatives from the Bicycle and Pedestrian section, the Commissioner’s Office, and the Office of Policy, Analysis, Research, and Innovation, and a representative from the Minnesota State Council on Disabilities Met Council Transportation Advisory Committee, .  The committee makes recommendations on items related to accessibility including design, education, and development programs. The committee is also been involved with the development of Mn/DOT’s transition plan.

District Expertise/Work Group

Mn/DOT will identify a point of contact for ADA issues in each district.  The point of contact will be responsible for tracking ADA requests in their district, providing technical support for projects and providing feedback to ADA policy and practice.

### Transition Plan Management

Mn/DOT’s transition plan is a living document that will receive routine updates. The first update for the Mn/DOT’s transition plan will is scheduled to occur two years from the plan’s formal adoption and on a five year cycle thereafter.  The update schedule may be altered at the discretion of Mn/DOT based on changes in guidance from the Access Board, federal policy, and Mn/DOT policy.  To streamline the updating process and to keep the document current and relevant, appendices will be updated annually if new information is available and does not alter the intent of the transition plan.

### Grievance Procedure

Under the Americans with Disabilities Act users of Mn/DOT facilities and services have the right to file a grievance if they believe Mn/DOT has not provided reasonable accommodation.  All complaints should be presented in writing to Mn/DOT’s ADA coordinator.

Please consult the Grievance Procedure found in Appendix A or Mn/DOT accessibility website for details. A formal complaint must be filed within 180 calendar days of the alleged occurrence. Mn/DOT will not officially act or respond to complaints made verbally unless the complaint is made through the oral grievance process identified in Appendix A.

### Communications

According to Section 35.160(a) of the ADA, “…A public entity shall take appropriate steps to ensure that communications with applicants, participants, and members of the public with disabilities are as effective as communications with others.”   This means that Mn/DOT is required to provide equally effective communication to individuals with disabilities.   Equally effective communication can be provided by offering alternative formats, auxiliary aid(s) and/or services upon request.  For example, interpreters are hired as requested, or as needs are identified, for the hearing impaired and text materials that are accessible by screen readers are made available to users.

Website Communications

As part of program accessibility Mn/DOT has placed a high priority an ensuring accessible websites.  Several years ago Mn/DOT redesigned both internal and external templates for web pages to be ADA compliant. As pages are redeveloped they are put into the accessible format.

Mn/DOT has developed web rules which are made available to all employees involved in web design.  These web rules include reminders about some areas of the ADA with key things imbedded into each section.  For example the section about graphics discusses alt tags.  Anytime an employee is granted access to build and edit Mn/DOT web pages, the Mn/DOT Communication office reviews ADA communication regulations with them.  In addition to the web rules Mn/DOT has created an online resource for web developers found at http://ihub/communication/adaweb.html

To assist our customers with website navigation, Mn/DOT has created a web page of tips and resources as a part of the organization’s website.  This web page is located at: http://www.dot.state.mn.us/ada/tools.htm .  The link to the Mn/DOT ADA web pages is included in the footer on these pages.  If a document is needed in an alternative format, customers are able to contact the Mn/DOT web team to receive the format they require at: webteam@dot.state.mn.us

Mn/DOT is currently in the process of providing training for our word processing standard, Microsoft Office Suite.  The training includes direction regarding developing accessible word and PDF documents.

Public Involvement

All public meetings and hearings held by Mn/DOT are required to be accessible to all. Mn/DOT is able to make qualified interpreters available upon request and provide documents in accessible electronic format or other alternative formats such as large print or Braille.

### Public meetings, training, program or other event must be in an accessible location and indicated on the meeting notice. The Department of Justice Guide to Conducting Accessible Meetings is available to assist staff planning public meetings.

### Self Evaluation

Mn/DOT, as required by Title II of ADA, must conduct a self-evaluation of physical assets and current policies and practices.  The agency has identified seven areas that will need to have and maintain inventories.  As inventories are completed they will be included as appendices to the transition plan.

Fixed Work Sites

Mn/DOT operates numerous buildings throughout the state. Mn/DOT has identified 46 buildings that are routinely accessed by the public. The 46 buildings are currently compliant, however in the coming year Mn/DOT will evaluate these buildings for potential accessibility opportunities. The building have been divided into two categories; Priority one and priority two. Priority one buildings are those building that have employee use and a high potential for public use. Priority two building is those buildings that have employee use and moderate potential for public use.

A list of the identified buildings can be found in Appendix B.

Rest Areas

Rest areas are a unique transportation facility and several accessibility guidelines, codes and regulations apply to them.  ADA Accessibility Guidelines (ADAAG) applicable to rest area type facilities include guidelines for:

- Buildings and Facilities (1991, as amended through 2002)

- Play Areas (published in the Federal Register October 18, 2000 and amended November 20, 2000).

- Recreation Facilities (published in the Federal Register on September 3, 2002).

- Outdoor Developed Areas (draft of final guidelines released on October 19. 2009 but are not yet codified).

Minnesota State Building Code, Chapter 1341 also includes specific requirements related to accessibility.  Some State accessibility requirements in Chapter 1341 are more restrictive than ADAAG.

In addition to ADAAG, the Code of Federal Regulations (CFR) includes regulations related to accessibility that apply to Interstate rest areas and historic rest areas and waysides:

- Interstate Rest Areas.  49 CFR 27.75 requires States to make Interstate rest area facilities accessible whenever the State uses federal financial assistance to improve the rest area or whenever the State uses federal financial assistance to construct, reconstruct or otherwise alter the roadway adjacent to or in the near vicinity of the rest area.

- Historic Rest Areas & Waysides.  Several State rest areas and waysides are historic properties listed in or eligible for listing in the National Register of Historic Places or are designated as historic under an appropriate State or local law.  28 CFR 35.151(d) requires alterations comply, to the maximum extent feasible, with Section 4.1.7 of ADAAG.

In 1990, the Minnesota Department of Administration (DOA) contracted with architectural consultants to survey all state owned and managed buildings and facilities.  The survey included Mn/DOT rest areas and waysides.  Unfortunately, DOA completed the survey before the federal government finalized ADAAG in 1991.  Mn/DOT staff resurveyed all Class I rest areas by 1994 using ADAAG and recorded actual conditions and identified corrective measures required to comply.  (See Appendix B)

In March 1994 DOA approved a priority listing of Mn/DOT facilities. Additionally, during FY 1993-04 DOA distributed $1,700,000 in State funds to Mn/DOT for ADA improvements to buildings and facilities.  Since Travel Information Centers, Class I and II rest areas in the southern portion of the state receive the highest public use, Mn/DOT considered these facilities the highest priority for rest area accessibility improvements. The department took action to correct then current deficiencies at the highest priority facilities except those actions deemed technically infeasible or where Mn/DOT had identified and scheduled the facility for comprehensive replacement in the near future.

Since 1991, Mn/DOT designed and built all new rest area facilities, including, building, site features and parking areas, in compliance with then current ADAAG and Minnesota State Building Codes.  Also, since that time the department completed rest area rehabilitation and reinvestment projects that included corrective action to bring facilities into compliance with then current ADAAG and Minnesota State Building Code requirements. The department has not corrected deficiencies at all lower priority facilities.

In 2007, Mn/DOT retained a consultant to conduct a comprehensive assessment of the physical condition of (49) Class I rest areas (Appendix C?). The consultant found accessibility deficiencies at (46) of the rest areas evaluated. Mn/DOT estimates it would cost $1.9M-2.5M to correct the accessibility deficiencies found at Class I rest areas.

Accessible Pedestrian Signals (APS)

In 2008 Mn/DOT completed a statewide inventory (Appendix D) of all signalized intersections managed by Mn/DOT.  As part of the inventory Mn/DOT each intersection received a rating to determine the priority for conversion to an APS signal.  The ranking of the intersections was done utilizing the methodology laid out in the National Cooperative Highway Research Project 3-62 APS Prioritization Tool.  In general the signalized intersections with higher scores are the intersections with the greatest need for conversion to APS, but the rankings are always considered with in context so that the greatest needs are served first.  Factors outside the ranking that affect the an intersections priority for APS include the number of pedestrians at the intersection, surrounding such as needs nursing homes, hospitals, public services, transit lines and requests for APS.  All new construction and reconstruction projects include APS per direction from PROWAG.

Curb ramp and sidewalks

A key element of the agency’s transition plan is the self evaluation of pedestrian facilities with its public right of way.  To date Mn/DOT has not completed a self evaluation on these facilities.  When ADA was passed Mn/DOT conducted a retrofit program, spanning from 1992 to 1995, to provide curb ramps in our public rights of way, however there is no documented inventory of the curb ramps that were upgraded or subsequently built.   Curb ramps are already being constructed or upgraded to PROWAG standards in conjunction with roadway alteration projects, reconstruction projects, and new construction projects.

With the development of this transition plan the Minnesota Department of Transportation recognizes the need to inventory all the curb ramps and sidewalk condition within Mn/DOT’s public right-of-way and has developed a process to be deployed in 2010 to collect information on pedestrian facilities within Mn/DOT’s right of way.  The method was developed and piloted in Mn/DOT’s District 1 based in Duluth.  The district undertook the task of inventorying all the intersections on the state highway system within their district in the summer of 2009.  An inventory form was developed by to record data for each intersection on the state highway system.  The data form included elements concerning curb ramps, sidewalks, crosswalks, curb and gutter, signs, and signals.  The data form was loaded onto a handheld GPS so data could be collected in the field and locations could be displayed on aerial photos.  A summer intern was trained on how to collect the data with the aid of a laser level.

Training will be held in the other districts in spring 2010 so that collection can be completed by the end of 2010.   As the inventory becomes available it will be incorporated as an appendix to this plan.

The inventory template can be found in Appendix E.

Transit

As the administrating agency for Federal Transit Administration grant programs Mn/DOT is required to ensure that grant recipients comply with the Americans with Disabilities Act.  Specific transit-related aspects of the ADA fall into two distinct categories: (1) ensuring that transit services and facilities are designed to allow access by individuals with disabilities and (2) ensuring that transit vehicles purchased with federal funds meet the accessibility standards of the ADA

With respect to the first function, the Office of Transit has developed tools for Mn/DOT staff to monitor ADA compliance as part of grant oversight. This includes checking to be sure the telephone reservation system is accessible to all; that schedulers capture necessary passenger information to ensure that the person’s trip needs can be fully accommodated; that ADA trip requests in Duluth, East Grand Forks, La Crescent, Mankato, Moorhead, Rochester, and St. Cloud are not denied at a higher rate than other trip requests; that system advertising and information is produced in a variety of formats; that transit facilities are laid out with appropriate clearances and accessibility; etc.

Some older bus garages and administrative facilities are not fully ADA accessible, but the noncompliant elements do not provide a barrier to the services provided to the general public.  As facilities are replaced or receive major remodeling they will be required to be constructed to current ADA standards and Minnesota Building code.  Reasonable accommodations will be provided at all locations as needs are identified.

With respect to vehicle purchases, the Office of Transit maintains a full array of vehicle specifications – all of which meet the accessibility standards of the ADA.  All transit vehicles acquired with grants through Mn/DOT are fully ADA-compliant.  Because this policy has been in place for many years, the current fleet acquired through Mn/DOT is ADA-accessible.

Mn/DOT’s inventory of right of way features will include an assessment of accessibility of transit stops on Mn/DOT right of way.  To be accessible bus stop boarding and alighting areas must provide a clear length of 8 feet minimum, measured perpendicular to the curb or street or highway edge, and a clear width of 5 feet minimum, measured parallel to the street or highway. Bus stop boarding and alighting areas must connect to streets, sidewalks, or pedestrian paths by a pedestrian access route.  The grade of the bus stop boarding and alighting area must be the same as the street or highway, to the maximum extent practicable and the cross slope of the bus stop boarding and alighting area must not be greater than 2 percent.

Pedestrian Bridge and Underpass Inventory

Mn/DOT owns 170 pedestrian bridges and underpasses throughout the state.  Any pedestrian bridge or underpass crossing an interstate or state highway is the responsibility of Mn/DOT, unless an agreement has been made with a local government agency.  The location of all pedestrian bridges and underpasses within Mn/DOT’s right-of-way has been documented by the department.  (Appendix F)  The next step will be to assess the accessibility for each facility.  The Office of Bridge will be responsible for determining the accessibility of the pedestrian bridges in their jurisdiction by the end of 2010. Once the accessibility portion of the Pedestrian Bridges is complete Appendix F will be updated.

To be accessible, pedestrian bridges and underpasses must have a ramp leading up to the overpass, the ramp must meet the PROWAG standards for ramps, railings must meet the requirements found in the Mn/DOT Bikeway Facility Design Manual, the bridges must have a cross slope of no more than 2 % and the running slope of no more than 5%.  Those that do not meet accessibility requirements according to PROWAG will be replaced as necessary.  Bridges and underpasses that are compliant with the standards that were in place when they were built will need further discussion to determine the feasibility of compliance with PROWAG and the future of the structure in general.

Policies

In 2009 Mn/DOT funded a study of its policies and procedures to identify areas where Mn/DOT may need to modify its various policies and procedures to ensure full compliance with ADA Title II and Section 504. The study involved a review of the policies and procedures that Mn/DOT uses to deliver services to the public and a review of the processes used by Mn/DOT to provide the facilities, services, and programs to the public. Based on this study, Mn/DOT will be developing a systematic approach to ensure long-term compliance with ADA Title II and Section 504 for all polices and procedures.  A listing of policies and procedures that Mn/DOT will be reviewing and updating can be found in Appendix G.

### Maintenance

Mn/DOT is responsible for the seasonal and structural maintenance of its facilities.  As part of the policy review identified in the Transition Plan Mn/DOT is examining its current policies and procedures to improve maintenance for pedestrian facilities.  The estimated time frame for the policy is a year and a half.

### Correction Program

The Minnesota Department of Transportation is committed to addressing the issues identified in the self evaluation.  The priority to address barriers is determined by criteria of each self evaluation with funding to be identified by each individual program.  All new construction, reconstruction, and alteration projects in Mn/DOT’s right of way are required provide for accessibility needs in the project’s scope per ADA requirements.  The funding and schedule of roadway improvements is laid out in Mn/DOT’s Statewide Transportation Improvement Plan (STIP).

### Training

As part the adoption of Public Rights of Way Accessibility Guidance and the Transition Plan Mn/DOT will be conducting department wide training on both design and policy.  Training on ADA and Title II will be offered to both Mn/DOT staff and external partners at both an introductory and advanced levels.  The training will be topically based on policy, mobility experience, and design.  As appropriate Mn/DOT will work with educational institutions and advocacy groups to identify needs and develop curriculum.

The training will be integrated into and build on training currently being provided by the Office of Technical Support and the Bicycle and Pedestrian Section on design and the Office of Affirmative Action on policy.

# Appendix A

# How to file a Grievance

The procedure to file a grievance is as follows:

1. A formal written grievance should be filed on the ADA Grievance Form. An oral grievance can be filed by contacting the ADA Title II Coordinator.  The oral grievance will be reduced to writing by the ADA Coordinator utilizing the ADA Grievance Form.  Additionally, individuals filing a grievance are not required to file a grievance Mn/DOT, but may instead exercise their right to file a grievance with the Department of Justice.

- The name, address, and telephone number of the person filing the grievance.

- The name, address, and telephone number of the person alleging the ADA violation, if other than the person filing the grievance.

- A description and location of the alleged violation and the remedy sought.

- Information regarding whether a complaint has been filed with the Department of Justice or other federal or state civil rights agency or court.

- If a complaint has been filed, the name of the agency or court where the complaint was filed, and the date the complaint was filed.

2. The grievance will be either responded to or acknowledged within 10 working days of receipt. If the grievance filed does not concern a Mn/DOT facility, it will be forwarded to the appropriate agency and the grievant will be notified.

3. Within 60 calendar days of receipt, the ADA Title II Coordinator will conduct the investigation necessary to determine the validity of the alleged violation. If appropriate, the ADA Title II Coordinator will arrange to meet with the grievant to discuss the matter and attempt to reach a resolution of the grievance. Any resolution of the grievance will be documented in Mn/DOT’s ADA Grievance File.

4. If a resolution of the grievance is not reached, a written determination as to the validity of the complaint and description of the resolution, if appropriate, shall be issued by the ADA Title II Coordinator and a copy forwarded to the grievant no later than 90 days from the date of Mn/DOT’s receipt of the grievance.

5. The grievant may appeal the written determination. The request for reconsideration shall be in writing and filed with the Minnesota Department of Transportation Ombudsman within 30 days after the ADA Title II Coordinator’s determination has been mailed to the grievant. Mn/DOT’s Ombudsman shall review the request for reconsideration and make a final determination within 90 days from the filing of the request for reconsideration.

6. If the grievant is dissatisfied with Mn/DOT’s handling of the grievance at any stage of the process or does not wish to file a grievance through the Mn/DOT’s ADA Grievance Procedure, the grievant may file a complaint directly with the United States Department of Justice or other appropriate state or federal agency.

The resolution of any specific grievance will require consideration of varying circumstances, such as the specific nature of the disability; the nature of the access to services, programs, or facilities at issue and the essential eligibility requirements for participation; the health and safety of others; and the degree to which an accommodation would constitute a fundamental alteration to the program, service, or facility, or cause an undue hardship to Mn/DOT. Accordingly, the resolution by Mn/DOT of any one grievance does not constitute a precedent upon which Mn/DOT is bound or upon which other complaining parties may rely.

File Maintenance
Mn/DOT’s ADA Coordinator shall maintain ADA grievance files for a period of three years.

# Appendix B

# Mn/DOT Work Sites

### Priority One Sites

| Location | Building Type/Service |
| --- | --- |
| DULUTH | HEADQUARTERS |
| VIRGINIA | HEADQUARTERS |
| BEMIDJI | HEADQUARTERS |
| CROOKSTON | HEADQUARTERS |
| ERSKINE:SCALE | SCALE: WEIGH |
| THIEF RIVER FALLS(1) | TRUCK STATION |
| BRAINERD/BAXTER | HEADQUARTERS |
| ST CLOUD | HEADQUARTERS |
| DETROIT LAKES | HEADQUARTERS |
| MOORHEAD: SCALE | SCALE: WEIGH |
| RED RIVER: SCALE | SCALE: WEIGH |
| MORRIS | HEADQUARTERS |
| ROCHESTER | HEADQUARTERS |
| OWATONNA | HEADQUARTERS |
| MANKATO:EXISTING | HEADQUARTERS |
| MANKATO | ANNEX |
| WINDOM | HEADQUARTERS |
| WORTHINGTON: SCALE | SCALE: WEIGH |
| WILLMAR | HEADQUARTERS |
| MARSHALL | HEADQUARTERS |
| LITCHFIELD: Joint Use | TRUCK STATION |
| HUTCHINSON: Joint use | TRUCK STATION |
| WATERSEDGE | HEADQUARTERS |
| ROSEVILLE | RTMC BUILDING |
| GOLDEN VALLEY | HEADQUARTERS |
| OAKDALE | HEADQUARTERS |
| GOLDEN VALLEY | PATROL BUILDING |
| DAYTONPORT: SCALE | SCALE BUILDING |
| ST CROIX: I94 SCALE | SCALE BUILDING |
| ST PAUL:LEASED DOA | TRANSP BLDG |
| ST PAUL: 222 PLATO | AERONAUTICS |
| PLYMOUTH | DRIVERS LICENSE |
| EAGAN | DRIVERS LICENSE |
| ARDEN HILLS | DRIVERS LICENSE |
| MAPLEWOOD | MATLS & RES LAB |
| ARDEN HILLS | TRAINING CENTER |
| ALBERTVILLE | MNROAD BLDG |

### Priority Two

| Location | Building Type/Service |
| --- | --- |
| THOMPSON HILL TIC/RA | PATROL STAT OFF |
| GRAND RAPIDS | TRUCK STATION |
| FERGUS FALLS | TRUCK STATION |
| MOORHEAD: Joint-use fac (2) | TRUCK STATION |
| WINONA | TRUCK STATION |
| ALBERT LEA | TRUCK STATION |
| MENDOTA HEIGHTS | TRUCK STATION |
| EDEN PRAIRIE | TRUCK STATION |
| FORT SNELLING | CENTRAL SERVICES |

# Appendix C

# Rest Area Facility Condition Assessment

| Facility Location | Cost | System | Correction | Distress | Qty | Unit |
| --- | --- | --- | --- | --- | --- | --- |
| Adrian EB |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| East Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| West Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $4,199 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum door, incl. vision | Damaged | 2 | Ea |
| \Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Damaged | 1 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $1,017 | Fittings | Install grab bars in accessible stall. | Missing | 6 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Inadequate | 2 | Ea |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $824 | Plumbing Fixtures | Provide protective insulation for exposed piping. | Missing | 6 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Adrian EB Total | $64,673 |  |  |  |  |  |
| Adrian WB |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $4,057 | Slab on Grade | Remove and replace concrete sidewalk, 4" wide | Damaged | 100 | L.F. |
| Main Building | $4,199 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum door, incl. vision | Damaged | 2 | Ea |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Damaged | 1 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height | Inadequate | 2 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage | Inadequate | 4 | Ea |
| Main Building | $1,017 | Fittings | Install grab bars in accessible stall | Missing | 6 | L.F. |
| Main Building | $824 | Plumbing Fixtures | Provide protective insulation for exposed piping | Missing | 6 | Ea |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Adrian WB Total | $65,379 |  |  |  |  |  |
| Anchor Lake |  |  |  |  |  |  |
| Site Features | $5,721 | Site Development | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| Main Building | $1,435 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height | Missing | 2 | Ea |
| Main Building | $2,280 | Fittings | Provide protective insulation for exposed piping | Missing | 8 | Ea |
| Main Building | $4,270 | Fittings | Provide accessible service counter | Inadequate | 14 | L.F. |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $6,779 | Communications & Security | Replace fire alarm control panel | Inadequate | 1 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Anchor Lake Total | $75,341 |  |  |  |  |  |
| Baptism River |  |  |  |  |  |  |
| Main Building | $406 | Fittings | Replace accessible restroom signage | Inadequate | 2 | Ea |
| Main Building | $2,880 | Fittings | Provide protective insulation for exposed piping | Missing | 8 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $6,779 | Communications & Security | Replace fire alarm control panel | Inadequate | 1 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Baptism River Total | $63,572 |  |  |  |  |  |
| Beaver Creek |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $2,291 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| East Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Picnic Shelter East | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Picnic Shelter West | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| West Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $5,231 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum storefront doors | Beyond Useful Life | 2 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Main Building | $1,623 | Site Earthwork | Remove and replace concrete sidewalk, 4' wide | Damaged | 40 | L.F. |
| Main Building | $24,345 | Site Earthwork | Remove and replace concrete sidewalk, 4' wide | Damaged | 600 | L.F. |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Beaver Creek Total | $80,641 |  |  |  |  |  |
| Big Spunk |  |  |  |  |  |  |
| Site Features | $3,136 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 2 | Ea |
| Site Features | $31,527 | Pedestrian Paving | Construct & provide ADA conc. ramp and steps | Missing | 40 | L.F. |
| Site Features | $138 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 1 | Ea |
| Main Building | $1,425 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Auto Parking | $607 | Parking Lots | Realign and Re-stripe Parking Space for ADA Access | Inadequate | 100 | L.F. |
| Big Spunk Total | $93,944 |  |  |  |  |  |
| Blue Earth EB |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $138 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 1 | Ea |
| East Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| West Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Blue Earth EB Total | $11,561 |  |  |  |  |  |
| Blue Earth WB |  |  |  |  |  |  |
| North Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| South Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $1,171 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Blue Earth WB Total | $8,087 |  |  |  |  |  |
| Burgen Lake |  |  |  |  |  |  |
| East Picnic Shelter | $1,623 | Slab on Grade | Remove and replace concrete sidewalk 4' wide | Damaged | 40 | L.F. |
| West Picnic Shelter | $1,623 | Slab on Grade | Remove and replace concrete sidewalk 4' wide | Damaged | 40 | L.F. |
| Main Building | $5,231 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum storefront doors | Beyond Useful Life | 2 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Burgen Lake Total | $47,302 |  |  |  |  |  |
| Cass Lake |  |  |  |  |  |  |
| Site Features | $3,136 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 2 | Ea |
| Main Building | $1,190 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Cass Lake Total | $4,326 |  |  |  |  |  |
| Central Minnesota TIC |  |  |  |  |  |  |
| Site Features | $1,623 | Slab on Grade | Remove and replace concrete sidewalk 4' wide | Damaged | 40 | L.F. |
| Site Features | $2,291 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| Main Building | $1,566 | Fittings | Replace directional signage | Inadequate | 25 | Ea |
| Main Building | $2,880 | Fittings | Provide protective insulation for exposed piping | Missing | 8 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $4,270 | Fixed Furnishings | Provide accessible service counter | Inadequate | 14 | L.F. |
| Central Minnesota TIC Total | $14,432 |  |  |  |  |  |
| Clear Lake |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $2,291 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| West Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $886 | Plumbing Fixtures | Provide protective insulation for exposed piping | Inadequate | 8 | Ea |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Clear Lake Total | $68,935 |  |  |  |  |  |
| Dayton Port |  |  |  |  |  |  |
| Main Building Lobby | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building Men’s Room | $8,497 | Toilet Partitions | Replace toilet partitions | Damaged | 3 | Ea |
| Main Building Women’s Room | $16,994 | Toilet Partitions | Replace toilet partitions | Damaged | 6 | Ea |
| Dayton Port Total | $27,293 |  |  |  |  |  |
| Des Moines River |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $2,291 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| North Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| NW Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| South Picnic Shelter | $3,351 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| Main Building | $4,199 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum door, incl. vision | Beyond Useful Life | 2 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $2,880 | Plumbing Fixtures | Provide protective insulation for exposed piping | Inadequate | 8 | Ea |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Des Moines River Total | $56,306 |  |  |  |  |  |
| Dresbach TIC |  |  |  |  |  |  |
| Site Features | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| Main Building | $1,624 | Fittings | Toilet partitions laminate clad-overhead braced | Inadequate | 1 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $13,004 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 5 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Auto Parking | $641 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 3 | Ea |
| Auto Parking | $3,655 | Parking Lots | Realign and Re-stripe Parking Space for ADA Access | Inadequate | 910 | L.F. |
| Dresbach TIC Total | $56,366 |  |  |  |  |  |
| Elm Creek |  |  |  |  |  |  |
| Site Features | $10,486 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 5 | Ea |
| Patio Terrace | $6,524 | Brick and Tile Plazas | Remove and replace asphalt sidewalk, 4' wide | Damaged | 10 | L.F. |
| Patio Terrace | $2,724 | Brick and Tile Plazas | Replace expansion joints in concrete pavement | Damaged | 50 | L.F. |
| Main Building | $34,880 | Slab on Grade | Mud jack floor slab. | Failing | 500 | S.F. |
| Main Building | $2,673 | Exterior Doors | Repair aluminum frame and door | Inadequate | 2 | Ea |
| Elm Creek Total | $57,287 |  |  |  |  |  |
| Enfield |  |  |  |  |  |  |
| Site Features | $12,584 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 6 | Ea |
| Site Features | $138 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 1 | Ea |
| Main Building | $15,279 | Exterior Doors | Automatic door opener on existing door | Missing | 2 | Ea |
| Main Building | $1,498 | Fittings | Install mirror at accessible height. | Inadequate | 4 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Enfield Total | $31,301 |  |  |  |  |  |
| Enterprise |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $2,291 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Enterprise Total | $36,038 |  |  |  |  |  |
| Fishers Landing |  |  |  |  |  |  |
| Site Features | $1,568 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 1 | Ea |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Missing | 1 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $1,186 | Fittings | Install grab bars in accessible stall. | Missing | 7 | L.F. |
| Main Building | $406 | Fittings | Replace accessible restroom signage. | Inadequate | 2 | Ea |
| Main Building | $24,395 | Floor Finishes | Replace quarry tile floor | Damaged | 800 | S.F. |
| Main Building | $720 | Plumbing Fixtures | Provide protective insulation for exposed piping | Inadequate | 2 | Ea |
| Main Building | $4,270 | Fixed Furnishings | Provide accessible service counter | Inadequate | 14 | L.F. |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Fishers Landing Total | $92,638 |  |  |  |  |  |
| Forest Lake |  |  |  |  |  |  |
| Site Features | $5,704 | Site Development | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Main Building | $15,379 | Exterior Doors | Automatic door opener on existing door | Missing | 2 | Ea |
| Main Building | $3,105 | Identifying/ Visual Aid Specialties | Renew System | Beyond Useful Life | 1 | Ea |
| Main Building Lobby | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Forest Lake Total | $25,890 |  |  |  |  |  |
| Frazee |  |  |  |  |  |  |
| Main Building | $1,650 | Exterior Doors | Repair aluminum storefront door | Damaged | 3 | Ea |
| Frazee Total | $1,650 |  |  |  |  |  |
| Fuller Lake |  |  |  |  |  |  |
| Site Features | $138 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 1 | Ea |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Missing | 1 | Ea |
| Main Building | $15,709 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum door, incl. vision | Beyond Useful Life | 2 | Ea |
| Main Building | $899 | Fittings | Install mirror at accessible height | Missing | 2 | Ea |
| Main Building | $406 | Fittings | Replace accessible restroom signage | Inadequate | 2 | Ea |
| Main Building | $2,439 | Floor Finishes | Replace quarry tile floor | Damaged | 80 | S.F. |
| Main Building | $720 | Plumbing Fixtures | Provide protective insulation for exposed piping | Missing | 2 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Fuller Lake Total | $58,778 |  |  |  |  |  |
| General Andrews |  |  |  |  |  |  |
| Site Features | $6,292 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 3 | Ea |
| Site Features | $275 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 2 | Ea |
| Auto Parking | $2,413 | Parking Lots | Re-Align & Re-stripe Parking Space for ADA Access | Inadequate | 800 | L.F. |
| Auto Parking | $2,204 | Parking Lots | Replace Metal Reserved Parking Sign and Post | Missing | 3 | Ea |
| General Andrews Total | $11,184 |  |  |  |  |  |
| Goose Creek |  |  |  |  |  |  |
| Site Features | $4,704 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 3 | Ea |
| Site Features | $6,086 | Pedestrian Paving | Remove and replace concrete sidewalk, 4' wide | Inadequate | 150 | L.F. |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Inadequate | 1 | Ea |
| Main Building | $2,155 | Identifying/ Visual Aid Specialties | Renew System | Beyond Useful Life | 1 | Ea |
| Main Building Lobby | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Auto Parking | $1,060 | Parking Lots | Realign & Re-stripe Parking Space for ADA Access | Inadequate | 264 | L.F. |
| Goose Creek Total | $23,660 |  |  |  |  |  |
| Gooseberry Falls |  |  |  |  |  |  |
| Site Features | $3,217 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 1 | Ea |
| Main Building | $730 | Slab on Grade | Remove and replace concrete sidewalk, 4' wide | Damaged | 12 | L.F. |
| Auto Parking | $3,956 | Parking Lots | Re-Align & Re-stripe Parking Space for ADA Access | Inadequate | 1120 | L.F. |
| Gooseberry Falls Total | $7,906 |  |  |  |  |  |
| Hansel Lake |  |  |  |  |  |  |
| Site Features | $2,164 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Inadequate | 200 | S.F. |
| Main Building | $5,231 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum storefront doors | Damaged | 2 | Ea |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Missing | 1 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building. | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Hansel Lake Total | $55,892 |  |  |  |  |  |
| Hayward |  |  |  |  |  |  |
| Site Features | $413 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 3 | Ea |
| East Picnic Shelter | $507 | Site Earthwork | Remove & Replace Concrete Sidewalk, 4' wide | Damaged | 10 | L.F. |
| West Picnic Shelter | $507 | Site Earthwork | Remove & Replace Concrete Sidewalk, 4' wide | Damaged | 10 | L.F. |
| Main Building | $5,665 | Fittings | Replace toilet partitions | Inadequate | 2 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Hayward Total | $59,011 |  |  |  |  |  |
| Heath Creek |  |  |  |  |  |  |
| North Picnic Shelter | $10,052 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 15 | C.S.F. |
| Main Building | $609 | Fittings | Replace accessible restroom signage. | Inadequate | 3 | Ea |
| Heath Creek Total | $10,661 |  |  |  |  |  |
| High Forest |  |  |  |  |  |  |
| Site Features | $2,705 | Pedestrian Paving | Replace Concrete Sidewalk 4" Thick (SF) | Missing | 250 | S.F. |
| Site Features | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| High Forest Total | $38,114 |  |  |  |  |  |
| Kettle River |  |  |  |  |  |  |
| Site Features | $8,389 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 4 | Ea |
| Auto Parking | $2,204 | Parking Lots | Replace Metal Reserved Parking Sign and Post | Missing | 3 | Ea |
| Auto Parking | $2,413 | Parking Lots | Realign & Re-stripe Parking Space for ADA Access | Missing | 800 | L.F. |
| Kettle River Total | $13,006 |  |  |  |  |  |
| Lake Iverson |  |  |  |  |  |  |
| Site Features | $6,872 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 3 | Ea |
| Main Building | $5,231 | Exterior Doors | Replace 3'-0" x 7'-0" aluminum storefront doors | Damaged | 2 | Ea |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Missing | 1 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $25,492 | Fittings | Replace toilet partitions | Damaged | 9 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage | Inadequate | 4 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Lake Iverson Total | $84,059 |  |  |  |  |  |
| Lake Latoka |  |  |  |  |  |  |
| Picnic Shelter East | $2,029 | Site Earthwork | Remove and replace concrete sidewalk, 4' wide | Damaged | 50 | L.F. |
| Picnic Shelter West | $2,029 | Site Earthwork | Remove and replace concrete sidewalk, 4' wide | Damaged | 50 | L.F. |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Lake Latoka Total | $5,860 |  |  |  |  |  |
| Lake Pepin |  |  |  |  |  |  |
| Site Features | $6,086 | Pedestrian Paving | Remove and replace concrete sidewalk, 4' wide | Inadequate | 150 | L.F. |
| North Picnic Shelter | $1,420 | Slab on Grade | Remove and replace concrete sidewalk, 4' wide | Inadequate | 35 | L.F. |
| South Picnic Shelter | $923 | Slab on Grade | Remove and replace concrete sidewalk, 4' wide | Inadequate | 35 | L.F. |
| Auto Parking | $1,060 | Parking Lots | Realign and Re-stripe Parking Space for ADA Access | Missing | 264 | L.F. |
| Lake Pepin Total | $9,489 |  |  |  |  |  |
| Middle Spunk |  |  |  |  |  |  |
| Main Building | $1,435 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall. | Missing | 12 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Site Features | $4,704 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 3 | Ea |
| Site Features | $2,434 | Pedestrian Paving | Remove and replace concrete sidewalk, 4' wide | Inadequate | 60 | L.F. |
| Auto Parking | $607 | Parking Lots | Realign and Re-stripe Parking Space for ADA Access | Inadequate | 100 | L.F. |
| Middle Spunk Total | $66,281 |  |  |  |  |  |
| MN Valley |  |  |  |  |  |  |
| Main Building | $15,279 | Interior Doors | Automatic door opener on existing door | Inadequate | 2 | Ea |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $1,017 | Fittings | Install grab bars in accessible stall. | Missing | 6 | L.F |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $2,880 | Plumbing Fixtures | Provide protective insulation for exposed piping. | Missing | 8 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Site Features | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| MN Valley Total | $58,162 |  |  |  |  |  |
| Moorhead |  |  |  |  |  |  |
| Site Features | $1,845 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 1 | Ea |
| Moorhead Total | $1,845 |  |  |  |  |  |
| New Market |  |  |  |  |  |  |
| Main Building | $609 | Fittings | Replace accessible restroom signage. | Inadequate | 3 | Ea |
| Site Features | $3,275 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 3 | Ea |
| Site Features | $138 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 1 | Ea |
| West Picnic Shelter | $10,052 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 15 | C.S.F. |
| New Market Total | $14,074 |  |  |  |  |  |
| Oak Lake |  |  |  |  |  |  |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Missing | 1 | Ea |
| Main Building | $406 | Fittings | Replace accessible restroom signage | Inadequate | 2 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $1,186 | Fittings | Install grab bars in accessible stall. | Missing | 7 | L.F |
| Main Building | $2,439 | Floor Finishes | Replace quarry tile floor | Damaged | 80 | S.F. |
| Main Building | $720 | Plumbing Fixtures | Provide protective insulation for exposed piping | Missing | 2 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Site Features | $3,136 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 2 | Ea |
| East Picnic Shelter | $811 | Slab on Grade | Remove and replace concrete sidewalk, 4' wide | Damaged | 10 | L.F. |
| Oak Lake Total | $47,914 |  |  |  |  |  |
| Oakland Woods |  |  |  |  |  |  |
| Main Building | $863 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Site Features | $4,367 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 4 | Ea |
| Oakland Woods Total | $58,737 |  |  |  |  |  |
| Rum River |  |  |  |  |  |  |
| Main Building | $2,339 | Identifying/ Visual Aid Specialties | Renew System | Beyond Useful Life | 1 | Ea |
| Main Building | $1,042 | Cabinets & Counters | Renew System | Beyond Useful Life | 1 | Ea |
| Main Building | $1,435 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Main Building | $7,639 | Exterior Doors | Automatic door opener on existing door | Inadequate | 1 | Ea |
| Main Building Men’s Room | $5,665 | Toilet Partitions | Replace toilet partitions | Damaged | 2 | Ea |
| Main Building Women’s Room | $11,330 | Toilet Partitions | Replace toilet partitions | Damaged | 4 | Ea |
| Main Building Women’s Room | $6,479 | Plumbing Fixtures | Replace lavatory vitreous china | Inadequate | 8 | Ea |
| Site Features | $6,292 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 3 | Ea |
| Site Features | $4,057 | Pedestrian Paving | Remove and replace concrete sidewalk, 4' wide | Missing | 100 | L.F. |
| Rum River Total | $46,278 |  |  |  |  |  |
| St. Croix TIC |  |  |  |  |  |  |
| Main Building | $1,435 | Exterior Doors | Repair aluminum door | Damaged | 2 | Ea |
| Site Features | $10,486 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Inadequate | 3 | Ea |
| St. Croix TIC Total | $11,921 |  |  |  |  |  |
| Straight River NB |  |  |  |  |  |  |
| Main Building | $406 | Fittings | Replace accessible restroom signage | Inadequate | 2 | Ea |
| Main Building | $6,779 | Communications & Security | Replace fire alarm control panel | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Main Building | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| East Picnic Shelter | $6,006 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 10 | C.S.F |
| West Picnic Shelter | $8,828 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 10 | C.S.F |
| West Picnic Shelter | $3,483 | Slab on Grade | Remove and replace concrete sidewalk, 4' wide | Damaged | 10 | L.F |
| Straight River NB Total | $60,911 |  |  |  |  |  |
| Straight River SB |  |  |  |  |  |  |
| Main Building | $406 | Fittings | Replace accessible restroom signage | Inadequate | 2 | Ea |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Site Features | $138 | Water Supply | Replace Exterior faucet handle with ADA lever type | Inadequate | 1 | Ea |
| East Picnic Shelter | $3,003 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 5 | C.S.F |
| West Picnic Shelter | $6,006 | Slab on Grade | Replace unfinished concrete floor unfinished | Damaged | 10 | C.S.F |
| Straight River SB Total | $12,154 |  |  |  |  |  |
| Thompson Hill |  |  |  |  |  |  |
| Main Building | $13,556 | Fittings | Install grab bars in accessible stall | Missing | 80 | L.F. |
| Main Building | $2,601 | Plumbing Fixtures | Replace drinking fountain | Inadequate | 1 | Ea |
| Main Building | $1,802 | Communications & Security | Replace public telephone | Inadequate | 1 | Ea |
| Main Building | $30,828 | Special Purpose Room | Remove one fixture and create accessible stall. | Inadequate | 2 | Ea |
| Site Features | $2,097 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Missing | 1 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Thompson Hill Total | $51,098 |  |  |  |  |  |
| Watonwan |  |  |  |  |  |  |
| Main Building | $812 | Fittings | Replace accessible restroom signage. | Inadequate | 4 | Ea |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Site Features | $1,092 | Pedestrian Paving | Replace Concrete Curb Cut with ADA Curb Cut | Missing | 1 | Ea |
| Site Features | $3,289 | Water Supply | Install Domestic Water Faucet Piping and Drain | Missing | 1 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Watonwan Total | $57,861 |  |  |  |  |  |
| Worthington TIC |  |  |  |  |  |  |
| Main Building | $431 | Exterior Doors | Repair aluminum door | Damaged | 1 | Ea |
| Main Building | $2,033 | Fittings | Install grab bars in accessible stall | Missing | 12 | L.F. |
| Main Building | $749 | Fittings | Install mirror at accessible height. | Missing | 2 | Ea |
| Main Building | $3,660 | Fittings | Provide accessible service counter | Inadequate | 12 | L.F. |
| Main Building | $812 | Fittings | Replace accessible restroom signage | Inadequate | 4 | Ea |
| Main Building | $25,492 | Fittings | Replace toilet partitions | Damaged | 9 | Ea |
| Main Building | $1,073 | Plumbing Fixtures | Provide protective insulation for exposed piping | Missing | 8 | Ea |
| Main Building | $3,604 | Communications & Security | Replace public telephone | Inadequate | 2 | Ea |
| Main Building | $51,705 | Special Purpose Room | Construct Single-User Toilet Room | Missing | 1 | Ea |
| Site Features | $4,581 | Water Supply | Replace Exterior Drinking Fountain; ADA Accessible | Inadequate | 2 | Ea |
| Auto Parking | $214 | Parking Lots | Install ADA "Van Accessible" Parking Sign | Inadequate | 1 | Ea |
| Worthington TIC Total | $94,354 |  |  |  |  |  |
| Grand Total | $1,942,175 |  |  |  |  |  |
| Note: The following Rest Areas have no ADA Deficiencies: Brainerd Lakes Welcome Center, Albert Lea TIC, and Marion Rest Area |  |  |  |  |  |  |

# Appendix D

# Statewide APS Prioritization Summary

### District 1

| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| --- | --- | --- | --- | --- |
| 73 | TH 73/LAKE ST & 3rd AVE NW | None | 4 | 47 |
| 33 | GILLETTE AVE (WAL-MART) | None | 0 | 0 |
| 33 | DODDRIDGE AVE | None | 4 | 114 |
| 33 | CARLTON AVE | None | 2 | 69 |
| 33 | CLOQUET AVE | None | 2 | 60 |
| 33 | NORTH RD & FREEMAN RD | None | 4 | 118 |
| 210 | BLACK BEAR CASINO | None | 2 | 69 |
| 2 | CSAH 62, W JCT (BN RR PRE-EMPT) | None | 3 | 80 |
| 2 | CSAH 62, E JCT (SPAN WIRE) | None | 0 | 0 |
| 2 | MIDWAY RD (CSAH 13) | None | 0 | 0 |
| 2 | BOUNDARY AVE | None | 4 | 106 |
| 53 | I-35 OFF RAMP (22nd AVE W) | None | 0 | 0 |
| 53 | HAINES RD | None | 2 | 69 |
| 53 | MALL DRIVE (WAL-MART) | None | 0 | 0 |
| 53 | ARROWHEAD RD | None | 3 | 108 |
| 53 | STEBNER RD | None | 0 | 0 |
| 53 | CIRRUS & SUGAR MAPLE DR | None | 0 | 0 |
| 53 | LAVAQUE RD | None | 0 | 0 |
| 53 | UGSTAD RD | None | 0 | 0 |
| 53 | CSAH 13 (MIDWAY RD) | None | 3 | 91 |
| 194 | CSAH 13 (MIDWAY RD) | None | 0 | 0 |
| 169 | CENTRAL AVE | None | 4 | 58 |
| 169 | 1st AVE E | None | 4 | 61 |
| 169 | 3rd AVE E | None | 4 | 61 |
| 53 | PARK/GRANT AVES | None | 3 | 73 |
| 61 | CSAH 10 (BROADWAY AVE) | None | 4 | 72 |
| 2 | CSAH 63 (BN RR PRE-EMPT) | None | 0 | 0 |
| 2 | TH 38 (3rd AVE) | None | 4 | 101 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 2 | 1st AVE NW | None | 4 | 86 |
| 2 | TH 169-W JCT (POKEGAMA AVE) | None | 4 | 94 |
| 2 | 1st AVE NE | None | 4 | 87 |
| 2 | TH 169 - E JCT (6th AVE NE) | None | 3 | 79 |
| 2 | 7th AVE NE (BN RR PRE-EMPT) | None | 4 | 95 |
| 38 | (I.e.- 3rd AVE) & 14th ST NW | None | 4 | 79 |
| 169 | 29th ST S | None | 2 | 62 |
| 169 | 25st ST S | None | 3 | 77 |
| 169 | 21st ST S (TARGET) | None | 4 | 104 |
| 169 | 13th ST SE | None | 4 | 82 |
| 169 | 10th ST SE (CSAH 23) | None | 4 | 107 |
| 169 | 1st ST SE (CSAH 3 - RIVER RD) | None | 4 | 78 |
| 169 | 2nd ST N | None | 4 | 95 |
| 169 | 3rd ST N | None | 4 | 77 |
| 169 | 8th AVE NE | None | 4 | 90 |
| 169 | 13th AVE NE | None | 4 | 79 |
| 169 | TH 73 (W JCT) WAL-MART | None | 3 | 89 |
| 169 | LOWES & IRON GATE MALL | None | 3 | 90 |
| 169 | 9th AVE W (NEWBURG RD) | None | 1 | 35 |
| 169 | TH 37 (40th ST) | None | 4 | 105 |
| 169 | 37th ST | None | 2 | 72 |
| 169 | 25th ST (CSAH 63) | None | 3 | 81 |
| 169 | 23rd ST | None | 3 | 80 |
| 169 | HOWARD ST (CSAH 73 - N JCT) | None | 3 | 90 |
| 23 | W RAMP TERMINALS I-35 | None | 3 | 66 |
| 48 | E RAMP TERMINALS I-35 | None | 3 | 84 |
| 48 | WEBER AVE | None | 2 | 46 |
| 48 | CR134/140 (MORRIS AVE) | None | 2 | 40 |
| 48 | LADY LUCK DR (GRAND CASIO ENT) | None | 0 | 0 |
| 11 | KEENAN DRIVE / VALLEY PINE CR | None | 3 | 87 |
| 11 | SHOREWOOD DRIVE | None | 1 | 38 |
| 11 | 11th ST | None | 3 | 62 |
| 11 | 6th AVE W | None | 4 | 89 |
| 11 | 3rd AVE W (& TH 71 - E JCT) | None | 4 | 86 |
| 53 | 17th ST | None | 4 | 74 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 53 | 11th ST | None | 4 | 75 |
| 53 | 7th ST | None | 4 | 69 |
| 53 | TH 11 (4th ST) | None | 4 | 69 |
| 73 | CSAH 61 | None | 0 | 0 |
| 73 | TH 27(E JCT) | None | 4 | 95 |
| 169 | CSAH 7 (ENTERPRISE DR) | None | 3 | 80 |
| 53 | CSAH 23 (CN-DWP RR PRE-EMPT) | None | 2 | 48 |
| 2 | 2nd ST (CSAH 11) | None | 4 | 91 |
| 61 | OUTER DRIVE | None | 3 | 66 |
| 61 | CSAH 11 CONN (SA ENT) | None | 3 | 76 |
| 61 | CSAH 26 (SUPER ONE) | None | 4 | 76 |
| 61 | 7th AVE | None | 4 | 51 |
| 61 | 6th AVE | None | 4 | 67 |
| 61 | 4th AVE (CSAH 2) | None | 4 | 62 |
| 53 | 12th AVE W | None | 4 | 106 |
| 53 | 13th ST S | None | 4 | 125 |
| 53 | TH 169 (WEST RAMP TERMINALS) | None | 1 | 31 |
| 53 | TH 169 (EAST RAMP TERMINALS) | None | 1 | 20 |
| 53 | CSAH 135 - N JCT & CSAH 102 | None | 2 | 56 |

### District 2

| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| --- | --- | --- | --- | --- |
| 2 | TH 92 | None | 4 | 84 |
| 71 | ANNE STREET | None | 2 | 50 |
| CSAH 15 | ANNE STREET | None | 4 | 89 |
| 2 | CSAH 11/MOBERG | None | 2 | 63 |
| 197 | TH 71 | None | 0 | 0 |
| 197 | MIDDLE SCHOOL RD | None | 1 | 36 |
| 197 | HANNAH AVE. | None | 1 | 42 |
| 197 | MALL ENTRANCE | None | 4 | 81 |
| 197 | RIDGEWAY | Installed (A,B,C,D) | 4 | 65 |
| 197 | IRVINE AVE. | None | 4 | 101 |
| 197 | 23RD ST. | None | 4 | 89 |
| 197 | 15TH ST. | Installed (A,B,C,D) | 4 | 71 |
| 197 | 10TH ST. | Installed (A,B,C,D) | 4 | 59 |
| 197 | 5TH ST. | Installed (A,C,D) | 3 | 60 |
| 197 | 3RD ST. | Installed (A,B,C,D) | 4 | 52 |
| 197 | 2ND ST. | None | 4 | 83 |
| 197 | 1ST ST. | None | 4 | 113 |
| 197 | CSAH 50/P.B. DRIVE | None | 2 | 63 |
| IRVINE AVE. | 5TH ST. | None | 4 | 93 |
| IRVINE AVE. | 15TH ST. | None | 4 | 87 |
| T.H. 71 | S. JCT. TH 2 | None | 0 | 0 |
| CSAH 7 | HIGH SCHOOL | None | 2 | 49 |
| 2 | GRANT UTLEY | Installed (A,B,C) | 3 | 74 |
| 2 | TH 371 | None | 3 | 82 |
| 2 | ASH ST. | None | 4 | 94 |
| 2 | BROADWAY | None | 4 | 89 |
| 2 | MAIN | None | 4 | 88 |
| 2ND ST. | BROADWAY | None | 4 | 91 |
| 2ND ST. | MAIN | None | 4 | 112 |
| 2 | FISHER AVE. | None | 4 | 121 |
| 2 | 2ND ST. | None | 4 | 61 |
| 2 | 5TH AVE. NE | None | 0 | 0 |
| 2 | TH 220 | None | 4 | 103 |
| 220 | 14TH ST. | None | 4 | 106 |
| 1ST ST | 3RD AVE. | None | 4 | 77 |
| 2B | 2ND ST. NE | None | 2 | 40 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 2ND ST. | DEMERS | None | 4 | 80 |
| 4TH ST. | DEMERS | None | 4 | 71 |
| 2 | JOHNSON AVE. | None | 4 | 79 |
| 34 | CENTRAL AVE. | None | 4 | 93 |
| 34 | CSAH 6 | None | 4 | 101 |
| 34 | MAIN ST. | None | 4 | 103 |
| 34 | TH 71 | None | 4 | 110 |
| 11 | MAIN ST. | None | 4 | 61 |
| 89 | 6TH STREET | None | 4 | 97 |
| 11 | TH 89 | None | 4 | 83 |
| 59 | TH 32 | Installed (A,B,C,D) | 4 | 86 |
| 32 | 1ST ST. | Installed (A,B,C,D) | 4 | 70 |
| 32 | 2ND ST. | Installed (A,B,C,D) | 4 | 69 |
| 59 | ATLANTIC | None | 4 | 81 |
| 1ST ST | LABREE | Installed (A,B,C,D) | 4 | 64 |
| 1ST ST | PENNINGTON | None | 2 | 35 |
| 59 | LABREE | Installed (A,B,C,D) | 4 | 66 |
| 32 | T.H. 1 / 8TH ST. | None | 4 | 89 |
| 59 | 1ST ST. | None | 4 | 113 |
| 59 | ANTHONY | None | 4 | 112 |
| 371 | T.H. 200 | None | 0 | 0 |
| 371 | 5TH ST. | None | 4 | 85 |
| 371 | TH 34 | None | 2 | 51 |
| 11 | LAKE ST. | None | 3 | 70 |
| 11 | TH 313 | None | 2 | 51 |

### District 3

| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| --- | --- | --- | --- | --- |
| 94 | 94 WB OFF RAMP/(37) | None | 4 | 89 |
| 55 | (5) /Excelsior Avenue | None | 4 | 115 |
| 10 | Liberty La. Rolling Ridge | None | 1 | 41 |
| 10 | <CR81> & (17) | None | 0 | 0 |
| 10 | 25 E Jct. Lake St | None | 4 | 82 |
| 10 | (5) Eagle Lake Rd. | None | 4 | 119 |
| 10 | CR 43 | None | 3 | 85 |
| 25 | 5TH Street NE | None | 4 | 104 |
| 25 | (35) | None | 4 | 94 |
| 25 | 55 (25=Central Ave) | None | 4 | 149 |
| 25 | Wal Mart/Hi School Ent | None | 4 | 111 |
| 55 | 3rd Ave NE <114> | None | 3 | 82 |
| 55 | (35) | None | 3 | 89 |
| 55 | 1st St. NE | None | 3 | 84 |
| 55 | 3rd St So./2nd St. So. | None | 3 | 86 |
| 55 | (34) | None | 2 | 52 |
| 55 | (134) | None | 2 | 60 |
| 65 | (30) /<43> Main St. | None | 4 | 133 |
| 65 | 95 W Ramp | None | 4 | 87 |
| 65 | 95 E Ramp | None | 4 | 83 |
| 95 | Fern St/1st Ave. W | None | 4 | 89 |
| 95 | 293 Dellwood (95=1st St) | None | 4 | 74 |
| 95 | (30) Main St 95=1st Ave. | None | 4 | 97 |
| 95 | (27) Buchanan St. | None | 4 | 79 |
| 95 | Garfield St. | None | 4 | 101 |
| 95 | (34) Xylite St. NE | None | 4 | 105 |
| 95 | Flanders St. | None | 4 | 105 |
| 10 | 24 (6) Center St. | None | 4 | 127 |
| 24 | (75) | None | 4 | 141 |
| 24 | (8) | None | 4 | 100 |
| 94 | 24 North Ramp | None | 4 | 94 |
| 94 | 24 South Ramp | None | 4 | 92 |
| 12 | (3) Bdwy (12=Cokato St) | None | 4 | 94 |
| 23 | (2) Red River Ave. | None | 4 | 80 |
| 23 | Chapel Street | None | 4 | 107 |
| 12 | (30) Bridge Ave. | Installed (A,B,C,D) | 4 | 119 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 12 | (30) | Installed (C,D) | 2 | 60 |
| 12 | Tiger Drive | Installed (A,B,C,D) | 4 | 108 |
| 12 | <139> County Line Rd. | None | 4 | 114 |
| 10 | Waco St NW | None | 3 | 97 |
| 10 | Joplin Ave. - 185th Ave. | None | 4 | 150 |
| 10 | <44>Upland Ave. | None | 4 | 100 |
| 10 | (1) Proctor Ave. | None | 4 | 103 |
| 10 | Jackson Ave. | None | 4 | 107 |
| 10 | Main St. | None | 4 | 104 |
| 169 | 10 North Ramp | None | 0 | 0 |
| 169 | (12) Main St./Nowthen Rd. | None | 4 | 126 |
| 169 | School St./Elk Hills Dr. | None | 3 | 83 |
| 169 | Jackson Ave./193rd | None | 4 | 125 |
| 169 | 197th Ave. NW | None | 3 | 87 |
| 23 | TH25- .9 Mi. W of Foley | None | 4 | 114 |
| 65 | (5) | None | 4 | 113 |
| 55 | (8) Parkdale (55=Oak) | None | 4 | 94 |
| 23 | (36) Old US 169/Central | None | 4 | 73 |
| 23 | 95 (8) | None | 4 | 153 |
| 25 | School Blvd | None | 4 | 114 |
| 25 | Chelsea Road | None | 4 | 109 |
| 25 | (94) WB Ramp | None | 2 | 50 |
| 25 | <117> Oakwood Dr.(94ebrmp) | None | 4 | 96 |
| 25 | (58) 7th St. | None | 4 | 89 |
| 25 | (75) Broadway (25=Pine) | None | 4 | 79 |
| 25 | River St. (25=Pine St.) | None | 4 | 86 |
| 25 | (11) / (14) | None | 4 | 110 |
| 94 | EB RAMP CSAH 18 | None | 2 | 74 |
| 94 | WB RAMP CSAH 18 | None | 1 | 41 |
| CSAH 75 | CSAH 18/39 | None | 1 | 41 |
| 25 | (37) Forest City Rd NE | None | 4 | 110 |
| 12 | 25/(12) Buffalo Ave. S. W. Jct. | None | 4 | 91 |
| 23 | 65 N Jct. (6) Forest Ave. | None | 4 | 87 |
| 23 | 65 S Jct. 1.3 Mi S of Mora | None | 4 | 105 |
| 23 | Washburn Ave. (23=Hoffman) | Installed (A,B,C,D) | 4 | 73 |
| 95 | (29) Rum River | None | 4 | 91 |
| 10 | (2) (12) (21) | None | 4 | 105 |
| 23 | CSAH 71 Lt/CR 67 Rt | None | 4 | 93 |
| 10 | (26) | None | 4 | 114 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 15 | CSAH 47 Lt/CR 136 Rt | None | 0 | 0 |
| 10 | E. St. Germain St. | None | 4 | 110 |
| 10 | (7) 15th Ave. S.E. | None | 4 | 116 |
| 15 | 23/2nd St. S.JCT | None | 4 | 108 |
| 15 | 23/75 (23=Division)N.JCT | None | 4 | 137 |
| 15 | <135> 3rd St. No | None | 4 | 90 |
| 15 | (4) 8th St. N. | None | 1 | 33 |
| 15 | 12th St. N. | None | 2 | 66 |
| 15 | (120) 20th St. N.(was CR 134) | None | 4 | 133 |
| 15 | (1) | None | 4 | 117 |
| 23 | 33rd Ave. (23=Division St.) | None | 4 | 110 |
| 23 | 29th Ave. (23=Division St.) | None | 4 | 107 |
| 23 | 25th Ave. (23=Division St.) | None | 4 | 108 |
| 23 | 22nd Ave. (23=Division St.) | None | 4 | 97 |
| 23 | Cooper Ave | None | 4 | 120 |
| 23 | Memorial Dr. (23=Division St.) | To Be Installed | 4 | 132 |
| 23 | 14th Ave. S. (23=Division St. ) | To Be Installed | 4 | 131 |
| 23 | 12th Ave. S. (23=Division St.) | To Be Installed | 1 | 50 |
| 23 | 7th Ave. S. (23=Division St. ) | To Be Installed | 4 | 131 |
| 23 | 5th Ave. S. (23=Division St. ) | To Be Installed | 4 | 130 |
| 23 | Wilson Ave. (23=Division St.) | To Be Installed | 4 | 115 |
| 23 | Lincoln Ave. | None | 4 | 116 |
| 23 | 14th Ave. SE | None | 4 | 120 |
| 23 | CSAH 1 | None | 4 | 113 |
| 94 | 241 (36) 94WBRMP | None | 4 | 83 |
| 241 | Edgewood St. | None | 4 | 114 |
| 241 | (19) (35) Main St. | None | 4 | 138 |
| 241 | Nabor Ave | None | 2 | 54 |
| 241 | 4TH ST NE | None | 4 | 125 |
| 241 | Larabee Ave NE | None | 4 | 128 |
| 71 | <186> 12th St S | None | 4 | 97 |
| 71 | (17) Sinclair Lewis Ave | None | 4 | 91 |
| 15 | (29) | None | 4 | 94 |
| 15 | CSAH 33 (Benton) | None | 2 | 72 |
| 15 | 18th St N | Installed (C,D) | 2 | 55 |
| 10 | (11) 2.5 Mi E of Becker | None | 4 | 130 |
| 23 | 28TH AVE S. | None | 3 | 80 |
| 23 | 10th Ave. S. | None | 4 | 110 |
| 23 | 6th Ave. S. (23=2nd St. S.) | None | 4 | 96 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 23 | <135> 2nd Ave. (23=2nd St.) | None | 4 | 106 |
| 23 | Waite Ave (23=2nd St S) | None | 4 | 122 |
| 169 | (4) Fremont Ave | None | 4 | 93 |
| 169 | 210 S. Jct. Minn Ave. - 2nd St. | None | 4 | 85 |
| 210 | (48) Highland Senic Dr. | None | 3 | 71 |
| 210 | Knollwood Dr. | None | 4 | 119 |
| 210 | 371 W. Jct. | None | 4 | 105 |
| 210 | Golf Course Rd. | None | 4 | 125 |
| 210 | Delmont Rd./Westgate Ent. | None | 4 | 103 |
| 371 | <160> Excelsior Rd. | None | 4 | 107 |
| 371 | (48) Highland Scenic Dr. | None | 4 | 130 |
| 371 | College Rd./Glory Rd. | None | 4 | 132 |
| 371 | Woida Road | None | 4 | 124 |
| 371 | (77)/(49) | None | 4 | 119 |
| 18 | TH 25 Mi. E. of Brainerd | None | 4 | 137 |
| 25 | 210 (25=Mill Ave./8th Ave. NE) | None | 4 | 136 |
| 210 | (20) 4th St. NW 210=Wash | None | 4 | 102 |
| 210 | N 4th St. (210=371=Wash) | None | 4 | 92 |
| 210 | 371 E. Jct. Wash/& 6th | None | 3 | 84 |
| 210 | 18 8th St. 210=Washington | None | 4 | 96 |
| 210 | (5) 13th St/Gillis Ave. | None | 4 | 102 |
| 210 | 4th Ave. NE | None | 2 | 61 |
| 371 | Buffalo Hills Ln. | None | 4 | 116 |
| 371 | Quince St. (371=S 6th) | None | 4 | 80 |
| 371 | Laurel St. (371=S 6th) | None | 4 | 80 |
| 371 | 371 S. 6th St. (322=Oak St.) | None | 4 | 99 |
| 10 | 27 East Ramp | None | 4 | 118 |
| 10 | 27 West Ramp | None | 4 | 102 |
| 27 | 2nd St. NW/ (52) Lindb Dr. | Installed (A,B,C,D) | 4 | 95 |
| 27 | 1st St. SE (27=Broadway) | None | 4 | 86 |
| 27 | 1st St. SE @ 1st Ave. SE | None | 4 | 65 |
| 27 | 4th St. NE | None | 4 | 67 |
| 27 | 11th St. NE | None | 4 | 102 |
| 27 | Wal Mart Entrance | None | 4 | 114 |
| 71 | (38) 2nd Ave. SE | None | 4 | 93 |
| 169 | Grand Casino Ent. | None | 2 | 59 |
| 371 | (77) / (13) | None | 4 | 117 |
| 371 | (18) Hazelwood Dr. | None | 4 | 106 |
| 371 | (11) Main St. | None | 4 | 75 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 371 | 84 Mill St. | None | 4 | 78 |
| 10 | (43 / 42) 4th St. (10=2 Ave.) | None | 4 | 51 |
| 10 | TH 10/TH 210 (6th St.) | None | 4 | 120 |
| 10 | 71 Jefferson St. Master | None | 4 | 107 |
| 10 | (20) / (50) | None | 4 | 93 |
| 71 | 29 Colfax (71=Jefferson) | None | 4 | 79 |
| 71 | Bryant (71=Jefferson) | None | 4 | 76 |
| 371 | (16) Myers Rd | None | 4 | 110 |

### District 4

| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| --- | --- | --- | --- | --- |
| 29 | Nokomis Street | None | 4 | 93 |
| 29 | Broadway | Installed (A,B,C,D) | 4 | 93 |
| 29 | C.S.A.H. 43/CO. RD. 70 (McKay Avenue) | None | 2 | 69 |
| 27 | McKay Avenue | None | 2 | 55 |
| 29 | 5th Avenue | None | 4 | 55 |
| 29 | 6th Avenue | None | 4 | 72 |
| 29 | 7th Avenue | None | 4 | 71 |
| 29 | 10th Avenue | None | 4 | 87 |
| 29 | 15th Avenue | None | 4 | 85 |
| 29 | 17th Avenue | None | 2 | 54 |
| 29 | 22nd Avenue | None | 3 | 76 |
| 29 | 30th Avenue | None | 4 | 115 |
| 29 | TH 27 (34th Avenue) | None | 4 | 137 |
| 29 | Dakota Street | None | 3 | 73 |
| 29 | 50th Avenue | None | 4 | 107 |
| 29 | Ramps C and D | None | 3 | 96 |
| 29 | TH 9/TH 12 (Atlantic Avenue) | None | 4 | 113 |
| 9 | TH 12 (Atlantic Avenue) | None | 4 | 92 |
| 59 | TH 34 (Birch Drive) | None | 3 | 74 |
| 10 | Airport Road/Wine Lake Road | None | 2 | 52 |
| 34 | C.S.A.H. 21 (Roosevelt Avenue) | None | 4 | 105 |
| 59 | C.S.A.H. 6 | None | 4 | 105 |
| 10 | Kris Street | None | 4 | 132 |
| 10 | Main Street | None | 4 | 85 |
| 28 | TH 29 and TH 104 (Franklin Street) | None | 4 | 77 |
| 10 | C.S.A.H 19 (Parke Avenue) and CO. RD. 117 | None | 4 | 87 |
| 10 | 34th Street | None | 4 | 101 |
| 10 | 32nd Street | None | 4 | 129 |
| 10 | 1st Avenue N and 21st Street | None | 4 | 140 |
| 10 | 14th Street | None | 2 | 52 |
| 10 | 11th Street | None | 4 | 86 |
| 10 | 8th Street | None | 4 | 106 |
| 231 | 4th Street | None | 4 | 94 |
| 231 | 5th Street | None | 4 | 60 |
| 231 | 6th Street | None | 4 | 69 |
| 231 | TH 75 (8th Street) | None | 4 | 83 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 75 | 12th Avenue S | None | 4 | 112 |
| 75 | 20th Avenue S | None | 4 | 96 |
| 75 | 24th Avenue S | None | 4 | 121 |
| 75 | 30th Avenue S | None | 3 | 87 |
| 75 | 40th Avenue S | None | 4 | 111 |
| I-94 | 20th Street | None | 1 | 23 |
| 9 | 7th Street | None | 4 | 69 |
| 9/ 59 | TH 28 (5th Street) | None | 4 | 52 |
| 59 | TH 108 (1st Avenue) | None | 4 | 81 |
| 59 | TH 108 (Mill Street) | None | 4 | 75 |

### Metro

| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| --- | --- | --- | --- | --- |
| I35 | 185TH AV/(60) WEST RAMP | None | 1 | 22 |
| I35 | 50 (5) WEST RAMP | None | 2 | 66 |
| I35 | 50 (5) EAST RAMP | None | 2 | 53 |
| I35 | CSAH 46/162ND ST - WEST RAMP | None | 1 | 31 |
| I35 | CSAH 46/162ND ST - EAST RAMP | None | 1 | 34 |
| I35 | East Ramp & TH 97 | None | 0 | 0 |
| I35 | West Ramp & TH 97 | None | 0 | 0 |
| I35 | (2) BROADWAY AV.W. RAMP | None | 3 | 60 |
| I35 | (2) BROADWAYAV. E. RAMP / MASTER | None | 3 | 58 |
| I35 | 61/VIKING - WEST RAMP / MASTER | None | 1 | 38 |
| I35 | 61/VIKING - EAST RAMP | None | 1 | 23 |
| I35 | I35 EAST RAMP | None | 3 | 67 |
| I35 | I35 WEST RAMP / MASTER | None | 3 | 58 |
| I35E | (11) SOUTH RAMP | None | 3 | 72 |
| I35E | (11) NORTH RAMP | None | 3 | 70 |
| I35E | (30) DIFFLEY RD E RAMP | None | 3 | 74 |
| I35E | (30) DIFFLEY RD W RAMP | None | 3 | 84 |
| I35E | 110 E RAMP | None | 1 | 41 |
| I35E | 110 W RAMP | None | 1 | 30 |
| I35E | (30) LARPENTEUR E RAMP | None | 3 | 64 |
| I35E | (30) LARPENTEUR W RAMP / MASTER | None | 3 | 71 |
| I35E | (21) LIT CAN RD E RAMP / MASTER | None | 3 | 71 |
| I35E | (21) LIT CAN RD W RAMP | None | 3 | 66 |
| I35W | BURNSVILLE PKWY E RAMP w/ MASTER | To Be Installed | 3 | 86 |
| I35W | BURNSVILLE PKWY W RAMP | To Be Installed | 3 | 85 |
| I35W | W 106TH ST E RAMP | None | 3 | 71 |
| I35W | W 94th ST E RAMP | None | 3 | 79 |
| I35W | W 94TH ST W RAMP MASTER | None | 3 | 86 |
| I35W | W 90TH ST E RAMP | None | 3 | 69 |
| I35W | W 90TH ST W RAMP MASTER | None | 3 | 70 |
| I35W | W 82ND ST. EAST RAMP | None | 3 | 79 |
| I35W | W 82ND ST. WEST RAMP | None | 3 | 78 |
| I35W | W 76TH STREET WEST RAMP | None | 1 | 29 |
| I35W | LYNDALE AV N RAMP | None | 3 | 67 |
| I35W | LYNDALE AV S RAMP | None | 3 | 63 |
| I35W | (46) CLEVELAND AV | None | 3 | 73 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| I35W | LONG LAKE ROAD | None | 2 | 54 |
| I35W | COUNTY ROAD D EAST RAMP | None | 3 | 74 |
| I35W | COUNTY ROAD D WEST RAMP | None | 4 | 110 |
| I35W | COUNTY ROAD I W RAMP / MASTER | None | 0 | 0 |
| I35W | COUNTY ROAD I - EAST RAMP | None | 1 | 35 |
| I35W | COUNTY ROAD J WEST RAMP / MASTER | None | 0 | 0 |
| I35W | COUNTY ROAD J EAST RAMP | None | 1 | 30 |
| I394 | PLYMOUTH RD (61) N RAMP | None | 1 | 35 |
| I394 | PLYMOUTH RD (61) S RAMP w/ MASTER | None | 1 | 31 |
| I394 | RIDGEDALE DR N RAMP | None | 0 | 0 |
| I394 | RIDGEDALE DR S RAMP | None | 1 | 29 |
| I394 | (73) N RAMP (CONTROLLER @ N FR RD) | None | 1 | 33 |
| I394 | (73) S RAMP | None | 1 | 31 |
| I394 | S Ramp & General Mills Blvd w/Master | None | 2 | 50 |
| I394 | N Ramp & General Mills Blvd | None | 1 | 41 |
| I394 | LOUISIANA AV N RAMP | None | 2 | 59 |
| I394 | LOUISIANA AV S RAMP | None | 2 | 55 |
| I394 | XENIA AV/PARK PL NR | None | 3 | 81 |
| I394 | PARK PL BLVD SR | None | 2 | 53 |
| I494 | 24TH AV. (MALL OF AMERICA) | None | 2 | 73 |
| I494 | 12TH AV. NORTH RAMP w/Master | None | 2 | 46 |
| I494 | 12TH AV. SOUTH RAMP | None | 2 | 59 |
| I494 | (35) PORTLAND NORTH RAMP | None | 3 | 87 |
| I494 | (35) PORTLAND SOUTH RAMP | None | 3 | 73 |
| I494 | NICOLLET AV. NORTH RAMP | None | 3 | 64 |
| I494 | NICOLLET AV. SOUTH RAMP | None | 3 | 64 |
| I494 | LYNDALE AV. NORTH RAMP | None | 3 | 77 |
| I494 | LYNDALE AV. SOUTH RAMP | None | 3 | 74 |
| I494 | 494 N RAMP w/ MASTER | None | 0 | 0 |
| I494 | 494 S RAMP | None | 0 | 0 |
| I494 | 494 N Ramp & Prairie Center Drive | None | 1 | 26 |
| I494 | 494 N RAMP | None | 2 | 59 |
| I494 | 494 S RAMP/TECH DR MASTER | None | 3 | 78 |
| I494 | VALLEY VIEW @ EAST RAMP | None | 0 | 0 |
| I494 | VALLEY VIEW @ WEST RAMP w/ MASTER | None | 0 | 0 |
| I494 | I 494 at E RAMP | None | 1 | 28 |
| I494 | I494 at W RAMP | None | 1 | 26 |
| I494 | Carlson Pkwy ER w/ MASTER | None | 2 | 69 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| I494 | Carlson Pkwy WR | None | 2 | 63 |
| I494 | 494 E RAMP MASTER | None | 3 | 73 |
| I494 | 494 W RAMP | None | 3 | 75 |
| I494 | Tamarack @ west ramp | None | 0 | 0 |
| I494 | East Ramp & Tamarack | None | 1 | 35 |
| I494 | LAKE ROAD WEST RAMP | None | 2 | 59 |
| I494 | LAKE ROAD EAST RAMP w/ MASTER | None | 2 | 53 |
| I494 | BAILEY ROAD - WEST RAMP | None | 0 | 0 |
| I494 | BAILEY ROAD - EAST RAMP w/MASTER | None | 2 | 50 |
| I494 | 156 CONCORD ST S RAMP | None | 1 | 31 |
| I494 | 149 DODD RD N RAMP | None | 1 | 46 |
| I494 | 149 DODD RD S RAMP | None | 1 | 30 |
| I494 | (31) PILOT KNOB N RAMP w/ MASTER | None | 1 | 41 |
| I494 | (31) PILOT KNOB S RAMP | None | 1 | 28 |
| I694 | (1) E RIVER RD N RAMP | None | 1 | 41 |
| I694 | (1) E RIVER RD S RAMP | None | 1 | 49 |
| I694 | UNIV AV & 694 N RAMP | None | 2 | 45 |
| I694 | UNIV AV & 694 S RAMP | None | 2 | 27 |
| I694 | 65 S. RAMP | None | 0 | 0 |
| I694 | 65 N. RAMP | None | 0 | 0 |
| I694 | 61 NORTH RAMP | None | 3 | 65 |
| I694 | 61 SOUTH RAMP w/ MASTER | None | 3 | 76 |
| I694 | 120 E CO LINE RD N. RAMP | None | 3 | 67 |
| I694 | 120 E CO LINE RD S. RAMP | None | 3 | 72 |
| I694 | 5 WEST RAMP (Controller @ EAST RAMP) | None | 0 | 0 |
| I694 | 5 EAST RAMP | None | 0 | 0 |
| I694 | (10) 10TH ST. N. WEST RAMP w/ MASTER | None | 2 | 53 |
| I694 | (10) 10TH ST N. EAST RAMP | None | 1 | 28 |
| I94 | So. Diamond Lk (49) ROGERS DR MASTER | None | 3 | 91 |
| I94 | 94 S RAMP | None | 0 | 0 |
| I94 | 94 N RAMP | None | 1 | 16 |
| I94 | (30) West Ramp | None | 1 | 27 |
| I94 | (30) East Ramp w/ MASTER | None | 1 | 26 |
| I94 | BOONE AVE 70th St/ N RAMP | None | 1 | 35 |
| I94 | BOONE AV S RAMP w/ MASTER | None | 2 | 68 |
| I94 | SHINGLE CRK PKWY N R w/ MASTER | None | 2 | 58 |
| I94 | SHINGLE CRK PKWY S R | None | 4 | 106 |
| I94 | (68) MCKNIGHT RD N RAMP | None | 2 | 51 |
| I94 | (68) MCKNIGHT SR-BURNS W/MASTER | None | 2 | 59 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| I94 | 120 CENTURY AVE N RAMP | None | 3 | 57 |
| I94 | 120 CENTURY AVE S RAMP | None | 3 | 64 |
| I94 | 95 SOUTH RAMP w/ MASTER | None | 0 | 0 |
| I94 | 95 NORTH RAMP | None | 0 | 0 |
| 100 | W 77TH ST. EAST RAMP | None | 2 | 55 |
| 100 | W 77TH ST. WEST RAMP | None | 2 | 67 |
| 100 | W 70TH ST E RAMP | None | 3 | 76 |
| 100 | W 70TH ST W RAMP w/ MASTER | None | 3 | 90 |
| 100 | W 50TH ST E RAMP | None | 1 | 33 |
| 100 | W 50TH ST W RAMP | None | 2 | 55 |
| 100 | GLENWOOD AV E RAMP MASTER | None | 2 | 52 |
| 100 | GLENWOOD AV W RAMP | None | 3 | 73 |
| 100 | TH 100 West Ramp at 36TH AV N | None | 3 | 78 |
| 100 | TH 100 ER at 36TH Ave N w/ MASTER | None | 3 | 79 |
| 100 | (152) BROOKLYN BLVD | None | 3 | 87 |
| 100 | (10) 57TH AV E RAMP | None | 2 | 34 |
| 100 | (10) 57TH AV W RAMP | None | 3 | 61 |
| 101 | S JCT (101) "Y" | None | 2 | 56 |
| 101 | PIONEER TRAIL ( CSAH-14) CHANH | None | 4 | 108 |
| 101 | LYMAN BLVD CSAH (18) MASTER | None | 4 | 111 |
| 101 | TH 212 & TH 101 South Ramp | None | 2 | 62 |
| 101 | TH 212 & TH 101 No. Ramp/Lake Susan Dr | None | 4 | 115 |
| 101 | (144) 141ST ST | None | 3 | 89 |
| 101 | (36) East Ramp | None | 2 | 60 |
| 101 | (37) SB Off Ramp | None | 2 | 61 |
| 101 | (37) NB Off Ramp | None | 2 | 55 |
| 101 | (42) RIVER RD NE RAMP | None | 2 | 44 |
| 101 | (42) River Rd. SW Ramp | None | 2 | 63 |
| 101 | (39) OTSEGO TWP | None | 2 | 54 |
| 110 | (43) LEXINGTON AVE | None | 4 | 104 |
| 110 | 149 DODD RD w/ MASTER | None | 4 | 106 |
| 110 | (63) DELAWARE AVE | None | 4 | 111 |
| 110 | (14) MENDOTA RD/SOUTHVIEW | None | 2 | 51 |
| 120 | 3M ROAD / MASTER | None | 4 | 90 |
| 120 | CONWAY AVE | None | 2 | 60 |
| 120 | 7TH ST | None | 3 | 70 |
| 120 | (70) 10TH ST N/(34) MINNEHAHA | None | 4 | 110 |
| 120 | HARVESTER AV/ 15TH ST N | None | 4 | 93 |
| 120 | (30) LARPENTEUR AV | None | 2 | 58 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 120 | 5 N JCT CENTURY-34TH / MASTER | None | 2 | 74 |
| 120 | (25) CR "B" SO AV/40TH ST N | None | 4 | 91 |
| 120 | 7TH AV E/ 47TH ST N | None | 3 | 74 |
| 120 | JOY RD | None | 4 | 98 |
| 120 | (19) CO RD D/60TH ST/LG LK MASTER CAB | None | 4 | 123 |
| 120 | CENTURY COLLEGE ENTRANCE | None | 3 | 64 |
| 120 | WOODLAND DR. / NO. ENTRANCE | None | 2 | 65 |
| 13 | (23) FIVE HAWKS AVE. | None | 2 | 56 |
| 13 | DULUTH Ave / 1st Conn w/ MASTER | None | 4 | 120 |
| 13 | (21) EAGLE CREEK | None | 4 | 120 |
| 13 | (44)160TH ST/MAIN AV | None | 2 | 71 |
| 13 | FISH POINT ROAD | None | 4 | 105 |
| 13 | South Park Dr/Boudin ST/Com Ave. | None | 3 | 99 |
| 13 | (42) | None | 3 | 94 |
| 13 | CONNELLY PKWY | None | 4 | 111 |
| 13 | (16) MCCOLL w/MASTER | None | 3 | 93 |
| 13 | 126th ST | None | 0 | 0 |
| 13 | 101 | None | 2 | 66 |
| 13 | (31) LYNN AV w/ MASTER | None | 4 | 128 |
| 13 | WASHBURN AV S (DUMP RD) | None | 2 | 71 |
| 13 | (5) | None | 4 | 136 |
| 13 | NICOLLET AVE. | None | 3 | 98 |
| 13 | PORTLAND AVE | None | 4 | 112 |
| 13 | 12TH AVE S/PARKWOOD DR. | None | 4 | 115 |
| 13 | (11) W. RIVER HILLS DR. | None | 4 | 118 |
| 13 | (32) CLIFF ROAD | Installed(A,B,C,D) | 4 | 114 |
| 13 | RIVER HILLS DRIVE | To Be Installed | 4 | 114 |
| 13 | (30) DIFFLEY/CEDAR | To Be Installed | 4 | 126 |
| 13 | SILVER BELL ROAD | None | 3 | 106 |
| 13 | BLACKHAWK RD | None | 3 | 78 |
| 13 | (28) YANKEE DOODLE ROAD | None | 3 | 100 |
| 13 | MENDOTA HEIGHTS RD. | None | 1 | 34 |
| 13 | (31) PILOT KNOB ROAD | None | 3 | 88 |
| 13 | 13 w/ MASTER CAB | None | 4 | 106 |
| 13 | 13 N.B. CONNECTION | None | 3 | 86 |
| 149 | WESCOTT RD | None | 3 | 76 |
| 149 | (73) OPPERMAN/BECKER RD w/ MASTER | None | 3 | 108 |
| 149 | (28) YANKEE DOODLE ROAD | None | 4 | 149 |
| 149 | LONE OAK PARKWAY | None | 4 | 113 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 149 | NORTHWEST PKWY/BLUE GENTIA/ MASTER | None | 4 | 97 |
| 149 | MENDOTA HGTS ROAD | None | 3 | 84 |
| 156 | 156 CONCORD ST N RAMP w/ MASTER | None | 0 | 0 |
| 156 | VILLAUME AV (156=CONCORD) | To Be Installed | 4 | 90 |
| 156 | ARMOUR AV (156=CONCORD) | None | 2 | 61 |
| 156 | (14) GRAND AVE / JOHN CARROL BLVD | None | 4 | 105 |
| 156 | WENTWORTH (156=CONCORD) | None | 2 | 57 |
| 156 | BRYANT AV (156=CONCORD) | None | 3 | 62 |
| 21 | 282 2ND ST / 21=BROAD | Installed(A,B,C,D) | 4 | 80 |
| 252 | 66TH AV N | None | 4 | 118 |
| 252 | 70TH AV N | None | 2 | 71 |
| 252 | 73RD AV N | None | 3 | 109 |
| 252 | BROOKDALE DR MASTER | None | 4 | 110 |
| 252 | 81ST AV / Humboldt Ave | None | 4 | 131 |
| 252 | 85TH AV (109) | None | 0 | 0 |
| 280 | Larpenteur Ave. East Ramp w/Master | To Be Installed | 2 | 53 |
| 280 | Larpenteur Ave. West Ramp | To Be Installed | 2 | 53 |
| 3 | (74) 50 S.JCT. CHPPND-ASH w/ MASTER | None | 4 | 115 |
| 3 | 50 N. JCT. CHIPPENDALE-ELM | None | 4 | 125 |
| 3 | CSAH 46/ 160th St. | None | 4 | 112 |
| 3 | (42) 150TH STREET | None | 4 | 115 |
| 3 | 145TH ST. W. (3=MAIN AV) | None | 4 | 89 |
| 3 | CONNEMARA TRAIL | None | 2 | 62 |
| 3 | MCANDREWS RD CSAH 38 LT/ROSMNT | None | 2 | 51 |
| 3 | RED PINE LANE | None | 2 | 52 |
| 3 | (32) CLIFF ROAD w/ MASTER | None | 4 | 112 |
| 3 | (30) DIFFLEY ROAD | None | 3 | 85 |
| 3 | 110 ROBERT TRAIL S. RAMP | None | 0 | 0 |
| 3 | 110 ROBERT TRAIL N. RAMP | None | 0 | 0 |
| 36 | (50) HAMLINE AV N. RAMP / MASTER | None | 4 | 111 |
| 36 | (50) HAMLINE SR/COMMERCE | None | 4 | 99 |
| 36 | (53) DALE STREET SO. RAMP | None | 2 | 43 |
| 36 | (53) DALE STREET NO. RAMP / MASTER | None | 2 | 53 |
| 36 | ENGLISH STREET | None | 4 | 120 |
| 36 | (68) MCKNIGHT RD S RAMP | None | 1 | 30 |
| 36 | (68) MCKNIGHT RD N RAMP | None | 1 | 29 |
| 36 | MARGARET STREET MASTER CAB | None | 4 | 103 |
| 36 | 120 DIVISION ST | None | 4 | 117 |
| 36 | HADLEY AVE | None | 3 | 75 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 36 | (36) HILTON TRAIL | None | 2 | 62 |
| 36 | (17) LAKE ELMO AVE. | None | 0 | 0 |
| 36 | (15) MANNING AVE | Installed (A,B,C) | 3 | 77 |
| 36 | WASHINGTON AVE. | None | 4 | 122 |
| 36 | (68) OAKGREEN / GREELEY | None | 4 | 129 |
| 36 | (24) (67) OSGOOD AVE. N. | None | 4 | 114 |
| 36 | (36=95=MAIN) NELSON ST / MASTER | None | 4 | 91 |
| 41 | (10) 4TH ST | None | 4 | 73 |
| 41 | Crosstown Blvd / Victoria Dr | None | 4 | 96 |
| 41 | ENGLER ROAD | None | 4 | 119 |
| 41 | CANYON RD M 279 RT/CHASKA | None | 2 | 52 |
| 41 | US 212 & TH 41 South Ramp | None | 1 | 38 |
| 41 | US 212 & TH 41 North Ramp | None | 1 | 28 |
| 41 | HUNDERTMARK | None | 4 | 92 |
| 41 | Pioneer Trail / Jonathan Blvdl | None | 4 | 130 |
| 41 | HAZELTINE BLVD CHASKA | None | 3 | 73 |
| 41 | (18) LYMAN BLVD | None | 4 | 93 |
| 41 | 82nd Street | None | 2 | 51 |
| 47 | 37TH AV NE | None | 3 | 81 |
| 47 | 40TH AV NE | None | 3 | 76 |
| 47 | 44TH AV NE | None | 3 | 79 |
| 47 | 49TH AV NE MASTER | None | 3 | 88 |
| 47 | 53RD AV NE | None | 3 | 85 |
| 47 | 57TH AV NE | None | 4 | 130 |
| 47 | 61ST AV NE | None | 4 | 115 |
| 47 | (6) MISSISSIPPI ST w/ MASTER | None | 4 | 131 |
| 47 | 69TH AV NE | None | 4 | 99 |
| 47 | 73RD AV NE | None | 4 | 130 |
| 47 | (8) OSBORNE RD | None | 4 | 128 |
| 47 | 81ST AV NE | None | 4 | 137 |
| 47 | 85th AVE / <132> | None | 4 | 121 |
| 47 | (3) UNIV AVE | None | 0 | 0 |
| 47 | (30) PLEASANT | None | 4 | 91 |
| 47 | (116) Bunker Lake Blvd | None | 4 | 123 |
| 47 | (5)Nowthen/Xkimo St. | None | 2 | 54 |
| 47 | SUNWOOD (149th Ave N) | None | 4 | 95 |
| 47 | Alpine Drive (153rd) MASTER | None | 2 | 66 |
| 5 | Oak | None | 4 | 135 |
| 5 | OAK AVE @ COMMUNITY DR | None | 3 | 57 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 5 | CSAH 32 | None | 3 | 120 |
| 5 | TH 284 /OLIVE STREET/CO RD 57 | None | 4 | 110 |
| 5 | CO RD 59 / MAIN ST, WACONIA | None | 3 | 98 |
| 5 | (11) VICTORIA DR | None | 4 | 93 |
| 5 | (13) ROLLING ACR Bavaria RD | None | 0 | 0 |
| 5 | 41/ HAZELTINE BLVD | None | 4 | 97 |
| 5 | Century | None | 2 | 81 |
| 5 | GALPIN BLVD | None | 2 | 91 |
| 5 | AUDUBON | None | 2 | 83 |
| 5 | (17) POWERS BLVD | None | 3 | 81 |
| 5 | MARKET BLVD (101) | None | 2 | 58 |
| 5 | GREAT PLAINS BLVD w/ MASTER | None | 2 | 76 |
| 5 | DAKOTA AV (101) | None | 2 | 76 |
| 5 | DELL ROAD | None | 4 | 111 |
| 5 | (4) EDEN PRAIRIE RD | None | 4 | 106 |
| 5 | VENTURE LANE / FULLER RD w/MASTER | None | 3 | 87 |
| 5 | S Ramp & Mitchell Rd | None | 3 | 75 |
| 5 | N Ramp & Mitchell Rd | None | 3 | 83 |
| 5 | POST RD/NORTHWEST DR. - WR | None | 0 | 0 |
| 5 | (68) (34) McKnight -MHAHA | None | 4 | 106 |
| 5 | STILLWATER & LAKEWOOD | None | 4 | 85 |
| 5 | 5 S JCT/Stillwater Blvd | None | 4 | 121 |
| 5 | GRANADA AVENUE | None | 3 | 84 |
| 5 | HADLEY AVE w/MASTER | None | 4 | 143 |
| 5 | IMATION PLACE | None | 3 | 88 |
| 5 | (13) IDEAL AVE. N. | None | 3 | 73 |
| 5 | (15) MANNING AVE. N. | None | 2 | 63 |
| 5 | 58TH ST. N. W/ MASTER | None | 3 | 78 |
| 5 | 36 NORTH RAMPS | None | 1 | 22 |
| 5 | 36 SOUTH RAMPS | None | 1 | 27 |
| 51 | MIDWAY / DAN PATCH | None | 4 | 107 |
| 51 | (56) HOYT AV | None | 3 | 76 |
| 51 | (30) LARPENTEUR AV w/Master | None | 4 | 120 |
| 51 | (114) ROSELAWN AV | None | 4 | 74 |
| 51 | HAR-MAR MALL ENT. | Installed (A,B,C,D) | 4 | 102 |
| 51 | (25) COUNTY ROAD B | Installed (A,B,C,D) | 4 | 116 |
| 51 | (23) COUNTY ROAD C MASTER CAB | None | 4 | 124 |
| 51 | COUNTY ROAD C2 | None | 4 | 111 |
| 51 | LYDIA AV | None | 3 | 85 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 55 | (20) MAIN ST | None | 4 | 107 |
| 55 | (50) Rebecca Park Trail w/ MASTER | None | 4 | 109 |
| 55 | CSAH 92 (DOGWOOD ST) | None | 0 | 0 |
| 55 | (19) | Installed (B,C) | 2 | 62 |
| 55 | Willow Dr. | None | 0 | 0 |
| 55 | (118) ARROWHEAD DR | None | 3 | 98 |
| 55 | (116) PINTO DR | None | 3 | 98 |
| 55 | CLYDESDALE CONNECTION | None | 0 | 0 |
| 55 | (101) W Jct/Sioux Trail | None | 3 | 93 |
| 55 | (101) E JCT/PEONY LA | None | 3 | 112 |
| 55 | (24) ROCKFORD RD | None | 1 | 38 |
| 55 | VICKSBURG LANE | None | 4 | 130 |
| 55 | NIAGARA LANE | None | 4 | 158 |
| 55 | FERNBROOK LANE | None | 2 | 74 |
| 55 | (61) XENIUM LANE | None | 4 | 109 |
| 55 | INDUSTRIAL PK BLVD | None | 3 | 83 |
| 55 | (6) | None | 2 | 62 |
| 55 | (154) W MEDICINE LK | None | 2 | 66 |
| 55 | (73) S SHORE DRIVE | None | 2 | 68 |
| 55 | REVERE LANE | None | 4 | 134 |
| 55 | BOONE AV N | None | 2 | 63 |
| 55 | (156) WINNETKA AV MASTER | None | 3 | 79 |
| 55 | RHODE ISLAND AV | None | 2 | 64 |
| 55 | (40) GLENWOOD AV | None | 2 | 55 |
| 55 | (102) DOUGLAS DRIVE | None | 3 | 101 |
| 55 | 55 & TH 100 SINGLEPOINT | None | 0 | 0 |
| 55 | SCHAPER / OTTAWA | None | 4 | 115 |
| 55 | MEADOW LANE | None | 4 | 128 |
| 55 | THEODORE WIRTH PKWY | None | 4 | 115 |
| 55 | TH.62 North Ramp | None | 2 | 58 |
| 55 | TH.62 South Ramp | None | 2 | 55 |
| 55 | MENDOTA HGTS ROAD | None | 3 | 78 |
| 55 | EAGANDALE BLVD. | None | 0 | 0 |
| 55 | (43) LEXINGTON/BLUE GENTIA | None | 3 | 105 |
| 55 | 149 DODD RD N. JCT / MASTER | None | 3 | 84 |
| 55 | (26) LONE OAK RD | None | 3 | 96 |
| 55 | 149 DODD RD S. JCT | None | 3 | 109 |
| 55 | (63) ARGENTA TRAIL | None | 1 | 34 |
| 55 | GENERAL SIEBEN DRIVE | None | 4 | 130 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 55 | PLEASANT DRIVE | None | 4 | 100 |
| 55 | WESTVIEW DRIVE | None | 4 | 93 |
| 55 | RIVER ST. / MASTER | None | 4 | 78 |
| 55 | PINE ST. | None | 4 | 74 |
| 610 | Broadway S Ramp w/ MASTER | None | 2 | 57 |
| 610 | Broadway N Ramp | None | 2 | 53 |
| 610 | 97th & W Broadway / Winnetka |  | 0 | 0 |
| 610 | Noble Pkwy@95th Av N. |  | 0 | 0 |
| 610 | Zane Ave S Ramp w/ MASTER | None | 3 | 63 |
| 610 | Zane Ave N RAMP | None | 3 | 58 |
| 610 | NOBLE AV S RAMP w/MASTER | None | 3 | 67 |
| 610 | NOBLE AV N RAMP | None | 3 | 67 |
| 610 | E RIVER RD (1) N RAMP | None | 3 | 102 |
| 610 | E RIVER RD (1) S RAMP | None | 2 | 53 |
| 610 | COON RAPIDS BLVD (3) E RAMP | None | 1 | 38 |
| 62 | 62@CLEARWATER/BEACH RD MASTER | None | 2 | 71 |
| 62 | Valley View | None | 1 | 32 |
| 62 | XERXES AVE (31) N R | None | 3 | 66 |
| 62 | XERXES AVE (31) S R | None | 3 | 69 |
| 62 | (35) PORTLAND AV N . RAMP | None | 3 | 62 |
| 62 | (35) PORTLAND AV. S. RAMP | None | 3 | 72 |
| 65 | (2) 40TH AV NE | Installed (A,B,C,D) | 4 | 103 |
| 65 | 41ST AV NE | None | 4 | 101 |
| 65 | 44TH AV NE | None | 4 | 98 |
| 65 | 45TH AV NE | None | 4 | 102 |
| 65 | 47TH AV NE MASTER CAB | None | 2 | 56 |
| 65 | (4) 49TH AV NE | None | 2 | 48 |
| 65 | 50TH AV NE | None | 4 | 108 |
| 65 | (6) MISSISSIPPI ST w/ MASTER | None | 4 | 114 |
| 65 | 52ND AV NE | None | 4 | 102 |
| 65 | 53RD AVE NE | None | 4 | 120 |
| 65 | (35) MEDTRONIC/OLD CENTRAL | None | 3 | 96 |
| 65 | E/W MOORE LAKE-RICE CREEK | To Be Installed | 4 | 107 |
| 65 | 73RD AV NE | None | 4 | 123 |
| 65 | (8) OSBORNE RD | None | 4 | 121 |
| 65 | 81ST AV NE | None | 4 | 143 |
| 65 | (32) 85TH AV NE/CO. RD J | None | 3 | 89 |
| 65 | 89TH AV NE | None | 3 | 82 |
| 65 | 93RD LN NE/CLOV PKWY | None | 3 | 83 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 65 | 99TH AV NE | None | 3 | 97 |
| 65 | (87) 105TH AV NE w/Master | None | 4 | 114 |
| 65 | (12) 109TH AV NE | None | 4 | 145 |
| 65 | 117TH AVE. N.E./ CLOUD DR. | None | 3 | 78 |
| 65 | 121ST AV NE/PAUL PKWY |  | 0 | 0 |
| 65 | 242 (14) | None | 1 | 54 |
| 65 | 129TH AV NE |  | 0 | 0 |
| 65 | (116) BUNKER LK BLVD | None | 3 | 104 |
| 65 | ANDOVER BLVD LT 147TH AV/HM LK | None | 3 | 91 |
| 65 | (60) CONSTANCE BLVD | None | 3 | 97 |
| 65 | (18) CROSSTOWN BLVD | None | 2 | 72 |
| 65 | (22) VIKING BLVD | None | 3 | 100 |
| 65 | (86) / SIMS AV | None | 3 | 88 |
| 65 | (24)/ 237TH AV N.E. | None | 3 | 92 |
| 7 | (92) MAIN ST | None | 3 | 75 |
| 7 | (113) Smithtown Rd | None | 3 | 66 |
| 7 | TH 41 w/MASTER | None | 2 | 69 |
| 7 | (19) OAK STREET | None | 1 | 49 |
| 7 | CHRISTMAS LAKE RD | None | 2 | 48 |
| 7 | OLD MARKET ROAD | None | 1 | 30 |
| 7 | VINEHILL RD | None | 4 | 117 |
| 7 | 101 w/ MASTER | None | 4 | 115 |
| 7 | WOODLAND/TONKAWOOD RD | None | 4 | 94 |
| 7 | WILLISTON RD | None | 4 | 114 |
| 7 | (61) SHADY OAK RD | None | 4 | 106 |
| 7 | (73) 17TH AV N MASTER | None | 4 | 120 |
| 7 | 12TH AV N | None | 4 | 96 |
| 7 | 5TH AV N / Oakridge | None | 4 | 104 |
| 7 | (20) Blake/Aquila | To Be Installed | 4 | 139 |
| 7 | TEXAS AV | None | 4 | 103 |
| 7 | LOUISIANA AV | None | 4 | 106 |
| 7 | WOODDALE AV | None | 4 | 112 |
| 7 | TH 100 @ TH 7 WEST RAMP | None | 0 | 0 |
| 7 | TH 100 @ TH 7 EAST RAMP | None | 0 | 0 |
| 77 | (32)CLIFF RD. - EAST RAMP | None | 3 | 75 |
| 77 | (32)CLIFF RD. - WEST RAMP | None | 3 | 80 |
| 77 | (30) DIFFLEY RD E RAMP | None | 3 | 77 |
| 77 | (30) DIFFLEY RD W RAMP | None | 3 | 74 |
| 77 | (30) DIFFLEY AT NICOLS w / MASTER | None | 4 | 109 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 77 | (1) OLD SHKPE RD. E. RAMP | None | 4 | 122 |
| 77 | TH 62 @ TH 77 Bus Lane Only | None | 0 | 0 |
| 95 | TANGER DR / FLINK AVE. | None | 3 | 89 |
| 95 | OAKVIEW AVE. | None | 4 | 121 |
| 95 | (30) FOREST BLVD. | None | 4 | 76 |
| 95 | MYRTLE ST (95=MAIN ST) | None | 4 | 80 |
| 97 | EVERTON AV N | None | 1 | 31 |
| 97 | FENWAY AVENUE NO. | None | 0 | 0 |
| 97 | GOODVIEW AVE N/ 8TH ST SE | None | 3 | 66 |
| US10 | 171st Ave | None | 3 | 96 |
| US10 | (83) Armstrong Blvd | None | 1 | 35 |
| US10 | <56> RAMSEY BLVD | None | 3 | 91 |
| US10 | <57> Sunfish Blvd & MASTER CAB | None | 1 | 34 |
| US10 | THURSTON AVE/PARK ST | None | 2 | 61 |
| US10 | FAIROAK AV | None | 4 | 100 |
| US10 | 47 FERRY N JCT N RMP w/ MASTER | None | 3 | 63 |
| US10 | 47 FERRY N JCT S RMP | None | 3 | 78 |
| US10 | 288(7) 7TH AV N RAMP | None | 3 | 64 |
| US10 | (7) 7TH AV S RAMP w/ MASTER | None | 3 | 78 |
| US10 | Hanson Blvd SINGLE-POINT w/MASTER | None | 2 | 96 |
| US10 | (11)FOLEY/101ST N RAMP MASTER | None | 2 | 74 |
| US10 | FOLEY BLVD/(11)SR | None | 1 | 25 |
| US10 | FOLEY BLVD/99TH AVE | None | 2 | 53 |
| US10 | (3) UNIVERSITY AV S RMP w/ MASTER | None | 4 | 124 |
| US10 | (3) UNIVERSITY AV N RMP | None | 3 | 106 |
| US10 | 10 NORTH RAMP (NEW 10) | None | 0 | 0 |
| US10 | 10 SOUTH RAMP (NEW 10) | None | 0 | 0 |
| US10 | (96) | None | 4 | 146 |
| US12 | (83) Halgren Road | None | 2 | 62 |
| US12 | CSAH 29 (Baker Park RD) | None | 2 | 75 |
| US12 | CSAH 6/SOUTH RAMP | None | 1 | 24 |
| US12 | CSAH 6/NORTH RAMP MASTER | None | 1 | 33 |
| US12 | OLD CRYSTAL BAY RD | None | 4 | 106 |
| US12 | WILLOW DRIVE w/ MASTER | None | 3 | 77 |
| US12 | Brown Rd | None | 4 | 108 |
| US12 | (146) LAKE ST | None | 4 | 87 |
| US12 | (42) WAYZATA BLVD | None | 0 | 0 |
| US12 | 101 W JCT N RAMP | None | 3 | 65 |
| US12 | 101 W JCT S RAMP | None | 3 | 69 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| US12 | CARLSON PKWY N Ramp Deer Crk MASTER | None | 2 | 67 |
| US12 | CARLSON PKWY S Ramp Oakland Rd | None | 2 | 57 |
| US169 | TH 169 @ CSAH 3 | None | 0 | 0 |
| US169 | (5) LAREDO ST | None | 3 | 86 |
| US169 | 282 (9) | None | 3 | 85 |
| US169 | TH 41 | None | 4 | 116 |
| US169 | <69> Old Brickyard Rd | None | 2 | 72 |
| US169 | (17) S RAMP | None | 3 | 71 |
| US169 | (17) N RAMP w/ MASTER | None | 3 | 73 |
| US169 | (83) S RAMP | None | 3 | 78 |
| US169 | (83) N RAMP MASTER | None | 3 | 75 |
| US169 | River View Road W Ramp | None | 2 | 44 |
| US169 | 108TH ST E RAMP (1) | None | 2 | 54 |
| US169 | (1) PIONEER TRAIL - WEST RAMP | None | 2 | 54 |
| US169 | (1) PIONEER TRAIL- EAST RAMP MASTER | None | 2 | 58 |
| US169 | Anderson Lks Pkwy/ Henn. Twn Rd W Ramp | None | 3 | 100 |
| US169 | Anderson Lk Pkwy/Bloomington Ferry Rd E. Ramp | None | 2 | 52 |
| US169 | HIGHWOOD/W 78TH ST | None | 4 | 118 |
| US169 | (39) VALLEY VIEW RD W R MASTER | None | 2 | 38 |
| US169 | (39) VALLEY VIEW RD E R | None | 2 | 38 |
| US169 | BREN RD/Londonderry E RAMP | None | 3 | 72 |
| US169 | BREN/LONDONDERRY W R MASTER | None | 3 | 75 |
| US169 | 169 E RAMP | None | 0 | 0 |
| US169 | 7 W RAMP | None | 0 | 0 |
| US169 | MINNETONKA BLVD E R | None | 3 | 70 |
| US169 | MINNETONKA BLVD W R MASTER | None | 3 | 64 |
| US169 | CEDAR LK RD (16) E R | None | 3 | 69 |
| US169 | CEDAR LK RD (16) W R MASTER | None | 3 | 66 |
| US169 | BETTY CROCKER DR E R | None | 2 | 53 |
| US169 | BETTY CROCKER DR W R MASTER | None | 2 | 50 |
| US169 | PLY AV E RAMP MASTER | None | 2 | 59 |
| US169 | PLY AV / 13TH AV WR | None | 2 | 46 |
| US169 | 36TH AV E RAMP | None | 3 | 61 |
| US169 | 36TH AV W RAMP MASTER | None | 3 | 73 |
| US169 | E RAMP 49 TH AV w/ MASTER | None | 1 | 21 |
| US169 | W RAMP 49 TH /SCHMIDT LK RD | None | 2 | 47 |
| US169 | (109)85TH AV N MASTER | None | 4 | 139 |
| US169 | (30)93RD AV N | None | 4 | 127 |
| US169 | 169 S Ramp | None | 0 | 0 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| US169 | 109TH AV | None | 1 | 32 |
| US169 | 114th AV/ELM CRK PKWY | None | 3 | 102 |
| US169 | 117TH AV N | None | 2 | 66 |
| US169 | 120TH AV N | None | 1 | 42 |
| US169 | HAYDEN LAKE RD w/MASTER | None | 1 | 40 |
| US169 | (12) SE JCT W RIVER RD | None | 1 | 37 |
| US169 | (12) NW JCT MILLER / DAYTON | None | 4 | 104 |
| US169 | E Frontage Rd | None | 2 | 45 |
| US169 | Ferry St Pedestrian Signal | None | 1 | 45 |
| US169 | MAIN & FERRY | None | 4 | 122 |
| US212 | 5 25 (33) REFORM ST w/ MASTER | None | 3 | 84 |
| US212 | FAXON RD | None | 4 | 115 |
| US212 | (11) J Carver Pkwy Ramps | None | 0 | 0 |
| US212 | CSAH 10 (Engler Blvd.) West Ramp | None | 1 | 21 |
| US212 | CSAH 10 (Engler Blvd.) East Ramp | None | 1 | 27 |
| US212 | TH 41 / (CHESTNUT) w/ MASTER | None | 4 | 111 |
| US212 | (12) WALNUT ST | None | 4 | 113 |
| US212 | (15) <17> AUDOBON RD | None | 3 | 75 |
| US212 | CSAH 17 Powers Blvd. & North Ramp | None | 1 | 31 |
| US212 | CSAH 17 Powers Blvd. & South Ramp | None | 1 | 29 |
| US212 | W JCT (101) | None | 0 | 0 |
| US212 | E JCT (101) MASTER | None | 0 | 0 |
| US212 | N JCT (101) "Y" | None | 1 | 25 |
| US212 | DELL RD & NORTH RAMPS/LINWOOD CT | None | 4 | 108 |
| US212 | DELL RD & SOUTH RAMP | None | 3 | 77 |
| US212 | TH 212 @ Charlson Rd. | None | 1 | 25 |
| US212 | (1) PIONEER TRAIL | None | 4 | 121 |
| US212 | COLLEGE VIEW DR - TECH ENT | None | 4 | 111 |
| US212 | ANDERSON LK PKWY | None | 4 | 113 |
| US212 | FOUNTAIN PLACE | None | 4 | 111 |
| US212 | PRAIRIE CENTER DRIVE | None | 4 | 104 |
| US212 | REGIONAL CENTER DR | None | 3 | 83 |
| US212 | SINGLE TREE LANE | None | 4 | 97 |
| US212 | LEONA RD / EDEN DR | None | 4 | 113 |
| US212 | <39> VALLEY VIEW E R | None | 2 | 78 |
| US212 | <39> VALLEY VIEW WR Bryant Lake RD | None | 1 | 35 |
| US212 | (61) SHADY OAK E R | None | 1 | 32 |
| US212 | (61) SHADY OAK W R w/ MASTER | None | 1 | 26 |
| US52 | 117TH ST.E. / WEST RAMP w/ MASTER | None | 3 | 96 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| US52 | 117TH ST. E. / EAST RAMP | None | 3 | 83 |
| US52 | (CSAH 56) BRODERICK BLVD./ N. RAMP | None | 2 | 57 |
| US52 | UPPER 55TH ST/CENEX DR WR | None | 2 | 70 |
| US52 | UPPER 55TH ST. E. RAMP | None | 1 | 31 |
| US52 | (14) SOUTHVIEW BLVD W RAMP / MASTER | None | 3 | 73 |
| US52 | (14) SOUTHVIEW BLVD E RAMP | None | 3 | 69 |
| US61 | (47) VERMILLION RD. | None | 2 | 58 |
| US61 | 15TH ST. (61=VERMILLION) | None | 4 | 95 |
| US61 | 55 DRIVEWAY ENTRANCE w/ MASTER | None | 3 | 76 |
| US61 | 10TH ST. (61=VERMILLION) | None | 4 | 83 |
| US61 | 4TH STREET (61=VERMILLION) HASTINGS | None | 4 | 83 |
| US61 | TH 10 - .5M N. OF HASTINGS | None | 2 | 66 |
| US61 | 95 | None | 0 | 0 |
| US61 | HADLEY AV-GRANGE BLVD MASTER CAB | None | 4 | 108 |
| US61 | GRANGE/80TH ST. EAST RAMP | None | 3 | 68 |
| US61 | GRANGE/80TH W. RAMP | None | 3 | 77 |
| US61 | CSAH 22 CR 74 EAST RAMP | None | 1 | 32 |
| US61 | CSAH 22 CR 74 WEST RAMP | None | 1 | 27 |
| US61 | GLEN RD. - SINGLEPOINT | None | 1 | 56 |
| US61 | TH 61 @ Maxwell Ave/Bailey Rd. East Ramp | None | 1 | 25 |
| US61 | TH 61 @ Maxwell Ave/Bailey Rd. West Ramp | None | 1 | 33 |
| US61 | (43) CARVER AVE | None | 2 | 56 |
| US61 | (39) LOWER AFTON RD | None | 2 | 61 |
| US61 | (27) FROST / PARKWAY | Installed (A,B,C,D) | 4 | 103 |
| US61 | (26) ROSELAWN AVE. | None | 2 | 52 |
| US61 | (25) COUNTY ROAD B w/ MASTER | None | 4 | 114 |
| US61 | (23) COUNTY ROAD C | None | 4 | 112 |
| US61 | (19) BEAM AV | None | 3 | 84 |
| US61 | County Rd. D | None | 3 | 90 |
| US61 | BUERKLE RD | None | 3 | 93 |
| US61 | WILLOW LAKE BLVD. | None | 2 | 57 |
| US61 | 244 (15) CO. RD E | None | 4 | 126 |
| US61 | CEDAR AVE | None | 4 | 108 |
| US61 | (12) CO RD F/(95) ASH ST | None | 4 | 113 |
| US61 | (65) WH BR AV/(146)HOFFMAN | None | 4 | 110 |
| US61 | (96) LAKE AVE/SO. JCT. | None | 3 | 82 |
| US61 | 2ND STREET w/ MASTER | None | 4 | 128 |
| US61 | 4TH STREET "WHITE BEAR LAKE" | To Be Installed | 3 | 78 |
| US61 | 7TH ST (116) | None | 4 | 97 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| US61 | 96 12TH STREET (No. JCT.) | None | 2 | 53 |
| US61 | (8) BUFFALO ST/6TH ST | None | 4 | 94 |
| US61 | COUNTY ROAD "J" /120TH ST | None | 1 | 32 |
| US61 | (8A) 140TH / EGG LAKE RD. | None | 3 | 84 |
| US61 | (8) FRENCHMAN RD. w/MASTER | None | 2 | 58 |
| US61 | (8) 145TH ST.N. (HUGO) | None | 3 | 61 |
| US61 | Headwaters Parkway/FOREST LK | None | 2 | 48 |
| US61 | 97 S. JCT. 5MI S FOREST LK | None | 4 | 76 |
| US61 | 97 N. JCT. / MASTER | None | 4 | 127 |
| US61 | (83)/(34) 11TH AVE | None | 4 | 136 |
| US61 | 8TH AV SE | None | 3 | 105 |
| US61 | (2) BROADWAY (61=LAKE) | None | 4 | 86 |
| US61 | 259TH ST / FAIRVIEW BLVD. | None | 3 | 100 |
| US61 | (30) (31) VIKING BLVD. | None | 4 | 91 |
| US8 | N.E. RAMP @ TH 61 | None | 0 | 0 |
| US8 | GREENWAY AVE. | None | 4 | 96 |
| US8 | (23) Green Lake Tr/ Pioneer Rd | None | 3 | 72 |
| US8 | (22) (36) VIKING/JOHNSON | None | 2 | 56 |
| US8 | (24) 77 OLD TOWN / LOFTON | None | 4 | 100 |
| US8 | SHOQUIST LANE | None | 4 | 104 |
| US8 | (20) OAK ST/LAKES AVE. | None | 4 | 76 |
| US8 | 95 | None | 0 | 0 |
| US952A | (14) MENDOTA RD (ROBERT) | None | 4 | 118 |
| US952A | MARIE AV (ROBERT) | None | 4 | 84 |
| US952A | LOTHENBACH AV (952=ROBERT) | None | 4 | 98 |
| US952A | (8) WENTWORTH (ROBERT) | None | 4 | 102 |
| US952A | (6) THOMPSON (ROBERT) | None | 4 | 90 |
| US952A | EMERSON AV (ROBERT) | None | 4 | 73 |
| US952A | W MORELAND AV (ROBERT) | None | 4 | 77 |
| US952A | (4) BUTLER AV (ROBERT) MASTER CAB | None | 4 | 85 |
| US952A | BERNARD AV (ROBERT) | None | 4 | 89 |
| US952A | (2/41) ANNAPOLIS STREET | None | 4 | 79 |

### District 6

| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| --- | --- | --- | --- | --- |
| 3 | Jefferson Parkway | None | 4 | 97 |
| 3 | TH 246 Woodley Street | None | 4 | 122 |
| 3 | Hester St | None | 4 | 104 |
| 3 | CSAH 1 | None | 4 | 116 |
| 3 | Honey Locust Dr | None | 4 | 136 |
| 3 | TH 19 S. Jct. | None | 4 | 99 |
| 3 | TH 19 N. Jct. | None | 4 | 106 |
| 13 | TH 65 | None | 4 | 55 |
| 13 | TH 69 | None | 2 | 55 |
| 13 | 1ST Ave | None | 3 | 68 |
| 14 | CSAH 5 | None | 4 | 115 |
| 14 | 10th Ave | None | 4 | 113 |
| 14 | W. Circle Dr. N. Ramp | None | 3 | 88 |
| 14 | W. Circle Dr. S. Ramp | None | 3 | 65 |
| 14 | Memorial Parkway | None | 4 | 121 |
| 14 | Crossroads Dr | None | 1 | 36 |
| 14 | Crossroads Dr Hyvee Access | None | 1 | 40 |
| 14 | TH 63 | None | 0 | 0 |
| 14 | E. Circle Dr | None | 2 | 82 |
| 14 | CSAH 11 | None | 4 | 99 |
| 14 | TH 74 | None | 4 | 72 |
| 14 | Cottonwood Dr | None | 2 | 53 |
| 19 | Main Street | None | 4 | 95 |
| 19 | I-35 W. Ramp | None | 0 | 0 |
| 19 | TH 20 | None | 4 | 76 |
| 21 | 7th St | None | 4 | 99 |
| 21 | 30th St | None | 4 | 121 |
| 35 | TH 14 E. Ramp | None | 2 | 52 |
| 35 | Bridge St W. Ramp | None | 2 | 54 |
| 43 | Riverbend RD | None | 3 | 84 |
| 43 | Frontenac Dr | None | 2 | 63 |
| 43 | CSAH 17 | None | 3 | 95 |
| 43 | Broadway | None | 4 | 62 |
| 43 | 5th St | None | 4 | 56 |
| 43 | 4th St | None | 4 | 62 |
| 52 | N. Jct. CSAH 24 | None | 3 | 86 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 52 | S. Jct. CSAH 24 | None | 3 | 85 |
| 52 | TH 74 | None | 4 | 78 |
| 52 | 19th St W. Frontage Rd | None | 3 | 94 |
| 52 | 19th St Single Pt. | None | 2 | 83 |
| 52 | 19th St E. Frontage Rd | None | 3 | 109 |
| 52 | 37th St W. Ramps | None | 3 | 87 |
| 52 | 37th St E. Ramps | None | 3 | 104 |
| 52 | 41st St W. Ramps | None | 3 | 72 |
| 52 | 41st St E. Ramps | None | 3 | 79 |
| 52 | 55th St E. Ramps | None | 3 | 70 |
| 52 | 41st St, E. Frontage Rd | None | 4 | 104 |
| 57 | Main St | None | 4 | 83 |
| 58 | Pioneer Rd | None | 3 | 91 |
| 58 | TH 63 | None | 4 | 52 |
| 60 | Western Ave | None | 1 | 35 |
| 60 | 30th Ave | None | 0 | 0 |
| 60 | TH 21 | None | 4 | 113 |
| 60 | 8th Ave | None | 4 | 62 |
| 60 | 4th Ave | None | 4 | 64 |
| 60 | 2nd Ave | None | 4 | 59 |
| 60 | Central Ave | Installed (A,B,C,D) | 4 | 62 |
| 60 | 3rd St, Ravine St | Installed (A,B,C,D) | 4 | 71 |
| 60 | Division St | Installed (A,B,C,D) | 4 | 87 |
| 61 | TH 14 and TH 16 | None | 3 | 88 |
| 61 | I-90 Ramp | None | 0 | 0 |
| 61 | TH 58 (Plum St) | None | 4 | 66 |
| 61 | Bush St | None | 4 | 65 |
| 61 | Broad St | None | 4 | 91 |
| 61 | Old Main St | None | 2 | 49 |
| 61 | Bench St | None | 4 | 125 |
| 61 | Tyler Road | None | 3 | 89 |
| x | Bench St and Tyler Road | None | 4 | 119 |
| 61 | TH 63 | None | 4 | 68 |
| 61 | Marion St | None | 4 | 70 |
| 61 | TH 43 | None | 4 | 115 |
| 61 | Huff St | None | 0 | 0 |
| 61 | Vila St | None | 4 | 92 |
| 61 | Gilmore Ave | None | 0 | 0 |
| 61 | TH 14 (Pelzer St) | None | 4 | 127 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 61 | 44th Ave | None | 4 | 101 |
| 63 | 40th St S. W. Ramp | None | 1 | 27 |
| 63 | 40th St Woodlake Dr | None | 1 | 33 |
| 63 | 40th St Commercial Dr | None | 2 | 59 |
| 63 | TH 52 S. Ramp | None | 0 | 0 |
| 63 | TH 52 N. Ramp | None | 0 | 0 |
| 63 | 28th St S | None | 4 | 126 |
| 63 | 25th St S | None | 3 | 85 |
| 63 | 20th St S | None | 4 | 86 |
| 63 | 16th St S | None | 4 | 103 |
| 63 | 14th St S | None | 4 | 98 |
| 63 | Northern Heights Dr | None | 3 | 95 |
| 63 | 37th St N | None | 4 | 154 |
| 63 | 20th St N | None | 4 | 107 |
| 63 | TH 30 | None | 4 | 72 |
| 65 | Margaretha Ave | None | 3 | 93 |
| 65 | Front St | None | 4 | 86 |
| 65 | College St | None | 4 | 54 |
| 65 | Newton Ave | None | 4 | 55 |
| 65 | Garfield Ave | None | 4 | 92 |
| 65 | Sorensen Rd | None | 3 | 86 |
| 90 | 4th St | None | 2 | 35 |
| 105 | 12th St | None | 3 | 64 |
| 105 | 14th St | None | 4 | 86 |
| 218 | I-90 N. Ramp | Installed (A,B) | 2 | 44 |
| 218 | CSAH 27 | None | 2 | 70 |

### District 7

| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| --- | --- | --- | --- | --- |
| 4 | 1ST AV S / 7TH ST | None | 4 | 87 |
| 4 | 1ST AV S / ARMSTRONG | None | 4 | 85 |
| 5 | TH 5 / MAIN | Installed (B,D) | 4 | 82 |
| 13 | TH 13 / 7TH AVE | None | 4 | 70 |
| 13 | TH 13 / 13TH AVE | None | 4 | 117 |
| 13 | TH 13 / 22ND AVE | None | 4 | 95 |
| 14 | TH 14 / TH 4 (3RD AVE) | None | 4 | 101 |
| 14 | TH 14 / 1ST AVE | None | 4 | 68 |
| 14 | TH 14 / JACOB ST | None | 0 | 0 |
| 14 | TH 14 / GARDEN | None | 4 | 120 |
| 14 | TH 14 / 16TH ST | None | 4 | 87 |
| 14 | TH 14 / 7TH ST | None | 4 | 96 |
| 14 | TH 14 / LOR RAY DR | None | 3 | 71 |
| 14 | TH 14 / 4TH | None | 4 | 100 |
| 14 | TH 14 / STATE ST | None | 4 | 88 |
| 15 | TH 15 / ADAMS ST | None | 4 | 96 |
| 15 | TH 15 / TILDEN ST | None | 4 | 80 |
| 15 | TH 15 / BLUE EARTH AVE | None | 4 | 92 |
| 15 | TH 15 / 4TH ST N | None | 4 | 97 |
| 15 | TH 15 / WINNEBAGO ST | None | 4 | 112 |
| 15 | TH 15 / TORGERSON DR | None | 4 | 107 |
| 15 | TH 15 / GOEMANN RD | None | 3 | 90 |
| 15 | TH 15 / 20TH ST S | None | 4 | 99 |
| 15 | TH 15 / 10TH ST S | None | 4 | 86 |
| 15 | TH 15 / CENTER ST | None | 4 | 89 |
| 15 | TH 15 / 3RD ST N | None | 4 | 88 |
| 19 | TH 19 / MAIN ST | None | 4 | 74 |
| 19 | TH 19 / TH 22 / E. JCT | None | 4 | 67 |
| 19 | TH 19 / 1ST AVE. | None | 4 | 87 |
| 19 | TH 19 / 10TH AVE (37) | None | 4 | 126 |
| 22 | TH 22 / TH 83 | None | 4 | 114 |
| 22 | TH 22 / HOFFMAN RD | None | 4 | 113 |
| 22 | TH22/BASSETT | None | 4 | 134 |
| 22 | TH 22 / MADISON AVE | None | 4 | 98 |
| 22 | TH 22 / ADAMS ST | None | 4 | 122 |
| 22 | TH 22 / TH 14 N. RAMP | None | 3 | 91 |
| 22 | TH 22 / TH 14 S. RAMP | None | 3 | 83 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 22 | TH 22 / CSAH 3 | None | 4 | 164 |
| 22 | TH 22 / CSAH 12 | None | 4 | 103 |
| 59 | TH 59 / HUMISTON | None | 4 | 97 |
| 59 | OMAHA AVE | None | 4 | 104 |
| 60 | TH 60 / 10TH ST | None | 4 | 68 |
| 60 | TH 60 / 6TH ST | None | 4 | 103 |
| 71 | TH 71 / SHERMAN ST | None | 4 | 61 |
| 71 | TH71 / NORTH HWY | None | 4 | 58 |
| 75 | TH 75 / MAIN ST | None | 4 | 71 |
| 169 | TH 169 / OWATONNA ST | None | 3 | 82 |
| 169 | BELGRADE N. RAMP | None | 3 | 54 |
| 169 | BELGRADE S. RAMP | None | 3 | 63 |
| 169 | TH 169 / WEBSTER | None | 3 | 78 |
| 169 | TH 169 / LIND ST | None | 1 | 28 |
| 169 | TH 169 / JEFFERSON | To Be Installed | 4 | 100 |
| 169 | TH 169 / MULBURY | To Be Installed | 4 | 85 |
| 169 | TH 169 / NASSAU | To Be Installed | 4 | 85 |
| 169 | TH 169 / TH 99 | To Be Installed | 4 | 88 |

### District 8

| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| --- | --- | --- | --- | --- |
| 12 | CSAH 5 | None | 2 | 60 |
| 12 | 10th St | None | 4 | 74 |
| 12 | 7th St | None | 4 | 80 |
| 12 | 3rd St | None | 2 | 47 |
| 12 | 2nd St | None | 1 | 28 |
| 12 | Lakeland Dr | None | 4 | 115 |
| 23 | South St | None | 4 | 95 |
| 23 | CSAH 10 | None | 4 | 115 |
| 12 | 5th St | None | 4 | 81 |
| 12 | 3rd St | None | 4 | 60 |
| 12-22 | Depot Dr | None | 4 | 94 |
| 12 | Davis Ave | None | 4 | 91 |
| 7-22 | School Rd | None | 4 | 93 |
| 7-22 | TH 15 | None | 4 | 126 |
| 7-22 | Bluff St | None | 4 | 101 |
| 15 | Edmonton Ave | None | 2 | 54 |
| 15 | Denver Ave | None | 2 | 50 |
| 15 | Century Ave | None | 3 | 66 |
| 15 | So Grade Rd | None | 4 | 104 |
| 15 | 2nd Ave So | None | 4 | 75 |
| 15 | Washington Ave | None | 4 | 101 |
| 15 | 1st Ave No | None | 4 | 90 |
| 7 | CSAH 41 | None | 0 | 0 |
| 7-29 | Benson Rd | None | 2 | 58 |
| 7-29 | CSAH 15 | None | 4 | 96 |
| 29-59 | TH 212 | None | 4 | 108 |
| 19-71 | Swain St | None | 4 | 70 |
| 19-71 | Dekalb St | None | 4 | 95 |
| 19-68 | TH 23 | None | 1 | 39 |
| 19-68 | Mustang Trail | None | 4 | 87 |
| 19-68 | Bruce St | None | 4 | 79 |
| 19-68 | Lyon St | None | 4 | 77 |
| 19-68 | TH 59 | None | 4 | 98 |
| 19 | Saratoga St | None | 4 | 61 |
| 19 | 2nd St | None | 1 | 36 |
| Trunk Highway | Intersection | APS Status | Number of Crosswalks | Intersection Score |
| 59 | Canoga Dr | None | 3 | 101 |
| 59 | Susan Dr | None | 2 | 78 |
| 59 | TH 23 | None | 1 | 46 |
| 59 | Southview Dr | None | 4 | 89 |
| 59 | C St | None | 4 | 84 |
| 59-68 | 3rd St | None | 3 | 68 |
| 59-68 | 4th St | None | 4 | 86 |
| 59-68 | 5th St | None | 4 | 86 |
| 59 | TH 68 | None | 3 | 72 |
| 212 | 9th St | None | 4 | 83 |
| 12 | TH 15 | None | 1 | 30 |
| 7 | TH 71 | None | 4 | 98 |
| 14 | TH 71 | None | 0 | 0 |
| 23-212 | Granite St | None | 4 | 114 |
| 23-75 | TH 30 | None | 4 | 111 |
| 75 | TH 212 | None | 0 | 0 |
| 212 | CSAH 5 | None | 4 | 69 |

# Appendix E

# Curb Ramp Inventory

| General Information |  |
| --- | --- |
| Date/Time |  |
| Inspector |  |
| City/Highway |  |
| Reference Point |  |
| Feature ID |  |
| Curb Ramps |  |
| Width of the Ramp |  |
| Type | - Concrete - Bituminous - Other - None |
| Layout | - Perpendicular - Diagonal - Parallel - Blended Transition - Other - None |
| Location | - Intersection corner - Aligned with crosswalk - Median - Mid-block - Pork chop - Other |
| Design | - Exposed aggregate - Detectable warning - Truncated dome - Dragged - Contrasting color - Imprinted - Sprinkled aggregate - Smooth concrete - Other - None |
| Area (Sq ft) | - Flat landing (< 2% slope and cross slope) at top of ramp that at least 4’ x 4’ - Flat landing (< 2% slope and cross slope) at bottom of ramp that at least 4’ x 4’ |
| Running slope (%) | - Gutter count slope < 5% |
| Cross slope(%) |  |
| Flare slope (%) |  |
| Condition Rating | - 1 to 4 - Vertical inconsistencies / lip (< 0.50 in) - Horizontal gap - Obstacles |
| Sidewalks |  |
| Type | - Concrete - Bituminous - Other (Joints, Stamped pattern, pavers, etc) - None |
| Width (ft) |  |
| Length (ft) | - Continuous – Connects to next intersection - Gap |
| Slope | Note locations where longitudinal (running) slope is greater that 1:12 (8.33%) or cross slope is greater than 1:50 (2%) |
| Direction |  |
| Number | What side of the road? |
| Obstacles within Pedestrian Access Route | - None - Lightpole - Fire hydrant - Tree (Horizontal and vertical clearance) - Guardrail - Stoplight pedestal - Sign post - Benches - Building - Catch basin - Grate - Guy wire - Utility box - Newspaper box - Other street furniture - Temporary items (sandbags, signs, etc) - Faulted pavement: Note locations with greater than 1/4 inch and greater than ½ inch vertical displacement - Other |
| Boulevard/buffer width |  |
| Condition Rating | 1 to 4 |
| Curb and Gutter |  |
| Type | - Concrete - Bituminous - Integrant - Other |
| Design | - B - D - V - S |
| Gutter Pan Width (in) | 12 to 48, with 24 set as default |
| Curb Height (in) | 3 to 10, with 6 set as default |
| Condition Rating | 1 to 4 |
| Crosswalk |  |
| Type | - Uncontrolled - Controlled |
| Crosswalk Design | - Crossing Distance - Orientation - Width - Linked to median / pork chop / Bumpouts - Cross slope - Running slope |
| Surface Type | - Bituminous - Concrete - Brick - Other |
| Painted Marking | - None - Zebra stripes (rect. blocks) - 2 parallel stripes - Diagonal striping |
| Tape | - None - Milled - Rolled |
| Aesthetic Design Treatments | None - Stamped - Painted - Stamped & dyed - Running bond (std.) - Herringbone - Basket weave - Other |
| Stop Bar | - Yes - No |
| Roadway Speed |  |
| Condition Rating | 1 to 4 |
| Signal |  |
| Walk/Don’t Walk | - Yes - No |
| Countdown | - Yes - No |
| APS | - Audible - Tactile - Vibro - Locator tone |
| Pedestrian Phase | - Automatic - Activation required |
| Push button | - None - On stoplight pole - On pedestal station - Accessible - Other |
| Push Button distance from curb ramp |  |
| Are push button separated at least 10’ apart | - Yes - No |
| Hand holes | - Yes - No |
| Signs |  |
| Crosswalk | - Yes - No |
| Crosswalk Ahead | - Yes - No |
| Flashing yellow lights | - Yes - No - Continuous - Activated |
| Transit Stop | - Yes - No |
| School Crossing | - Yes - No |
| Intersection |  |
| Type | - 2-way x 2-way - 2-way x 4-way - 4-way x 4-way - Divided highway - Side street - Median - Other |
| Transit Stops |  |
|  | - Bus stop boarding and alighting areas must provide a clear length of 8 feet minimum, measured perpendicular to the curb or street or highway edge, and a clear width of 5 feet minimum, measured parallel to the street or highway. |
|  | - Bus stop boarding and alighting areas must connect to streets, sidewalks, or pedestrian paths by a pedestrian access route. |
|  | - The grade of the bus stop boarding and alighting area must be the same as the street or highway, to the maximum extent practicable and the cross slope of the bus stop boarding and alighting area must not be greater than 2 percent. |

# Appendix F

# Pedestrian Overpass and Underpass Inventory

| Bridge Number | Facility Carried | Feature Crossed | Year Built |
| --- | --- | --- | --- |
| 69857 | PEDESTRIAN | 1ST AVE E | 1989 |
| 96093 | US 61 | BIKE PATH | 1986 |
| 27X02 | TH 5 WB | BIKE TRAIL | 1998 |
| 97682 | US 59 | BIKE TRAIL | 1996 |
| 97680 | TH 13 | BIKEWAY | 1993 |
| 10X02 | TH 5 | Bluff Creek Trail | 2000 |
| 27816P | PEDESTRIAN | BNSF RR | 1982 |
| 9218 | PEDESTRIAN | CEDAR RIVER | 1958 |
| 56X01 | TH 210 | CENTRAL LAKES TRAIL | 1995 |
| 97753 | TH 29 (NOKOMIS ST) | CENTRAL LAKES TRAIL | 1994 |
| 24848 | PEDESTRIAN | CO DITCH # 15 | 1990 |
| 24849 | PEDESTRIAN | CO DITCH # 15 | 1989 |
| 24850 | PEDESTRIAN | CO DITCH # 15 | 1989 |
| 4175 | Pedestrian | County 101 Minnesota R | 1927 |
| 69855 | PEDESTRIAN | DITCH | 1973 |
| 82009 | TH 36 | DNR Gateway Trail | 1987 |
| 96823 | TH 9 | DNR GLACIAL LAKES TRL | 1994 |
| 34X03 | TH 23 | DNR RECREATION TRAIL | 2002 |
| 82812 | I 694 NB | DNR TRAIL | 1967 |
| 96517 | TH 371 | DNR TRAIL | 1987 |
| 82811 | I 694 SB | DNR TRAIL | 1967 |
| 69858 | PEDESTRIAN | EB I35 RAMP & MICH RAMP | 1989 |
| 27908 | PEDESTRIAN | ELM CREEK | 1973 |
| 69804 | PEDESTRIAN | EXCURSION TRACKS | 1989 |
| 69805 | PEDESTRIAN | EXCURSION TRACKS | 1989 |
| 9482 | PEDESTRIAN | FAYAL TRAIL | 1960 |
| 69885A | BIKEWAY AT MESABA | FILL | 1987 |
| 82012 | PED | GORGE | 1968 |
| 27V53 | I 494 SB | HENN CO TRAIL | 2005 |
| 27V54 | I 494 NB | HENN CO TRAIL | 2005 |
| 69838 | PED AT 17TH AVE E | I 35 | 1988 |
| 69843 | PED AT 25TH AVE | I 35 | 1990 |
| 69885 | PED AT MESABA | I 35 & TWO RAMPS | 1968 |
| 62872 | PED at Bayard Ave | I 35E | 1984 |
| 6512 | GATEWAY TRAIL | I 35E | 1960 |
| 62804 | PED at Walnut St | I 35E & Thompson St | 1987 |
| 9618 | PED at 40th St | I 35W | 1965 |
| 9888 | PED at 73rd Ave | I 35W | 1960 |
| 27985 | PED @ Summer St | I 35W & NB off ramp | 1973 |
| 27987 | PED @ 5th St SE | I 35W & off-on ramps | 1971 |
| 27868 | PED @ 24th St E | I 35W NB, TH 65 & STS | 1971 |
| 27710 | PED @ Pennsylvania | I 394 | 1989 |
| Bridge Number | Facility Carried | Feature Crossed | Year Built |
| 27711 | PED @ Florida Ave | I 394 | 1989 |
| 27755 | PEDESTRIAN | I 394 & 394R Frontage Rd | 1989 |
| 27757 | PED @ Cedar Lk Rd | I 394, I394R & Frontage | 1988 |
| 27V57 | PED AT MAYWOOD LN | I 494 | 2005 |
| 9078 | PED at 2nd Ave S | I 494 & N & S Front Rds | 1960 |
| 62822 | RECREATION TRAIL | I 694 | 1966 |
| 50802 | PEDESTRIAN | I 90 | 1997 |
| 62849 | PED at ALDINE | I 94 | 1966 |
| 9773 | PED at Grotto | I 94 | 1963 |
| 9736 | PED at Chatsworth | I 94 | 1964 |
| 9737 | PED at Mackubin St | I 94 | 1963 |
| 9892 | PED at 22nd Ave | I 94 | 1962 |
| 27958 | PED @ Seymour | I 94 | 1967 |
| 73871 | PEDESTRIAN | I 94 | 1977 |
| 27864 | PED @ Shingle Crk | I 94 & I 694 | 1980 |
| 62809 | GRIGGS ST PED | I 94 & RAMP 16A | 2009 |
| 62869 | PED at Hazelwood | I 94 EB on ramp | 1974 |
| 27955 | PEDESTRIAN | I 94 On/Off Ramps-Huron | 1965 |
| 62868 | PED at Maple | I 94, Hudson & Pacific | 1973 |
| 27003 | PED at Whitney | I 94, Lyndale & Henn Av | 1988 |
| 36015 | PEDESTRIAN | JACKFISH BAY | 1978 |
| 36016 | PEDESTRIAN | JACKFISH BAY | 1978 |
| 69853 | PEDESTRIAN | KEENE CREEK | 1973 |
| 62023 | PED at Winifred St | Lafayette Rd (US 52) | 1969 |
| 27407 | TRAIL | LEGION LAKE | 2008 |
| 43X01 | TH 7 | LUCE LINE ST TRAIL | 1999 |
| 95154 | TH 25 | LUCE LINE TRAIL | 1982 |
| 96697 | I 494 | LUCE LINE TRAIL | 1989 |
| 69122 | US 53 | MILLER CREEK | 2003 |
| 31020 | US 169 NB | MINE RD | 1976 |
| 9600F | Ped Trail | Minnesota River | 1980 |
| 27004 | Ped at St Anthony | Mississippi River | 1883 |
| 73029 | PEDESTRIAN | MN 15 | 1987 |
| 5953 | PEDESTRIAN | MN 23 | 1941 |
| 6847 | PEDESTRIAN | MN 23 | 1958 |
| 62096 | PEDESTRIAN | MN 36 | 2007 |
| 2017 | PED @ 49th Ave | MN 47 | 1967 |
| 2021 | PEDESTRIAN | MN 65 | 1970 |
| 2022 | PED @ 80th Ave NE | MN 65 & Frontage Rd | 1973 |
| 18X01 | TH 210 | Paul Bunyan Trail | 2003 |
| 27X06 | TH 100 | PED | 2001 |
| 60X02 | US 2 | PED | 2001 |
| 10X03 | TH 41 | PED | 2001 |
| 08X04 | US 14 | PED | 2004 |
| 10X08 | TH 5 | PED | 2004 |
| 86X05 | TH 241 | PED | 2005 |
| 38X03 | TH 61 | PED | 2005 |
| Bridge Number | Facility Carried | Feature Crossed | Year Built |
| 69124 | US 53 | PED CONCOURSE | 2003 |
| 27810 | I 94 | PED PATH | 1982 |
| 03X01 | US 59 | PED TRAIL | 1998 |
| 52X02 | US 169 | PED TRAIL | 1998 |
| 62X02 | TH 35E | Ped Trail | 2001 |
| 62X02X | TH 35E NB off Ramp | Ped Trail | 2001 |
| 62X02Y | 35E SB on ramp | Ped Trail | 2001 |
| 10X09 | TH 101 | PED TRAIL | 2007 |
| 6995 | I 90 | PED TUNNEL | 1957 |
| 6996 | I 90 | PED TUNNEL | 1957 |
| 8654 | US 61 | PED TUNNEL | 1936 |
| 96882 | TH 5 | PED TUNNEL | 1990 |
| 69811 | PEDESTRIAN | PED WALK WAY | 1967 |
| 91191 | US 61 | PED WALKWAY | 1951 |
| 91533 | US 59 | PED WALKWAY | 1977 |
| 96058 | US 59 | PED WALKWAY | 1984 |
| 16X01 | TH 61 | PED-BIKE | 2009 |
| 6692 | US 61 | PED-BIKE TRAIL | 1951 |
| 96758 | US 52 | Pedestrian Trail | 1990 |
| 24867 | PEDESTRIAN | RAVINE | 1973 |
| 27253 | TH 7 WB Connection | Recreation Tr & Trolley | 2001 |
| 27068 | TH 7 | Recreation Trail | 1981 |
| 6654 | TH 5 | Recreation Trail | 1952 |
| 85821 | PED | RELIEF (IN REST AREA) | 2008 |
| 10X04 | TH 5 | Riley Creek Trail | 2000 |
| 96690 | SKYWAY | S BROADWAY (US 63) | 2008 |
| 7033 | TH 22 | SAKATAH STATE TRAIL | 1999 |
| 69X04 | US 53 SB | SNOWMOBILE TRAIL | 2004 |
| 69X02 | US 53 off ramp | Snowmobile Trail | 2001 |
| 69X03 | US 53 NB | SNOWMOBILE TRAIL | 2004 |
| 38014 | PED | SOIL | 2004 |
| 3717 | MN 210(SNWMBL TRL) | STONEY BROOK | 1922 |
| 27284 | PED at 39th Ave | TH 100 | 2000 |
| 27649 | PEDESTRIAN | TH 100 | 1983 |
| 27012 | Ped at 26th St | TH 100 | 1978 |
| 27038A | PED Brooklyn Blvd | TH 100 | 1976 |
| 27038B | PED Brooklyn Blvd | TH 100 | 1976 |
| 27615 | PED at 59th Ave N | TH 100 & SB off ramp | 1980 |
| 27105 | PED at 41st St | TH 100 & Vernon Ave | 1968 |
| 9896 | PED at Windsor Ave | TH 100, Frontage Roads | 1971 |
| 9895 | PED at S View Lane | TH 100, Frontage Roads | 1971 |
| 27278 | Trail A | TH 12 & BNSF RR | 2005 |
| 27272 | Luce Line Trail | TH 12 & BNSF RR | 2003 |
| 27061 | PED at 61st St | TH 121 | 1962 |
| 19901 | PED @ I 494 | TH 13 | 1982 |
| 27685 | PED AT 85th AVE | TH 252 | 2003 |
| 6402 | BN Regional Trail | TH 36 | 1954 |
| Bridge Number | Facility Carried | Feature Crossed | Year Built |
| 10531 | PED | TH 5 | 1995 |
| 55044 | PED AT 16th ST NW | TH 52, & W & E FRONT RD | 2004 |
| 27202 | PEDESTRIAN | TH 55 & NB off ramp | 1998 |
| 27220 | PEDESTRIAN | TH 610 | 1998 |
| 27R15 | PED | TH 610, CSAH 81,RMP,& RR | 2005 |
| 27530 | PED at 40th Ave S | TH 62 | 1966 |
| 27535 | PED at 14th Ave | TH 62 | 1967 |
| 27520 | PEDESTRAIN | TH 62 & W 64th St | 1963 |
| 5114 | Recreation Trail | TH 7 | 1934 |
| 27028 | PED AT 88TH ST | TH 77 | 1978 |
| 36017 | PEDESTRIAN | TILSON BAY | 1978 |
| 36018 | PEDESTRIAN | TILSON BAY | 1978 |
| 31023 | US 169 SB | TRAIL | 1976 |
| 31024 | US 169 NB | TRAIL | 1974 |
| 97254 | TH 23 | TRAIL | 1993 |
| 31019 | US 169 SB | TRAIL | 1976 |
| 27X09 | FLYING CLOUD DR | TRAIL | 2006 |
| 02J30 | MN 47 | TRAIL | 2006 |
| 27866 | PED Linden Avenue | UP RAIL | 1972 |
| 19R03 | US 52 SB | UP RAIL | 2003 |
| 2044 | PEDESTRIAN | US 10 | 1997 |
| 27135 | PED at Ridgeview | US 12 & Ridgeview Dr | 1970 |
| 85003 | PED (ST MARYS) | US 14 | 1963 |
| 27B42 | PED-BIKE | US 169 | 2008 |
| 70539 | PED W OF CR 79 | US 169 | 2002 |
| 70536 | PED E OF CSAH 17 | US 169 | 2002 |
| 43006 | PEDESTRIAN | US 212 | 1971 |
| 27R30 | PED/BIKE | US 212 | 2006 |
| 10048 | PED/BIKE | US 212 | 2007 |
| 19025 | PED @ Lewis St | US 52 | 1973 |
| 82032 | PED | US 61 7th Ave BN &CP RR | 2003 |
| 82028 | PED | US 61, Hasting Ave, 7th | 2003 |
| 55019 | PEDESTRIAN | US 63 | 1963 |
| 27R17 | PED OFF TH 610 | WET LANDS | 2005 |

# Appendix G

# Policies and Procedures under Review by Mn/DOT

2008 Signal & Lighting Certification Manual

60% REVIEW CHECKLISTS

95% REVIEW CHECKLISTS

Accessibility Grievance Procedure

ADA Checklist

ADA IMPLEMENTATION PLAN FOR METRO DESIGN

D-7 PRESERVATION PROJECT GUIDELINES

Design Layout Checklist

GDSU Process of Layout Review

Guidebook for Minnesota Public Transit Providers

Guideline for the Application of Tubular Markers and Weighted Channelizers

Guidelines for Changeable Message Sign (CMS) Use

Hear Every Voice (HEV): Mn/DOT Public and Stakeholder Participation Guidance

Hear Every Voice II: Public Involvement Guidance 2008

HPDP Accessibility Requirements

HPDP Geometric Layouts

Layout Approval Process

Maintenance Manual

Minnesota Manual on Uniform Traffic Control Devices (Mn MUTCD) CH 4E

Mn/DOT Road Design Manual (RDM)

Mn/DOT Traffic Signal Timing and Coordination Manual

No Passing Zone Workbook

Off-site accessibility checklist

OLM's Right of Way Manual section 5-491.810

Scoping and Cost Estimating

Scoping Worksheets

Standard Plan - Acceleration and Deceleration Lane (Urban) Rigid Design (5-297.210)

Standard Plate 7105C

Standard Plate 7107H

Standard Plate 7108F

Standard Plate 7109C

Standard Plate 7113A

Standard Plate 8400E

Standard Plate 8401

Standard Plate Pedestrian installation

Standard Sign Summary

Standard Signs Manual

Tech. Memo. Minnesota Work Zone Safety and Mobility Policy

Tech. Memo. Pedestrian Countdown Signals (PCSs) Usage.

TRAFFIC ENGINEERING MANUAL

Work Zone Field Handbook