Work Type Definition

Page 1 details the work type definition.  In order to become pre-qualified for this work type, please see the “Work Type Submittal Requirements” on page 2.

- Description

  - Stormwater system feature cleaning includes removal and proper disposal of sediment and debris from all types of stormwater system features.

  - Any suspected illicit discharges to the drainage system must be reported.

- Standards and Specifications

Standards and specifications required for a project under this work type may include the following:

  - Traffic control and lane closures must be conducted in accordance with the Minnesota Manual of Uniform Traffic Control Devices and, in the Metro Area must be coordinated with Dispatch (651-582-1550).  Traffic Control is solely the responsibility of the consultant/contractor to arrange.

- Provided By MnDOT

Information to be supplied by MnDOT for a project may include the following:

- Project Plan Sheets

- Map of surveyed feature locations (fip files) or GIS Feature Class

- Map of existing HYDINFRA features (known stormwater system features)

- ID numbers of known features

- Provided by Consultant

Deliverables to be supplied by the consultant for a project may include the following:

- Materials removed will be properly disposed of.

- Suspected Illicit discharges should immediately be reported to Dispatch at 651-582-1550 (Metro Area) or to the appropriate contact in the HYDINFRA Ratings Guide (Outside the Metro Area).

- Specific examples of deliverables:

  - Certification of proper disposal of sediment/debris and testing if deemed appropriate by MnDOT.

  - Illicit discharges reported to the appropriate contact.

Work Type Submittal Requirements

A consultant firm becomes pre-qualified based on the qualifications of the personnel that are employed by the firm and by meeting the demonstrated requirements.

| Key Personnel Requirements |
| --- |
| Minimum Number of Staff: | One cleaner person |
| Professional Certification/Licensure: | None required |
| Work Type Submittal Requirements* |
| Resume and Relevant Project Experience Form (Form PQ1) | Complete Parts, 1, 1A, and 2 of form PQ1 Part 1: Fill out general information and names of personnel submitted for pre-qualification. Part 1A: Fill out for each person listed in Part 1. Experience of the qualified staff must be demonstrated by reference to at least three (maximum of five) completed storm water system feature cleaning projects* within the last 5 years. Part 2: Project Examples listed must correlate to those described below in “ Project Example Requirements” Part 3: Not applicable for this work type |
| Project Example Requirements | Submit one previous project* example in storm water system feature cleaning, completed in the last 5 years. Examples must include documentation of how sediment was disposed of. *For the purposes of the submittal, a “project” is defined as a segment or corridor defined by the owner/client such as MnDOT’s State Project (SP) numbers. There may be more than one “project” (multiple SPs) under an individual contract. |
| *Work Type Submittal Instructions: Create a flash drive that includes the following individual files or folders in this order: I. Resume and Relevant Project Experience Form (Form PQ1) II. Project Example Requirements (this should be a folder that includes individual files clearly named according to Part 2 of the PQ1) Each file should be saved in the format identified above. Submit 5 copies of the flash drive. |