PRE-QUALIFICATION PROGRAM

Work Type Definition / Submittal Requirements

# Work Type Definition

## 19.2 Asbestos Abatement

### Description

- Work conducted under this work type includes asbestos abatement.

- The Consultant may be requested to encapsulate or remove peeling paint.

- The Consultant may be requested to remove PCB caulk or PCB bituminous felt.

- The Consultant may be requested to remediate mold in buildings.

- Work will be coordinated with the MnDOT’s oversight Consultant.

### Standards and Specifications

Standards and specifications required for a project under this work type may include the following:

- All work must comply with applicable federal, state regulations, and MnDOT’s Regulated Material Management Program, “Building & Bridge Demolition/Relocation" web site (available at: http://www.dot.state.mn.us/environment/buildingbridge/index.html) when handling and disposing asbestos containing materials, materials with lead-based paint and potentially PCB-containing caulk/bituminous felt.

- The Consultant, acting as the Authorized Agent of the Minnesota Department of Transportation, will make application for, and secure any and all permits required under Minnesota State Building Code 1300.0120 PERMITS, Subpart 1, prior to the initiation of any asbestos abatement and/or peeling paint encapsulation. The Consultant will be responsible for all permit fees associated with the work performed.

- MnDOT reserves the right to remove the Consultant from this program if they find waste material is not properly removed, documented, tracked, and managed.

### Provided by MnDOT

Information to be supplied by MnDOT for a project may include the following:

- Assessment report.

- Oversight consultants for the project.

- Timeline of work to be performed.

- Scope of project.

### Provided by Consultant

Deliverables to be supplied by the consultant for a project may include the following:

#### Asbestos Abatement

- The Consultant will schedule and coordinate all work with MnDOT’s District Project Coordinator, MnDOT’s Project Manager and the oversight consultant.

- MnDOT’s Project Manager must approve modifications, additions or deletions to all requirements in writing.

- The Consultant will comply with applicable portions of Minnesota Rules Chapter 4620.3000 thru 4620.3724.

- The Consultant will comply with the applicable portions of MnDOTs’ Regulated Material Management Program, “Building & Bridge Demolition/Relocation” web site (available at: http://www.dot.state.mn.us/environment/buildingbridge/index.html).

- The Consultant may be requested to encapsulate peeling paint with an elastomer product that meets the EPA definition of a “Barrier Coating”, unless MnDOT’s Project Manager provides specific written direction to use another method.  See products located at: http://www.dot.state.mn.us/products/paint/leadpaintencasement.html

- The Consultant will ship all waste directly from the project site to the MnDOT approved landfill or other MnDOT approved end site facility.  Off-site, temporary storage and/or co-mingling with waste materials not generated by the project will not be permitted, unless approved in writing by MnDOT’s Project Manager.

- Material containing polychlorinated biphenyl (PCB) at a concentration greater or equal to 50 ppm will be handled as a hazardous waste.  Material containing PCB at a concentration less than 50 ppm will be disposed of at a Minnesota Pollution Control Agency (MPCA) permitted mixed municipal solid waste landfill or a MPCA permitted industrial landfill.

- The Consultant will provide the State’s Oversight Consultant with all of the necessary paperwork to complete an asbestos abatement report and, upon State Project Manager’s direction, a peeling paint encapsulation project completion report; within 10 days of the waste being shipped off site. The documentation must include MPCA/MDH notifications, disposal manifests, disposal tipping receipts, and daily sign in and sign out logs, asbestos project plan, and negative air pressure measurements, company MDH asbestos license, personnel MDH certifications.

- The Consultant may be required to remediate mold contamination within MnDOT-owned buildings.

# Work Type Submittal Requirements

A consultant firm becomes pre-qualified based on the qualifications of the personnel that are employed by the firm.

| ### Key Personnel Requirements | ### Description |
| --- | --- |
| - Minimum Number of Staff | At least two MDH Certified Asbestos Site Supervisors with 3 years’ work experience. At least four MDH Certified Asbestos workers with 3 years’ work experience. |
| - Professional Certification / Licensure | See above. |

| ### Work Type Submittal Requirements | ### Description |
| --- | --- |
| - Resume and Relevant Project Experience Form - Form PQ1 - [Submit in Microsoft Word format] | - Complete Parts 1, 1A, 2 and 3 of Form PQ1 Part 1: Fill out general information and names of personnel, include; name, certifications and licenses, and position held. Part 1A: Required personnel must provide satisfactory information to demonstrate a minimum of three years’ experience. Details of each project listed for experience must include the name of agency/entity for which work was performed. Part 2: Project Examples listed must correlate to those described below in “Project Example Requirements”. Staff listed in application should be in projects identified. Part 3: List all locations and addresses of the company and the work functions of each location. |
| - Project Example Requirements - [Submit in PDF format] | Provide 3 examples of past work asbestos abatement, and peeling lead paint encapsulation/removal from within the past 5 years. Personnel included in the projects must work for the Company. Work examples must include all documentation (including reports) with regard to asbestos abatement, and may include peeling lead paint encapsulation/removal. Work example documentation must include: waste receipts, shipping papers, landfill receipts, work plan, daily sign in, copies of MDH hard cards, encapsulate used. Work examples must demonstrate ability to meet requirements listed in the above Work Type Definition. |
| - Proof of Certification / Licensure [Submit in PDF format] | For each person provide clear legible copies of applicable certificates and MDH “Hard Cards”. Company asbestos license All applicable licenses, certificates Company organizational chart |

| ### Work Type Submittal Instructions | ### Description |
| --- | --- |
| - Instructions for Submittal [Each file should be saved in the format identified.] | Submit 5 flash drives that include the following individual files or folders in this order: Resume and Relevant Project Experience Form - Form PQ1 [Submit in Microsoft Word format] Project Example Requirements [Submit in PDF format] - This should be a folder that includes individual files clearly named according to Part 2 of Form PQ1. Proof of Professional Certification/Licensure [Submit in PDF format] |