ASBESTOS AND REGULATED WASTE INSPECTION REPORT FORMAT

Address

City, MN, Zip

Picture of Structure

Prepared For:

MnDOT District, MnDOT

Prepared By:

Company

Month Year

CONTENTS:

Section 1 –	Site Specifics and Certification

Section 2 –	Summary of Actions Required For This Move/Demolition

Section 3 –	Summary of all Asbestos and Regulated Wastes

Appendix I –	Chain of Custody Forms and Analytical Results

Appendix II – 	Structure Location & Floor Plans

Appendix III –	Licenses

### SECTION 1

### Site Specifics and Certification

Address

SP:

Parcel:

Location: Address (see copies of site map Appendix II).

Number and type of Structure/s: XXX

Current Owner: XXX

Expected Disposition of the Structure: Move/Demolition

Licensure: MDH certified asbestos inspectors conducted the inspection (Appendix III).

Certification: The undersigned certifies that this asbestos inspection was performed in compliance with MN Rules 4620.3460.

Signature:  ______________________________________,

Name Certified Asbestos Inspector# License #

Date: ______________

Certification: The undersigned certifies that this asbestos and regulated waste inspection and report was performed under my direct supervision and I have reviewed its contents and find it to meet or exceed MnDOT’s contract requirements.

Signature:  ______________________________________,

Name, Certified Hazardous Materials Manager License #

Date: ______________

SECTION 2

Address

Summary of Actions Required For This Move/Demolition

Asbestos Summary: The structure contained XX square feet of category X material type/s. The material was located on XXXX. This XXX was in XXX condition. This xxx is/is not required to be removed for a move/demolition (See documents in Section 3 for the detailed sample locations, amounts, conditions and summary inventory of all suspect materials).

Regulated Waste Summary: The following regulated waste found in XXX and XXX. This waste is required to be removed before the move (See attached documents in Section 3 for the detailed inventory of all regulated wastes):

Lead:

Specify type of unit- number found

Mercury:

Specify type of unit- number found

PCBs :

Specify type of unit- number found

Treated Wood:

Specify type of unit- number found

CFC’s:

Specify type of unit- number found

Treated Wood:

Specify type of unit- number found

Hazardous Waste:

Specify type of unit- number found

White Goods:

Specify type of unit- number found

Solid Waste:

Estimated volume to be removed from structure

#### SECTION: 3

Summary of all Asbestos and Regulated Wastes at

Address

If the structure becomes scheduled for demolition rather than a move the following asbestos and regulated materials/wastes must be removed prior to demolition.

| Parcel Number |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Structure Name |  |  |  |  |  |  |  |
| Address of Structure |  |  |  |  |  |  |  |
| Inspection Date |  |  |  |  |  |  |  |
| Category I and II |  |  |  |  |  |  | Lab Analysis/COC |
| Location | Sample Description | % Asbestos | Quantity (ft2) | Item | Condition | Sample #'s | Enclosed |
| Total Square Feet |  |  |  |  |  |  |  |
| Friable |  |  |  |  |  |  | Lab Analysis/COC |
| Location | Sample Description | % Asbestos | Quantity (ft2) | Item | Condition | Sample #'s | Enclosed |
| Total Square Feet |  |  |  |  |  |  |  |
| Definitions |  |  |  |  |  |  |  |
| Sample Description | Type of Homogeneous material i.e. sheetrock, siding, |  |  |  |
| Condition | Excellent |  |  |  |  |  |  |
|  | Good |  |  |  |  |  |  |
|  | Poor |  |  |  |  |  |  |
| Quantity | Only if contains >1% asbestos otherwise NA |  |  |  |  |
| *Standard Locations: | Br1 = Bedroom 1 |  | H1 = Hall 1 |  |  |  |  |
|  | Br2 = Bedroom 2 (Etc) | H2 = Hall 2 (Etc) |  |  |  |
|  | Kit = Kitchen |  | S1= Shed2 |  |  |  |  |
|  | DR = Dining Room |  | S2=Shed2 Etc |  |  |  |
|  | WC= Bathroom |  | D= deck |  |  |  |  |
|  | C= Closet 1 |  | Y=Yard |  |  |  |  |
|  | C= Closet 2 Etc |  | O = Other (Name) |  |  |  |
|  | UR= Utility Room |  |  |  |  |  |  |
|  | FR= Family Room |  |  |  |  |  |  |
|  | G= Garage |  |  |  |  |  |  |
|  | B= Basement |  |  |  |  |  |  |

For bridges only list lead, mercury, treated wood, and PCB’s Delete rest

| MnDOT Building Regulated Waste Inspection Form |  |  |
| --- | --- | --- |
| One Form Per Structure |  |  |  |
| Company Performing the Inspection |  |  |  |
| Company's State Work Order Number |  |  |  |
| Company Address |  |  |  |
| Company Telephone |  |  |  |
| Inspectors Name |  |  |  |
| MnDOT District |  |  |  |
| State Project Number |  |  |  |
| Parcel Number |  |  |  |
| Building Name |  |  |  |
| Address of Structure |  |  |  |
| Inspection Date |  |  |  |
| Inspected Items | Item | Quantity | Location (see standard locations below) |
|  |  | (If none found, state "none") |  |
| CFC's |  |  |  |
| Heat pumps |  |  |  |
| Air Conditioners |  |  |  |
| Fire Extinguishers |  |  |  |
| Refrigerators |  |  |  |
| Freezers |  |  |  |
| Other (name) |  |  |  |
| PCB |  |  |  |
| Ballasts |  |  |  |
| Transformers |  |  |  |
| Caulk |  |  |  |
| Other (name) |  |  |  |
| Mercury |  |  |  |
| Fluorescent Bulbs |  |  |  |
| HID Lamps |  |  |  |
| Thermostats |  |  |  |
| Silent Switches |  |  |  |
| Other (name) |  |  |  |
| Lead |  |  |  |
| Lead batteries, roof flashing/molding, gaskets and weights |  |  |  |
| Other (name) |  |  |  |
| Treated Wood |  |  |  |
| Creosote |  |  |  |
| CCA (green treat) |  |  |  |
| Other (name if possible) |  |  |  |
| Hazardous/Regulated |  |  |  |
| Paint (oil/latex) |  |  |  |
| Oil |  |  |  |
| Antifreeze |  |  |  |
| Fuels (name if possible) |  |  |  |
| Lead Acid batteries |  |  |  |
| Pesticides/Herbicides |  |  |  |
| Fertilizers |  |  |  |
| Unknown |  |  |  |
| Televisions |  |  |  |
| Radios |  |  |  |
| Smoke Alarms |  |  |  |
| Computers |  |  |  |
| Stoves |  |  |  |
| Water Heater |  |  |  |
| Furnace |  |  |  |
| Refractory Brick/Mold |  |  |  |
| Door Opener |  |  |  |
| Adhesive |  |  |  |
| Bleach |  |  |  |
| Roof Cement |  |  |  |
| Paint Thinner |  |  |  |
| Concrete Sealer |  |  |  |
| Premix Mortar |  |  |  |
| Floor Wax |  |  |  |
| Emergency Fire Alarm |  |  |  |
| Other (name) |  |  |  |
| Solid Wastes |  |  |  |
| Furniture |  |  |  |
| Trash (estimate yards) |  |  |  |
| Water Softener |  |  |  |
| Telephone |  |  |  |
| Printer |  |  |  |
| Vacuum Cleaner |  |  |  |
| Tires |  |  |
| Other (name) |  |  |
| Other |  |  |  |
| Wells |  |  |
| Septic System |  |  |
| Flammable Waste Trap |  |  |  |
| Sediment Trap |  |  |  |
| Storage Tank |  |  |  |
| Contaminated Soil |  |  |
| White Goods |  |  |
| Other |  |  |  |
| Br1 = Bedroom 1 | C= Closet 1 | H1 = Hall 1 | B= Basement |
| Br2 = Bedroom 2 (Etc) | C= Closet 2 Etc | H2 = Hall 2 (Etc) | Y=Yard |
| Kit = Kitchen | UR= Utility Room | S1= Shed2 | O = Other (Name) |
| DR = Dining Room | FR= Family Room | S2=Shed2 Etc | D= deck |
| WC= Bathroom | G= Garage |  |  |

##### Appendix I

Address

###### Chain of Custody Forms and Analytical Results

Appendix II

Address

Structure Location & Floor Plan

Appendix III

Address

Licenses

MDH inspector/s license/s

Copies of Analytical Laboratory Accreditation/s